# LAND USE AND ZONING COMMITTEE AMENDMENT

The Land Use and Zoning Committee offers the following first amendment to File No. 2011-415:

- On page 2, line 20, after “description dated” strike “June 6” and insert “August 15”; and

- On page 2, line 25, before “Exhibit 2” insert “Revised”; and

- On page 2, line 25 ½ insert a new Section 2 to read as follows:

“Section 2.	Rezoning Approved Subject to Conditions. This rezoning is approved subject to the following conditions:

(a)	All sag lenses, drop lenses and convex lenses shall be prohibited.  Illumination levels at all property lines shall not exceed one-half (0.5) foot candles (f.c.) when the building or parking areas are located adjacent to residential areas, and shall not exceed one (1.0) f.c. when abutting other non-residential properties.  All lighting lamp sources within parking and pedestrian areas shall be metal halide or compact fluorescent.  The maximum light pole height in all parking areas shall not exceed twenty five (25’-0”).  An exterior lighting design plan for each project, including a photometrics plan and pole and fixtures schedules shall be submitted at the time of Verification of Substantial Compliance for review and approval by the Planning and Development Department.

(b)  Trees planted in the southern uncomplimentary land use buffer shall be a minimum two-inch caliper evergreen in a species which will reach a height at maturity of at least 20 feet.

(c)	Individual tenant changing message devices will not scroll and will not change more frequently than once every minute.

(d)	Any monument style signage shall be prohibited from using internal illumination.

(e)	An uncomplimentary land use buffer meeting the requirements of section 656.1216, Zoning Code and an eight foot tall fence shall be provided and maintained along the east side of the retention pond and the entire south property line.”; and

(4)	Renumber the remaining Sections; and

(5)	Strike Exhibit 2 and replace it with Revised Exhibit 2; and

(6)	Amend the introduction line to reflect this Amendment.

Form Approved:

/s/ Dylan T. Reingold________

Office of General Counsel

Legislation Prepared By:	Dylan Reingold

G:\SHARED\LEGIS.CC\2011\Amends\LUZ AMENDMENTS\2011-415 LUZ AMEND.doc