# LAND USE AND ZONING COMMITTEE AMENDMENT

The Land Use and Zoning Committee offers the following first amendment to File No. 2012-638:

- On page 1, line 18, after “2012C-016;” insert “PUD REZONING SUBJECT TO CONDITIONS;”; and

- On page 3, line 14 ½ insert a new Section 4 to read as follows:

“Section 4.	Rezoning Approved Subject to Conditions. This rezoning is approved subject to the following conditions:

- The subject property shall be developed in accordance with the Planning Department Transportation Section memorandum, dated October 15, 2012, Development Services Division Memorandum dated October 5, 2012, or as otherwise approved by the Planning and Development Department, and the Florida Department of Transportation Memorandum, dated October 16, 2012, subject to FDOT permitting.

- All sag lenses, drop lenses and convex lenses shall be prohibited. Illumination levels at all property lines shall not exceed one half foot candles when the building or parking areas are located adjacent to residential areas, and shall not exceed one foot candle when abutting other non-residential properties. All lighting lamp sources within the parking and pedestrian areas shall be metal halide or compact florescent.  The maximum light pole height in all parking areas should not exceed thirty feet. An exterior lighting design plan for each project, including a photometric plan, pole and fixture schedules shall be submitted at the time of verification of substantial compliance for review and approval by the Planning and Development Department.

- The development shall be limited to two internally or externally illuminated monument signs along Main Street and one internally or externally illuminated monument sign along Yellow Bluff Road.  Each monument sign shall not exceed 50 square feet in area, 15 feet in height and be located no closer than 200 feet apart. Wall signs shall be limited to 10% of the occupancy frontage.

- Dumpsters shall not be placed within 50 feet of any right-of-way and shall be screened with an evergreen hedge in addition to the requirements contained in section 656.415 of the Zoning Code.

- There shall be a 20 foot wide undisturbed buffer along the southern property boundary.

- The development shall comply with the North Jacksonville Shared Vision and Master Plan and the City of Jacksonville Design Guidelines and Best Practices Handbook Appendix D, D.1.1 through D.1.32, or as otherwise approved by the Planning and Development Department at the time of verification of substantial compliance.

- The “multi-family use when vertically integrated with a permitted use on the ground floor use” shall be prohibited.”; and

(3)	Renumber the remaining Sections; and

(4)	Amend the introduction line to reflect this Amendment.

Form Approved:

/s/ Dylan T. Reingold_________

Office of General Counsel

Legislation Prepared By:	Dylan Reingold

G:\SHARED\LEGIS.CC\2012\Amendments\LUZ Amendments\2012-638 LUZ AMEND.doc