LAND USE AND ZONING COMMITTEE AMENDMENT

The Land Use and Zoning Committee offers the following first amendment to File No. 2015-239:

- On page 1, line 23, after “PUD;” insert “PUD REZONING SUBJECT TO CONDITION(S);”;

- On page 3, lines 1 and 2, strike “site plan dated, March 5, 2015 and written description dated March 5, 2015” and insert “revised site plan labeled June 16, 2015, said site plans being of various dates, and revised written description dated June 2, 2015”;

- On page 3, line 7, strike “Exhibit 2” and insert “Revised Exhibit 2. The PUD shall be subject to the Development Services Memorandum dated April 25, 2015 and attached hereto as Exhibit 3.”;

- On page 3, line 7½ insert a new Section 2 to read as follows:

“Section 2.	Rezoning Approved Subject to Conditions. This rezoning is approved subject to the following condition(s).  Such conditions control over the written description and may only be amended through a rezoning.

- All sag lenses, drop lenses and convex lenses shall be prohibited. Illumination levels at all property lenses shall not exceed one-half (0.5) foot candles (f.c.) when the building or parking areas are located adjacent to  residential areas, and shall not exceed one (1.0) f.c. when abutting other non-residential properties.  All lighting lamp sources within parking and pedestrian areas shall be metal halide or compact fluorescent.  The maximum light pole height in all parking areas should not exceed twenty feet (20” 0’). An exterior lighting design plan for the parking lot between Oakdale Avenue and Hillcrest Avenue, including a photometrics plan and pole and fixtures schedules shall be submitted at the time of Verification of Substantial Compliance for review and approval by the Planning and Development Department.

- There shall be no more than one (1) food truck on the property and no more than two (2) food truck for more than seven (7) days a year.

- If shared parking spaces become unavailable, the owner shall notify the Planning and Development Department immediately and provide documentation indicating the same number of parking spaces lost can be accommodated on a new parcel. Sufficient parking shall be provided at all times. If any parcel is sold, the remaining parcels shall provide on-site parking pursuant to Chapter 656, Part 6 of the Zoning Code.

- Buildings 1 through 4 shall be held in common usage and shall not be severed.

- Building 5 may only have 1 sink and toilet.

- Outdoor music shall cease by 10 p.m.

- The following conditions refer to signage:

  - All lighting shall be externally illuminated.

  - The ground signage shall be limited to 12 feet in maximum height.

  - Building 1 – existing pole sign shall be a maximum of eight (8) feet in height and sixteen (16) square feet.

  - Building 1 – new wall sign shall be a maximum of twenty-four (24) square feet.

  - Building 2 – at the corner of Art Museum Drive and Hillcrest Avenue, there shall be one pole sign allowed not more than eight (8) feet high and sixteen (16) feet long.

  - The entry sign at 4288 Oakdale Avenue will be a monument sign not more than four (4) feet high and six (6) feet long.

  - Building 3 - the entry sign at Hillcrest Avenue may be a monument sign not more than four (4) feet high and six (6) feet long.

  - There will be one pole sign allowed for the recreation area not more than twelve (12) feet high and a maximum of twenty-four (24) square feet.

  - A wall sign allowed on the cottage (Building 5) front façade area shall be a maximum of four (4) square feet.

  - Building 6 – on the corner of Art Museum Drive and Oakdale Avenue will be allowed one pole sign a maximum of six (6) feet in height and eighteen (18) square feet.

  - Building 7 – will be allowed one pole sign a maximum of six (6) feet in height and eighteen (18) square feet.

  - Parcel 8 – will be allowed one wall sign on the residence a maximum of four (4) square feet.”; and

- Strike Exhibit 2 and attach Revised Exhibit 2.

- Attach Exhibit 3.

- Renumber the remaining Section(s); and

- On page 1, line 1, amend the introductory sentence to add that the bill was amended as reflected herein.

Form Approved:

/s/ Susan C. Grandin_____

Office of General Counsel

Legislation Prepared By:	Susan C. Grandin

G:\SHARED\LEGIS.CC\2015\Amendments\LUZ Amendments\2015-239 AMD.doc