LAND USE AND ZONING COMMITTEE AMENDMENT

The Land Use and Zoning Committee offers the following first amendment to File No. 2017-214:

- On page 1, line 21, after “2017C-005;” insert “PUD REZONING SUBJECT TO CONDITION(S);”;

- On page 3, line 24, strike “Exhibit 3 – Written Description dated March 20, 2017” attach “Revised Exhibit 3 – Revised Written Description dated May 3, 2017.”;

- On page 3, line 25, strike “Exhibit 4 – Site Plan dated January 11, 2017” attach “Revised Exhibit 4 – Revised Site Plan dated May 2, 2017.”;

- On page 3, line 25 1/2, insert a new Section 4 to read as follows:

“Section 4.	Rezoning Approved Subject to Condition(s). This rezoning is approved subject to the following condition(s).  Such conditions control over the written description and may only be amended through a rezoning.

- All sag lenses, drop lenses and convex lenses shall be prohibited.  Illumination levels at all property lines shall not exceed one-half (.5) foot candles (“f.c.”) when the building or parking areas are located adjacent to residential areas, and shall not exceed one (1.0) f.c. when abutting other non-residential properties. All lighting lamp sources within parking and pedestrian areas shall be metal halide, should not exceed thirty feet (30’-0”). An exterior lighting design plan, including a photometrics plan, pole and fixtures schedules shall be submitted at the time of Verification of Substantial Compliance for review and approval by the Planning and Development Department. Light fixtures shall be mounted on canopies so that the lens cover is recessed or flush with the bottom surface (ceiling of the canopy.

- Monument signs shall not exceed twenty (20) feet in height.

- Prior to requesting a final building inspection or occupying the facility in any manner, the lead horizontal and lead vertical design professionals shall submit to the Planning Department separate certification letters confirming that all horizontal and vertical components of the development have been substantially completed, and all conditions to the development order have been satisfied. This condition shall apply to both phased and non-phased developments.”; and

- Renumber the remaining Section(s); and

- On page 1, line 1, amend the introductory sentence to add that the bill was amended as reflected herein.

Form Approved:

/s/ Susan C. Grandin_____

Office of General Counsel

Legislation Prepared By:	Susan C. Grandin

GC-#1123364-v1-2017-214_LUZ_Amd.doc