Introduced by Council President Boyer and Co-Sponsored by Council Members Schellenberg, Newby, Brosche, Bowman, Crescimbeni, Wilson, Dennis, Gulliford and R. Gaffney:

ORDINANCE 2017-261-E

AN ORDINANCE AMENDING SECTION 518.419 (FOUNDATION, WALLS AND ROOF), PART 4 (PROPERTY STANDARDS), SUBPART B (MINIMUM CONDITIONS), CHAPTER 518 (JACKSONVILLE PROPERTY SAFETY AND MAINTENANCE CODE), ORDINANCE CODE, TO INCLUDE A NEW PROVISION REQUIRING CERTAIN MULTIPLE DWELLING UNITS WITH A SELF-CLOSING SCREEN DOOR FOR PROTECTION AGAINST MOSQUITOES, FLIES AND OTHER INSECTS AND TO PROVIDE FOR Delayed IMPLEMENTATION of this provision; PROVIDING AN EFFECTIVE DATE.

BE IT ORDAINED by the Council of the City of Jacksonville:

Section 1.		Section 518.419 (Foundation, walls and roof), Ordinance Code, amended. Section 518.419 (Foundation, walls and roof), Part 4 (Property Standards), Subpart B (Minimum Conditions), Chapter 518 (Jacksonville Property Safety and Maintenance Code), is hereby amended to read as follows:

CHAPTER 518. Jacksonville Property Safety and Maintenance

*  *  *

PART 4. Property Standards

*  *  *

SUBPART B. Minimum Conditions

*  *  *

Sec. 518.419. Foundation, walls and roof.

Every property shall have a foundation, floor, enclosing walls and roof, all soundly constructed. Every foundation, exterior wall, roof and other exterior surfaces shall be maintained in a good state of repair and shall be kept in such condition as to exclude rodents and rain or dampness.

*  *  *

(f) Windows, doors and hatchways.  Every windows, exterior door and hatchway or similar devise shall be rodent proof and reasonably watertight and weather tight, and shall be kept in sound condition and good repair.

*  *  *

(9)  Screening.  Guards and screens shall be supplied for protection against rodents and insects in accordance with the following requirements:

(i)  Every basement or cellar window which is openable shall be supplied with erosion-resistant, rodent proof shields of not less than N°22 U.S. gauge perforated steel sheets, N° B&S gauge aluminum or N°16 U.S. gauge expanded metal or wire mesh screens, with not more than ½-inch mesh openings; or with other material affording equivalent protection against the entry of rodents, including storm windows.

(ii)  Every window or other outside opening used for ventilation purposes shall be supplied with a screen of not less than 16 mesh an inch on a removable frame. Buildings containing air conditioning equipment which is capable of adequately cooling and ventilating the building are not required to have screens on windows or other openings used for ventilation.

(iii)  Every door opening of an apartment, apartment house, multiple dwelling, dwelling unit within a multiple dwelling, multifamily residential building or structure, rooming house, or rooming unit, which opens directly to the exterior shall be supplied with a self-closing screen door with screens of not less than 16 mesh an inch as protection against mosquitoes, flies, and other insects.  Screens on said exterior doors shall be stretched and fitted and maintained without open rips or tears; provided however, there shall be no obligation to replace said screens more often than once a year.  Dwelling units within the above described buildings equipped with functional central air conditioning which is capable of adequately cooling and ventilating the dwelling unit are not required to have self-closing screen doors on the door openings to the exterior. This subparagraph shall take effect upon the Effective Date of Ordinance 2017-261-E; provided however, a landlord may delay installation of the door screens pursuant to this subparagraph until expiration of a current lease, provided that in all cases the installation shall occur before June 1, 2018.

*  *  *

Section 2.		Effective Date.  This ordinance shall become effective upon signature by the Mayor or upon becoming effective without the Mayor's signature.

Form Approved:

__/s/ Paige Hobbs Johnston

Office of General Counsel

Legislation Prepared By:	Paige H. Johnston

GC-#676707-v1-Boyer_Amend_518_419_Screen.doc