LAND USE AND ZONING COMMITTEE AMENDMENT

The Land Use and Zoning Committee offers the following first amendment to File No. 2017-491:

- On page 1, line 17, after “2017C-002;” insert “PUD REZONING SUBJECT TO CONDITION(S);”;

- On page 3, line 16, strike “Exhibit 3 – Written Description dated February 21, 2017.” and insert “Revised Exhibit 3 – Revised Written Description dated October 23, 2017.”;

- On page 3, line 17, strike “Exhibit 4 – Site Plan dated February 20, 2017.” and insert “Revised Exhibit 4 – Revised Site Plan dated September 18, 2017.”;

- On page 3, line 3 ½, insert  a new Section 2 to read as follows:

“Section 2.	Rezoning Approved Subject to Condition(s). This rezoning is approved subject to the following condition(s).  Such conditions control over the written description and may only be amended through a rezoning.

- The access point along Kirk Road shall be eliminated and access to the property shall be limited to Main Street North.

- The rear setback for structures along the east property line shall be no less than twenty (20) feet.

- A minimum, ten (10) foot landscape buffer shall be maintained along the east property line.

- All sag lenses, drop lenses and convex lenses shall be prohibited. Illumination levels at all property lines shall not exceed one-half (.5) foot candles (“f.c.”) when the building or parking areas are located adjacent to residential areas, and shall not exceed one (1.0) f.c. when abutting other non-residential properties. All lighting lamp sources within parking and pedestrian areas shall be metal halide, compact fluorescent or LED. The maximum light pole height in all parking areas should not exceed twenty feet (20’- 0”). The developer shall mount light fixtures on canopies so that the lens cover is recessed or flush with the bottom surface (ceiling) of the canopy. An exterior lighting design plan, including a photometrics plan, pole and fixtures schedules shall be submitted at the time of Verification of Substantial Compliance for review and approval by the Planning and Development Department.

- Prior to requesting a final building inspection or occupying the facility in any manner, the owner, applicant, or developer shall submit to the Planning Department separate certification letters confirming that all horizontal and vertical components of the development have been substantially completed, and all conditions to the development order have  been satisfied. This condition shall apply to both phased and non-phased developments. Prior to the first final inspection within any phase of development, the owner of their agent shall submit to the Planning and Development Department for its review and approval either (a) an affidavit documenting that all conditions to the development order have been satisfied or (b) a detailed agreement for the completion of all condition to the development order.

- Notwithstanding anything stated in the October 23, 2017 Written Description, landscaping will be provided along the buffering side and rear  yards, including Kirk Road, as depicted in the Site Plan using the species and spacing described in the Written Description.”; and

- Strike Exhibit 3 and attach Revised Exhibit 3.

- Strike Exhibit 4 and attach Revised Exhibit 4.

- Renumber the remaining Section(s).

- On page 1, line 1, amend the introductory sentence to add that the bill was amended as reflected herein.

Form Approved:

/s/ Susan C. Grandin______

Office of General Counsel

Legislation Prepared By:	Susan C. Grandin

GC-#1160320-v1-2017-491_LUZ_Amd.doc