FLOOR AMENDMENT

Council Member Crescimbeni offers the following Floor Amendment to File No. 2017-836:

- On page 1, line 17, after “L-5262-17C;” insert “PUD REZONING SUBJECT TO CONDITION(S);”;

- On page 3, line 2 ½, insert  a new Section 2 to read as follows:

“Section 2.	Rezoning Approved Subject to Condition(s). This rezoning is approved subject to the following condition(s).  Such conditions control over the written description and may only be amended through a rezoning.

- All sag lenses, drop lenses and convex lenses shall be prohibited.  Illumination levels at all property lines shall not exceed one (1.0) f. c. when abutting non-residential properties.  All lighting lamp sources within parking and pedestrian areas shall be metal halide, compact fluorescent or LED.  The maximum light pole height in all parking areas should not exceed thirty feet (30’ 0”). An exterior lighting design plan, including a photometrics plan, pole and fixtures schedules shall be submitted at the time of Verification of Substantial Compliance for review and approval by the Planning and Development Department.

- Prior to the first final inspection within any phase of development, the owner or their agent shall submit to the Planning and Development Department for its review and approval either (a) an affidavit documenting that all conditions to the development order have been satisfied, or (b) a detailed agreement for completion of all conditions to the development order.

- Section IV(D)(c) (Landscaping) of the Written Description, attached to this ordinance as Exhibit 3, contains a relaxation of the requirements in Section 656.1215(b) of the Landscape Code regarding perimeter landscaping adjacent to abutting properties.  This relaxation pertains to the far western boundary of the PUD area in an area that is currently developed as an auto dealership, and allows a reduction of the perimeter landscaping requirements from the required five (5) foot depth to a minimum of two (2) feet of depth of the perimeter landscape area.  However, should this existing Vehicular Use Area (VUA) in any way be reconfigured through redevelopment, then the perimeter landscape area shall be adjusted to be a minimum of 5 feet in depth, and shall contain all the required landscaping as set out in Section 656.1215(b), Ordinance Code.”; and

- Renumber the remaining Section(s).

- On page 1, line 1, amend the introductory sentence to add that the bill was amended as reflected herein.

Form Approved:

/s/ Susan C. Grandin_____

Office of General Counsel

Legislation Prepared By:	Susan C. Grandin

GC-#1188871-v1-2017-836_FL_Amd.doc