Introduced by the Council President at the request of the Office of General Counsel and twice substituted by the Transportation, Energy, and Utilities Committee:

# ORDINANCE 2017-863

AN ORDINANCE AMENDING SECTION 656.1510 (WIRELESS COMMUNICATION ANTENNAS), ORDINANCE CODE; AMENDING SECTION 711.103 (DEFINITIONS), ORDINANCE CODE; CREATING A NEW CHAPTER 711, PART 4 (COMMUNICATIONS FACILITIES IN CITY RIGHTS-OF-WAY), SUBPART A (REGISTRATION AND GENERAL PERMIT CONDITIONS), SUBPART B (UNDERGROUND COMMUNICATIONS FACILITIES), SUBPART C (SMALL WIRELESS FACILITIES), SUBPART D (SMALL WIRELESS UTILITY POLES), ORDINANCE CODE; AMENDING SECTION 711.506 (INTERLOCAL AGREEMENTS), ORDINANCE CODE; REPEALING CHAPTER 711, PART 4 (COMMUNICATION/REGISTRATION) AND PART 4A (SITE LEASES FOR SMALL CELL ANTENNAS ON CITY IMPROVEMENTS), ORDINANCE CODE; ESTABLISHING AN ACCOUNT FOR SMALL WIRELESS FACILITIES COLLOCATION RATE FEES ON CITY UTILITY POLES; EXISTING REGISTRATIONS TO CONTINUE IN EFFECT; PROVIDING FOR CODIFICATION INSTRUCTIONS; PROVIDING AN EFFECTIVE DATE.

WHEREAS, the City desires to promote the public health, safety and general welfare by regulating the placement, maintenance and collocation of communications facilities and utility poles within the City rights-of-way; and

WHEREAS, the City acknowledges and desires to accommodate the growing needs and demand for communications services; and

WHEREAS, Section 337.401, Florida Statutes, addresses inter alia, the authority of local governments to regulate the placement, maintenance and collocation of communications facilities in public rights-of-way; and

WHEREAS, rules and regulations imposed by a local government relating to communications service providers that desire to place, maintain or collocate communications facilities in its rights-of-way must be generally nondiscriminatory and competitively neutral; and

WHEREAS, Section 337.401(3)(g), Florida Statutes, provides that a local government may not use its authority over the placement of communications facilities in its rights-of-way as a basis for asserting or exercising regulatory control over a provider of communications services regarding matters within the exclusive jurisdiction of the Florida Public Service Commission or Federal Communications Commission, including, but not limited to, the operations, systems, qualifications, services, service quality, service territory, and prices of a provider of communications services; and

WHEREAS, the Advanced Wireless Infrastructure Act as provided in Section 337.401(7), Florida Statutes, addresses inter alia, the authority of local governments to adopt by ordinance objective design standards requiring a small wireless facility to meet reasonable location context, color, stealth, and concealment requirements; objective design standards requiring a new utility pole intended to support the collocation of small wireless facilities that replaces an existing facility to be of substantially similar design, materials, and color; and reasonable spacing requirements concerning the location of ground-mounted equipment; and

WHEREAS, Section 337.401(7)(d)(12), Florida Statutes, provides that a local government may adopt by ordinance provisions for placement of communications facilities in the rights-of-way for insurance coverage, indemnification, performance bonds, security funds, force majeure, abandonment, county liability, and county warranties provided such provisions are reasonable and nondiscriminatory; and

WHEREAS, it is the City’s intent to exercise its authority over communications services providers, wireless infrastructure providers and pass-through providers’ placement and maintenance of communications facilities in the City rights-of-way; and

WHEREAS, it is the City’s intent to treat each communications services provider in a reasonable, nondiscriminatory and competitively neutral manner in exercising such authority; and

WHEREAS, the City’s rights-of-way are essential for the travel of persons and the transport of goods throughout the City and are unique and physically limited resource requiring proper management by the City in order to ensure public safety, maximize efficiency, minimize costs to City taxpayers for the foregoing uses, reasonably balance the potential inconvenience to and negative effects upon the public from the placement, maintenance and collocation of communications facilities in the City rights-of-way against the substantial benefits that accrue from such placemen and maintenance, and promote the public health, safety and general welfare; and

WHEREAS, it is the City’s intent to exercise its authority to adopt reasonable and nondiscriminatory rules and regulations regarding communications facilities in the rights-of-way to the fullest extent allowed by federal and state law by repealing its existing ordinance regarding communications facilities in the City rights-of-way and adopting an ordinance which amends the communications facilities registration requirements, general permit provisions, review and approval procedures and implements the Advanced Wireless Infrastructure Deployment Act provisions in Section 337.401(7), Florida Statutes.

BE IT ORDAINED by the Council of the City of Jacksonville:

Section 1.		Recitals.  The recitals above are true and correct and incorporated herein by this reference.

Section 2.		Amending section 656.1510 (Wireless Communication Antennas), Ordinance Code. Section 656.1510 (Wireless Communication Antennas), Ordinance Code, is hereby amended to read as follows:

CHAPTER 656 ZONING CODE

*  *  *

PART 15.  COMMUNICATION TOWER AND ANTENNA REGULATIONS

*  *  *

SUBPART A.  WIRELESS COMMUNICATION FACILITIES

*  *  *

Sec. 656.1510. - Wireless communication antennas.

The placement of a new wireless communication antenna on any structure within the City may be initiated only upon approval of an application in accordance with the relevant procedures set forth in this section; provided, however, “small cell antennas” “small wireless facilities”, as defined in Part 4, Ch. 711, Ordinance Code, to be mounted on “City improvements” placed, maintained or collocated in City Rights-of-Way as those terms are defined in Part 4A, Ch. 711, Ordinance Code, shall be governed by Part 4A, Ch. 711, Ordinance Code, and not by this Ch. 656, Ordinance Code. Applications shall be filed with the Coordinator by the owner of the structure upon which the proposed antenna is to be located, or his authorized agent. Within ten (10) working days of receipt of an application, the Coordinator shall determine if the application form has been fully completed and all required items submitted. Upon making this determination, the Coordinator shall notify the applicant, in writing, of the status of the application. If the Coordinator determines that the application is incomplete, the Coordinator shall advise the applicant of those items that need to be submitted. If the Coordinator determines that the application is complete, the Coordinator shall advise the applicant of the estimated schedule for processing the application and projected date for obtaining either an approval or denial of same.

*  *  *

(b)	Administratively approved antennas. Except for a historic building, structure, site, object, or district, small cell antennas small wireless facilities governed by Part 4A, Ch. 711, Ordinance Code, or a tower included in Section 656.1510(a), the Coordinator shall issue an order authorizing the placement of a communication antenna on an existing structure that meets the requirements set forth in subsections (1)—(4) below.

*  *  *

(c)	Public hearing for antennas. Those antennas that do not satisfy the requirements set forth in Sections 656.1510(a) and 656.1510(b), or Part 4A, Ch. 711, Ordinance Code, shall be reviewed by the Commission. Within seven days of notification from the Coordinator that the application is complete, an application for an antenna which is subject to a public hearing before the Commission, shall be scheduled for review before the next meeting of the Commission. When the Commission acts on an antenna application, such action shall be deemed the final action of the City as of the effective date of the final action by the Commission. A final action under this Section shall not be reviewed further by the City Council. Any person with standing may challenge a final action taken by the Commission in whatever way authorized by federal or state law. The Commission shall approve, deny or conditionally approve an application for a wireless communication antenna based upon its compliance with the applicable siting and design standards, as follows:

*  *  *

Section 3.	Amending section 711.103 (Definitions), Ordinance Code. Section 711.103 (Definitions), Ordinance Code, is hereby amended to read as follows:

CHAPTER 711 CITY RIGHTS-OF-WAY

PART 1.  RIGHTS-OF-WAY APPLICATION PROCESS

*  *  *

Sec. 711.103 Definitions.

*  *  *

Department means the City’s Department of Public Works or Planning, as designated by the Mayor.

Director means the Director of the City’s Department of Public Works, or their his or her designee.

*  *  *

Section 4.		Creating a new Chapter 711, Part 4 (Communications Facilities in City Rights-of-Way), Subpart A (Registration and General Permit Conditions), Subpart B (Underground Communications Facilities), Subpart C (Small Wireless Facilities) and Subpart D (Small Wireless Utility Poles), Ordinance Code.  Chapter 711, Part 4 (Communications Facilities in City Rights-of-Way), Subpart A (Registration and General Permit Conditions), Subpart B (Underground Communications Facilities), Subpart C (Small Wireless Facilities), and Subpart D (Small Wireless Utility Poles), Ordinance Code, is hereby created to read as follows:

CHAPTER 711 CITY RIGHTS-OF-WAY

*  *  *

PART 4.  COMMUNICATIONS FACILITIES IN CITY RIGHTS-OF-WAY

Sec. 711.401	 	Applicability. This Part shall apply to any Person who seeks to transmit Communication Services or to construct, place, install, maintain, collocate or operate a Communication Facility or Small Wireless Utility Pole in the City Rights-of-Way, unless otherwise exempt by operation of Applicable Codes, or State or Federal laws or regulations.  In adopting this Part, the Council hereby finds that these reasonable rules and regulations are necessary for the proper and effective management of the City’s Rights-of-Ways.

Sec. 711.402	Intent and Purpose; Subparts. It is the City’s intent to promote the public health, safety and general welfare by: providing for the placement, maintenance or collocation of a Communication Facility or Small Wireless Utility Pole in the City Rights-of-Way; adopting and administering reasonable rules and regulations not inconsistent with State and Federal law, including Section 337.401, Florida Statutes, as amended, the City’s home-rule authority, and the Federal Telecommunications Act of 1996, as amended, the Advanced Wireless Infrastructure Deployment Act of 2017, as amended, and other Federal and State law; establishing reasonable rules and regulations applicable to Communications Services Providers necessary to manage the placement, maintenance or collocation of Communications Facilities or Small Wireless Utility Poles in the City Rights-of-Way; and minimizing disruption to the City Rights-of-Way.  In regulating the City Rights-of-Way, the City shall be governed by and shall comply with all applicable Federal and State laws.  Subpart A (Registration and General Permit Conditions) shall apply to any Person who seeks to transmit Communication Services or to construct, place, install, maintain, collocate or operate a Communication Facility or Small Wireless Utility Pole in the City Rights-of-Way.  Subpart B (Underground Communications Facilities), Subpart C (Small Wireless Facilities) and Subpart D (Small Wireless Utility Poles) shall apply based on the type of Permit application submitted by an Applicant under this Part.  Subparts C and D are intended to implement the Advanced Wireless Infrastructure Deployment Act, Section 337.401(7), F.S. In the event the Advanced Wireless Infrastructure Deployment Act, Section 337.401(7), F.S., is repealed, amended, or overturned by a court of competent jurisdiction, in whole or in part, provisions of this Section may no longer apply, in which case pending and future applications for Small Wireless Facilities or Small Wireless Utility Poles in the City Rights-of-Way, will be governed by applicable law.

Sec. 711.403	 Definitions. 	For purposes of this Part, the following terms, phrases, words and their derivations (whether capitalized in this Part or not) shall have the meanings given.  Where not inconsistent with the context, words used in the present tense include the future tense, words in the plural number include the singular number, and words in the singular number include the plural number.  The words "shall" and "will" are mandatory, and "may" is permissive.  Words not otherwise defined shall be construed to mean the common and ordinary meaning.

  - "Abandonment" or “Abandoned” means the cessation of all uses of a Communications Facility or Small Wireless Utility Pole for a period of one hundred eighty (180) or more consecutive days provided this term shall not include the cessation of all use of a Communication Facility within a physical structure where the physical structure continues to be used for some purpose or use accessory to the Communications Facility.  By way of example, cessation of all use of a cable within a conduit, where the conduit continues to be used for some purpose or use accessory to the Communications Facility, shall not constitute Abandonment of a Communications Facility.  A Wireless Infrastructure Provider’s failure to have a Wireless Service Provider provide service through a Small Wireless Facility collocated on a Small Wireless Utility Pole within nine (9) months after the application is approved in accordance with Section 337.401(7(j), F.S., shall constitute Abandonment.  The terms Abandonment or Abandoned are not intended to include a Service Drop from a potential or existing customer in the event the Provider reasonably anticipates future use of the Service Drop.

  - “Adjacent Properties” or “Properties Adjacent” means (i) those lots or parcels that abut another lot, parcel or City Rights-of-Way that is contiguous to a Communication Facility site or proposed site and (ii) the lots, parcels or City Rights-of-Way that would be contiguous to lots, parcels or City Rights-of-Way but for an intervening City Rights-of-Way.

  - “Antenna” means communications equipment that transmits or receives electromagnetic radio frequency signals used in providing Wireless Services.

  - “Applicable Codes” means the uniform building, fire, electrical, plumbing, or mechanical codes adopted by a recognized national code organization or local amendments to those codes enacted solely to address threats of destruction of property or injury to persons, or local codes or ordinances adopted to implement Section 337.401(7), F.S.  The term includes the objective design standards adopted pursuant to Subpart C of this Part that requires a Small Wireless Utility Pole that replaces an existing pole to be of substantially similar design, material and color or that requires reasonable spacing requirements concerning the location of ground-mounted equipment.  The term also includes the objective design standards adopted pursuant to Subpart C of this Part 4 that requires a Small Wireless Facility to meet reasonable location context, color, stealth, and concealment requirements.

  - “Applicant” means any Person who submits an application to the City for an effective Registration or a Permit to place, maintain or collocate a Communications Facility or a Small Wireless Utility Pole in the City Rights-of-Way.

  - “Application” means a request submitted by an applicant to the City for a Permit to place, maintain, or collocate a Communication Facility or Small Wireless Utility Pole under this Part.

  - “As-built Plans” means a set of drawings in a format as specified by the Director submitted by the Applicant upon completion of a project which drawings reflect all changes to original plans made during the construction process, and show the exact dimensions, geometry and location of all elements of the work completed under the Permit.

  - “At-grade Facility” means a Communication Facility, the structure of which is affixed to the ground at-grade with a portion of the structure extending vertically above grade.  At-grade Facilities may also, but need not necessarily, extend vertically below grade.  Utility Poles and ground-mounted equipment installed as part of a Small Wireless Facility shall not be considered At-grade Facilities.

  - “Below-grade Facility” means a Communication Facility, including manholes or access points that are entirely contained below-grade within the City Rights-of-way.  A Below-grade Facility is a type of Wireline Facility.

  - “Chapter” means Chapter 711 (City Rights-of-Way) of the Ordinance Code.

  - "City" means Jacksonville, Florida, a consolidated county and city existing as a municipal corporation and excluding Urban Services Districts 2, 3, 4 and 5.

  - “City Rights-of-Way” means land in which the City owns the fee or has an easement devoted to or required for use as a Transportation Facility and may lawfully grant access pursuant to applicable law, and includes the surface, the air space over the surface and the area below the surface of such rights-o-way.  For purposes of this definition, Transportation Facility means any means for the transportation of people or property from place to place which is constructed, operated, or maintained in whole or in part from public funds.  The term City Rights-of-way shall not include: (1) City, State, or federal rights-of-way unless the City has been properly delegated authority to issue Permits for structures within those rights-of-way, unless prohibited by State or federal law; (2) platted utility easements that are not part of a dedicated public rights-of-way; (3) property owned by an Person other than the City; (4) service entrances or driveways leading from the road or street onto Adjacent Property; or (5) any real or personal City property except as described above and shall not include City buildings, fixtures, poles, conduits, facilities or other structures or improvements, regardless of whether they are situated in the City Rights-of-Way except as allowed by this Part or applicable State or federal law.

  - “City Utility Pole” means a Utility Pole that is owned by the City and located in the City rights-of-way. This term does not include a Private Utility Pole or a Small Wireless Utility Pole.

  - “Collocate” or “Collocation” means to install, mount, maintain, modify, operate, or replace one or more Wireless Facilities on, under, within, or adjacent to a Wireless Support Structure or Utility Pole. The term does not include the installation of a new Utility Pole or Wireless Support Structure in the City rights-of-way.

  - "Communications Services" means the transmission, conveyance or routing of voice, data, audio, video, or any other information or signals to a point, or between or among points, by or through any electronic, radio, satellite, cable, optical, microwave, Wireless Services, or other medium or method now in existence or hereafter devised, regardless of the protocol used for such transmission or conveyance. The term includes such transmission, conveyance, or routing in which computer processing applications are used to act on the form, code, or protocol of the content for purposes of transmission, conveyance, or routing without regard to whether such services is referred to a voice-over-internet-protocol services or is classified by the Federal Communications Commission as enhanced or value-added.  Notwithstanding the foregoing, the term does not include:

    - Information services;

    - Installation or maintenance of wiring or equipment on a customer’s premises;

    - The sale or rental of tangible personal property;

    - The sale of advertising, including, but not limited to, directory advertising;

    - Bad check charges;

    - Late payment charges;

    - Billing and collection services; or

    - Internet access service, electronic mail service, electronic bulletin board service, or similar online computer services.

  - "Communications Services Provider" or “Provider” means any Person providing Communications Services through the placement, maintenance or collocation of a Communications Facility in City Rights-of-Way, including, but not limited to, a Wireless Infrastructure Provider, Wireless Services Provider and a Pass-through Provider.

  - "Communications Facility" or "Facility" or "System" means any permanent or temporary plant, equipment and property, including but not limited to cables, wires, conduits, ducts, fiber optics, poles, utility poles, antennae, converters, splice boxes, cabinets, hand holes, manholes, vaults, drains, surface location markers, appurtenances, Wireless Facilities, Small Wireless Facilities, Underground Communications Facility, and other equipment or pathway placed, maintained or collocated or to be placed, maintained or collocated in the City Rights-of-Way and used or capable of being used to transmit, convey, route, receive, distribute, provide or offer Communications Services.

  - “Consolidated Permit Application” means a single Permit application that would otherwise require individual Permit applications for Collocation of between two (2) and thirty (30) Small Wireless Facilities on Existing Structures within the City Rights-of-Way.

  - “Days” means, for purposes of computing any period of time expressed in day(s) in this Part, the day of the act, event or default from which the designated period of time begins to run shall not be included and the last day of the period so computed shall be included unless it is a Saturday, Sunday, or legal holiday, in which event the period shall run until the end of the next day which is neither a Saturday, Sunday or legal holiday.

  - “Director” means the Director of the Department of Planning or Public Works, or his or her designee, as designated by the Mayor.

  - “Existing Structures” means a Utility Pole within the City Rights-of-Way that exists at the time an application to place a Communications Facility on that Utility Pole is filed with the City.  The term includes Repurposed Structures.  The term does not include At-Grade Facilities, Below-grade Facilities, or Wireline Facilities.  An Existing Structure is not transformed into a Communications Facility by the Collocation of a Wireless Facility.

  - “FCC” shall mean the Federal Communications Commission.

  - "In City Rights-of-Way" or "in the City Rights-of-Way" mean in, on, over, under or across the City Rights-of-Way and includes the placement, maintenance or collocation of Communications Facilities and Small Wireless Utility Poles under this Part.

  - “Limited Work” shall mean (i) routine maintenance; (ii) replacement of an existing Wireless Facility with a Wireless Facility that is substantially similar or of the same or smaller size; or (iii) installation, placement, maintenance or replacement of a Micro Wireless Facility that is suspended on cable strung between Existing Structures in compliance with applicable codes by or for a properly registered Communications Services Provider.

  - “Micro wireless facility” means a small wireless facility having dimensions no larger than 24 inches in length, 15 inches in width, and 12 inches in height and an exterior antenna, if any, no longer than 11 inches.

  - “Pass-Through Facilities” means Communications Facilities that merely pass through the City from one point to another point and from which no revenues are directly attributable to subscribers or other carriers within the City.

  - “Pass-Through Provider” means any Person, municipality or county that places or maintains a Communications Facility in the City Rights-of-Way but who does not provide Communications Services, including for example a company that places “dark fiber” or conduit in the City Rights-of-Way and leases or otherwise provides those facilities to another company that does provide Communications Services to an end user.  This definition of “Pass-through Provider” is intended to include any Person that places or maintains “Pass-through Facilities” in the City Rights-of-Way, but does not provide Communications Services to an end user within the corporate limits of the City.

  - "Person” means any individual, children, firm, association, joint venture, partnership, estate, trust, business trust, syndicate, fiduciary, corporation, organization or legal entity of any kind, successor, assignee, transferee, personal representative, and all other groups or combinations, and shall include the City to the extent the City acts as a Communications Services Provider.

  - “Place, maintain or collocate” or “placement, maintenance or collocation” or “placing, maintaining or collocating” shall mean to erect, construct, install, maintain, place, repair, extend, expand, remove, occupy, locate, collocate, or relocate.   A Communications Services Provider that owns or exercises physical control over Communications Facilities in City Rights-of-Way, such as the physical control to maintain and repair, is “placing, maintaining or collocating” the Communications Facilities.  A party providing service only through resale or only through use of a third party’s unbundled network elements is not “placing, maintaining or collocating” the Communications Facilities through which such service is provided.  The transmission and receipt of radio frequency signals through the airspace of the City Rights-of-Way constitutes "placing, maintaining or collocating" Communications Facilities in the City Rights-of-Way.

  - “Private Utility Pole” means a Utility Pole owned by a Person other than the City within the City Rights-of-Way.  This term includes Utility Poles owned by JEA or a municipal electric utility.

  - “Registrant” means a Communications Services Provider that has Registered with the City in accordance with the provisions of this Part.

  - “Registration” or “Register” means the process described in this Part whereby a Communications Services Provider provides certain information and documentation to the City.

  - “Repurposed Structure” means an Existing Structure that has been renovated, reconfigured, or replaced with a similar structure so as to continue serving its primary existing purpose while also supporting the attachment of Communications Facilities that is approximately in the same location as the Existing Structure and in such a manner that does not result in a net increase in the number of Utility Poles located within the City Rights-of-Way and does not interfere with pedestrian or vehicular access, and is compliant with Applicable Codes.  The Repurposed Structure remains the property of the owner of the Existing Structure prior to the repurposing, unless ownership otherwise lawfully changes.

  - “Small Wireless Facility” means a wireless facility that meets the following qualifications:

- Each antenna associated with the facility is located inside an enclosure of no more than 6 cubic feet in volume or, in the case of antennas that have exposed elements, each antenna and all of its exposed elements could fit within an enclosure of no more than 6 cubic feet in volume; and

- All other wireless equipment associated with the facility is cumulatively no more than 28 cubic feet in volume. The following types of associated ancillary equipment are not included in the calculation of equipment volume: electric meters, concealment elements, telecommunications demarcation boxes, ground-based enclosures, grounding equipment, power transfer switches, cutoff switches, vertical cable runs for the connection of power and other services, and utility poles or other support structures.

  - “Service Drop” means the extension of a Wireline Facility from the City Rights-of-Way to a lot or parcel located outside of the City Rights-of-Way.

  - “Small Wireless Utility Pole” shall mean a new Utility Pole placed in the City Rights-of-Way that is intended to support the collocation of a Small Wireless Facility and that is permitted pursuant to the provisions of Subpart C of this Part.

  - “State” means, as indicated by the context used, either Florida, as a geographic location, or the State of Florida, as a legal entity.

  - “Surrounding Neighborhood” means the area within a five hundred (500) foot radius of a Communications Facility site or proposed Communications Facility site.

  - “Underground Communications Facility” means any Communication Facilities that are placed and maintained underground in the City Rights-of-Way under Subpart B of this Part, including but not limited to, Below-grade Facilities.  This term does not include Small Wireless Facilities or Small Wireless Utility Poles that are placed, maintained or collocated in the City Rights-of-Way under Subpart C of this Part.

  - “Utility Pole” means a pole or similar structure that is used in whole or in part to provide communications services or for electric distribution, lighting, traffic control, signage, or a similar function. The term includes the vertical support structure for traffic lights but does not include a horizontal structure to which signal lights or other traffic control devices are attached and does not include a pole or similar structure 15 feet in height or less unless the City grants a waiver for such pole.

  - “Wireless Facility” means equipment at a fixed location which enables wireless communications between user equipment and a communications network, including radio transceivers, antennas, wires, coaxial or fiber-optic cable or other cables, regular and backup power supplies, and comparable equipment, regardless of technological configuration, and equipment associated with wireless communications. The term includes Small Wireless Facilities. The term does not include:

- The structure or improvements on, under, within, or adjacent to the structure on which the equipment is collocated;

- Wireline backhaul facilities; or

- Coaxial or fiber-optic cable that is between wireless structures or utility poles or that is otherwise not immediately adjacent to or directly associated with a particular antenna.

  - “Wireless Infrastructure Provider” means a person who has been certificated to provide telecommunications service in the state and who builds or installs wireless communication transmission equipment, wireless facilities, or wireless support structures but is not a wireless services provider.

  - “Wireless Provider” means a wireless infrastructure provider or a wireless services provider.

  - “Wireless Services” means any services provided using licensed or unlicensed spectrum, whether at a fixed location or mobile, using wireless facilities.

  - “Wireless Services Provider” means a person who provides wireless services.

  - “Wireless Support Structure” means a freestanding structure, such as a monopole, a guyed or self-supporting tower, or another existing or proposed structure designed to support or capable of supporting wireless facilities. The term does not include a Utility Pole or Small Wireless Utility Pole.

  - “Wrap” means the aesthetic covering approved by the City depicting scenic imagery such as vegetation, which blends with the surrounding area.  A Wrap design may also be proposed by the Applicant by requesting a waiver pursuant to this Part.  Imagery in a Wrap may not contain any signage.

SUBPART A.  REGISTRATION AND GENERAL PERMIT CONDITIONS

Sec. 711.404 	 Registration for placing, maintaining or collocating Communications Facilities and Small Wireless Utility Poles in City Rights-of-Way.

(a)	Registration required. A Communications Services Provider that desires to place,  maintain, or collocate a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way shall Register with the City’s Planning and Development Services Division in accordance with this Subpart A prior to submitting an Application for review under this Part.  A Communications Services Provider shall not be eligible to obtain a Permit under this Part until such Communications Services Provider has a Registration.

(b)	Registration contents. Each Applicant shall file a Registration in a format prescribed by the Director (e.g., font-size, typed/handwritten, original or electronic copies, disc copies, etc.).  The Registration shall include the following information and documentation:

- Name of the Applicant;

- Name, address, electronic mail address, and telephone number of the Applicant’s primary contact person and emergency contact person;

- Evidence of the insurance coverage required under this Subpart A;

- For Registrations submitted on or after December 12, 2017, a copy of both the Applicant’s resale certificate and certificate of registration issued by the Florida Department of Revenue to engage in the business of providing Communications Services in the State of Florida;

- A copy of the Applicant’s certificate of authorization or license to provide Communications Services issued by the Florida Public Service Commission, the Federal Communications Commission, or other applicable Federal or State authority, if any; and

- For an Applicant that is a Pass-through Provider, in lieu of paragraphs (4) and (5), a certified copy of a certificate or license issued by the Florida Department of State, or other appropriate state agency or department, authorizing the company to do business in the State.

(c) 	No registration fees; no Permit fees. No Registration fees and Permit fees shall be required under this Part in accordance with the provisions of Section 337.401, Florida Statutes, and the City’s waiver of fees under Section 711.416 herein.

(d)	Registration review and approval. Within thirty (30) days after receipt of the information and documentation submitted by the Applicant, the Director shall determine whether the application for Registration contains all the information and documentation required and shall advise the Applicant in writing whether the Registration is effective or if any areas of deficiency need to be addressed.  The Applicant shall re-submit any deficient information and documentation within thirty (30) days of the date of the notice of deficiency, otherwise the Registration shall be denied.  A notice of deficiency or denial of Registration shall not preclude an Applicant from filing subsequent applications for Registration under the provisions of this Section. A denial of Registration may be appealed by an Applicant as provided in Section 711.406.

(e)	Registration updates, renewals and cancellation. Within thirty (30) days of any change in the information and documentation required to be submitted pursuant to subsection (b) above, the Registrant shall provide updated information to the City.  Each Registrant shall renew its Registration by January 31st of evened numbered years (beginning in the year 2020) in accordance with the Registration requirements of this Subpart.  Failure to renew a Registration may result in the County restricting the issuance of additional Permits until the Provider has complied with the Registration requirements of this Subpart A. A Registrant may cancel a Registration upon written notice to the City stating that it will no longer place, maintain or collocate any Communications Facilities or Small Wireless Utility Poles in City Rights-of-Way and will no longer need to obtain Permits to perform work in City Rights-of-Way.  A Registrant shall not cancel a Registration if the Registrant continues to place, maintain or collocate any Communications Facilities or Small Wireless Utility Poles in City Rights-of-Way.

(f)	No property right arises from Registration. A Registration shall not convey any title, equitable or legal, to the Registrant in the City Rights-of-Way.  Registration under this Part governs only the placement, maintenance or collocation of Communications Facilities and Small Wireless Utility Poles in City Rights-of-Way.  Registration does not excuse a Communications Services Provider from obtaining appropriate access or pole attachment agreements before locating its Communication Facilities on another Person’s facilities.  Registration does not excuse a Communications Services Provider from complying with all applicable City ordinances, Applicable Codes, State and federal laws and regulations.

(g)	Permit required. In accordance with Applicable Codes, local laws and regulations, and State and federal laws and regulations, a Permit shall be required of a Provider that desires to place, maintain, or collocate a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way, unless otherwise specifically exempted under this Part.  An effective Registration shall be a condition precedent to or of obtaining a Permit.  Notwithstanding an effective Registration, permitting requirements shall also apply.  A Permit may be obtained by or on behalf of a Registrant having an effective Registration if all permitting requirements are met.  If a Permit is submitted without an effective Registration, the Permit application shall be denied.

(h) Registration non-exclusive. A Registration shall not in and of itself establish any right to place, maintain or collocate or create a priority for the placement, maintenance or collocation of a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way, but shall establish for the Registrant a right to apply for a Permit pursuant to this Part.  Registrations are expressly subject to any future amendment to or replacement of this Part and further subject to any additional City ordinances, as well as any State or federal laws that may be enacted.

(i) Compliance required.  A Registrant shall at all times comply with and abide by all Applicable Codes, local laws and regulations, and State and federal laws in placing, maintaining or collocating Communications Facilities and Small Wireless Utility Poles in City Rights-of-Way.  By submitting a Registration, the Applicant acknowledges that it has reviewed a copy of this Part and all other applicable Parts of this Chapter.

Sec. 711.405. Transfer, Sale or Assignment of Assets in City Rights-of-Way. 	If a Registrant transfers, sells or assigns its assets located in City Rights-of-Way incident to a transfer, sale or assignment of the Registrant’s assets, the transferee, buyer or assignee shall be obligated to comply with the terms of this Chapter.  Written notice of any such transfer, sale or assignment shall be provided by such Registrant to the City within twenty (20) days after the effective date of the transfer, sale or assignment.  If the transferee, buyer or assignee is a current Registrant, then the transferee, buyer or assignee is not required to re-Register.  If the transferee, buyer or assignee is not a current Registrant, then the transferee, buyer or assignee shall Register as provided in Section 711.404 within sixty (60) days of the transfer, sale or assignment.

Sec. 711.406	 Appeals. 	The following final determinations by the Director or City Council, as applicable, are subject to appeal as provided in this Part:

- Denial of an initial Registration or Registration renewal;

- Involuntary termination of a Registration;

- Suspension or revocation of a Permit;

- The issuance of a notice of withdraw from the security fund;

- Denial of a Permit to place, maintain or collocate a Communications Facility or Small Wireless Utility Pole in the City Rights-of-Way; and

- Denial of a request for waiver.

Appeals are subject to the procedures set forth in this Section, the rules adopted pursuant to Part 5 of this Chapter, and any such suspension or denial is subject to all applicable law. An appeal must be filed with the Director within thirty (30) days of the date of the final, written decision to be appealed and shall afford the Applicant an opportunity to appear before the Rights-of-Way Committee in the manner described Section 711.105(b)(2) of this Chapter. Any appeal not timely filed as set forth above shall be waived.  Upon correction of any grounds that gave rise to a suspension or denial, the suspension or denial shall be lifted.

Sec. 711.407 Conditional Use of City Rights-of-Way.  To the extent that a Registrant leases or otherwise uses the Communications Facilities of a Person that is duly registered or otherwise authorized to place, maintain or collocate Communications Facilities or Small Wireless Utility Pole in the City Rights-of-Way, Registrant shall make no claim, nor assert any right, which will impede the lawful exercise of the City’s rights, including requiring the removal of such Communications Facilities or Small Wireless Utility Pole from the City Rights-of-Way, regardless of the effect on Registrant's ability to place, maintain or collocate its own Communications Facilities or Small Wireless Utility Pole in City Rights-of-Way.

### Sec. 711.408 Involuntary Termination of Registration.

### (a)	The Director may terminate a Registration if:

### (1)	a Federal or Florida authority suspends, denies, or revokes a Registrant's certification or license to provide Communications Services;

### (2)	the Registrant's placement, maintenance or collocation of a Communications Facility or Small Wireless Utility Pole in the City Rights-of-Way presents an extraordinary danger to the general public or other users of the City Rights-of-Way and the Registrant fails to remedy the danger promptly after receipt of written notice; or

### (3)	the Registrant ceases to use all of its Communications Facilities or Small Wireless Utility Pole in City Rights-of-Way and has not complied with Section 711.415 of this Chapter.

### (b)	Prior to termination, the Registrant shall be notified by the Director with a written notice setting forth all matters pertinent to the proposed termination action, including which of (1) through (3) above is applicable as the reason therefore, and describing the proposed action of the City with respect thereto.  The Registrant shall have sixty (60) days after receipt of such notice within which to address or eliminate the reason or within which to present a plan, satisfactory to the Director, to accomplish the same.  If the plan is rejected, the Director shall provide written notice of such rejection to the Registrant and shall make a recommendation to the City Council regarding a final decision as to termination of Registration.  A decision by the City to terminate a Registration may only be accomplished by an action of the City Council. A Registrant shall be notified by written notice of any decision by the City Council to terminate its Registration.  Such written notice shall be sent within ten (10) days after the decision.

### (c)	 In the event of termination, the former Registrant shall: (i) notify the City of the assumption or anticipated assumption by another Registrant of ownership of the Registrant’s Communications Facilities or Small Wireless Utility Pole in City Rights-of-Way; or (ii) provide the City with an acceptable plan for disposition of its Communications Facilities or Small Wireless Utility Pole in City Rights-of-Way.  If a Registrant fails to comply with this subsection 3., the City may exercise any remedies or rights it has at law or in equity, including but not limiting to taking possession of the Communications Facilities or Small Wireless Utility Pole, requiring the Registrant's bonding company within 90 days of the termination to remove some or all of the Communications Facilities or Small Wireless Utility Pole from the City Rights-of-Way and restore the City Rights-of-Way to its original condition before the removal, or requiring that some or all of the Communications Facilities or Small Wireless Utility be removed and the City Rights-of-Way restored to its original condition before the removal at the Registrant's expense.

### (d)	 In any event, a terminated Registrant shall take such steps as are necessary to render every portion of the Communications Facilities or Small Wireless Utility Pole remaining in the City Rights-of-Way safe.

### (e)	In the event of termination of a Registration, this provision does not permit the City to cause the removal of any Communications Facilities or Small Wireless Utility Pole that are used to provide another service for which the Registrant holds a valid certification or license with the governing Federal or State agency, where required, and is properly registered with the City for such certificated or licensed service, where required.

Sec. 711.409	Existing Communications Facilities in City Rights-of-Way.	 A Communications Services Provider with an existing Communications Facility in the City Rights-of-Way has sixty (60) days from the Effective Date of this Part to comply with the terms of this Part, including, but not limited to, updating existing Registrations, obtaining the required insurance, indemnification, performance bond and security fund requirements, as applicable.  Failure of a Registrant to comply with this Part shall be a violation of this Part.

### Sec. 711.410	Insurance.

(a) General.	A Registrant shall provide, pay for and maintain satisfactory to the City’s Risk Insurance Manager the types of insurance described herein.  All insurance shall be from responsible companies duly authorized to do business in the State of Florida and having a rating in Best's Insurance Guide of A X or better or having a rating acceptable to the City.  All liability policies shall provide that the City is an additional insured as to the activities under this Chapter.  The required coverages must be evidenced by properly executed Certificates of Insurance forms.  The Certificates must be signed by the authorized representative of the insurance company and shall be filed and maintained with the City annually. Thirty (30) days advance written notice by registered or certified mail must be given to the City of any cancellation, intent not to renew or reduction in the policy coverages. The insurance requirements, including without limitation the additional insured requirement, may be satisfied by evidence of self-insurance or other types of insurance acceptable to the City.

(b) Insurance coverage and limits.	The limits of coverage of insurance required shall be not less than the following:

(1)	Worker's Compensation and Employer's Liability Insurance

Worker's Compensation-Florida Statutory Requirements

Employer's Liability - $100,000 limit each accident

$ 500,000 limit disease/policy limit

$ 100,000 limit disease/ each employee

(2) Comprehensive General Liability

Bodily injury and property damage-

$ 1,000,000 combined single limit each occurrence

$ 2,000,000 in the aggregate

(3)Automobile Liability

Bodily injury and property damage-

$ 1,000,000 combined single limit each accident

Neither approval nor failure to disapprove the required insurance shall relieve the Registrant from responsibility to provide insurance as required.

(c) Proof of insurance. Upon applying for a Registration, the Registrant shall submit to the City proof that it has obtained the insurance required under this Section, including a certificate of insurance signed by an authorized representative of the insurance company.

(d) Authority to increase or decrease policy limits. The City’s Risk Manager shall have the authority to reasonably increase or decrease the policy limits set forth above and shall provide each Registrant with at least thirty (30) days advance written notice of such change.  Within thirty (30) days from receipt of a notice to increase its policy limits, the Registrant shall submit to the City proof of such increased coverage.

(e) Duration. The coverage provided herein shall be maintained at all times during the use or occupancy of the City Rights-of-Way, including any time during placement, maintenance or collocation of Communications Facilities or Small Wireless Utility Poles.

(f) Failure to maintain required coverage. Failure to maintain all the required insurance coverage may subject the Applicant to the enforcement remedies set forth in this Part and Chapter.

### Sec. 711.411	Indemnification.

(a)	City assumes no liability.  By reason of the acceptance of a Registration or the issuance of a Permit under this Part, the City does not assume any liability for injuries to Persons, damage to property, or loss of service claims by parties other than the Applicant or the City or for claims or penalties of any sort resulting from the construction, presence, placement, installation, maintenance, repair or operation of Communications Facilities or Small Wireless Utility Poles by Applicants or agents of Applicants.

(b) Indemnity. A Registrant shall, at its sole cost and expense, indemnify, hold harmless, and defend the City, its officials, boards, members, agents, and employees, against any and all claims, suits, causes of action, proceedings, judgments for damages or equitable relief, and costs and expenses incurred by the City arising out of the placement, maintenance or collocation of its Communications Facilities or Small Wireless Utility Poles in City Rights-of-Way, regardless of whether the act or omission complained of is authorized, allowed or prohibited by this Chapter, provided, however, that a Registrant's obligation hereunder shall  not extend to any claims caused by the sole negligence, gross negligence or wanton or willful acts of the City. This provision includes, but is not limited to, the City’s reasonable attorneys' fees incurred in defending against any such claim, suit or proceedings.  The City agrees to notify the Registrant, in writing, within a reasonable time of the City’s receiving notice, of any issue it determines may require indemnification.  Nothing in this Section shall prohibit the City from participating in the defense of any litigation by its own counsel and at its own cost if in the City’s reasonable belief there exists or may exist a conflict, potential conflict or appearance of a conflict.  Nothing contained in this Section shall be construed or interpreted:  (i)  as denying to either party any remedy or defense available to such party under the laws of the State of Florida; (ii) as consent by the City to be sued; or (iii) as denying to either party any remedy or defense available to such party under the laws of the State or as a waiver of sovereign immunity beyond the waiver provided in Section 768.28, Florida Statutes, as amended.

(c)	Notification. The City agrees to notify the Registrant, in writing, within thirty (30) days of the City receiving notice of any issue it determines may require indemnification.

(d) Survival. The indemnification requirements shall survive and be in effect after the termination, expiration or cancellation of a Registration or Permit.

(e) Indemnity separate from insurance.  This indemnification shall apply to all damages and claims for damages of any kind suffered regardless of whether such insurance policies shall have been determined to be applicable to any such damages or claims for damages.

(f)	By registering with the City, Registrant agrees to the Indemnification provisions contained in this Section.

### Sec. 711.412	Performance Bond.

(a)	Prior to issuing a permit where the work under the permit will require restoration of City Rights-of-Way, the City may require a performance bond to secure the restoration of the City Rights-of-Way. Notwithstanding the foregoing, a performance bond hereunder shall only be required to the extent that the cost of the restoration exceeds the amount recoverable against the Security Fund as provided in Section 711.413. Six (6) months after the completion of the construction of the Communications Facility or Small Wireless Utility Pole and satisfaction of all obligations in accordance with the bond, the bond may be eliminated, and the City shall consent to the elimination where necessary (however, the City may subsequently require a new bond for any subsequent work in the City Rights-of-Way). The performance bond shall be issued by a surety having a minimum rating of an A.M. Best A-VII rating or better and duly authorized to do business in Florida; shall be in a form acceptable and subject to the approval of the Director; and shall provide that: "This bond may not be canceled, or allowed to lapse, until sixty (60) days after receipt by the City, by certified mail, return receipt requested, of a written notice from the issuer of the bond of intent to cancel or not to renew or upon the sooner receipt of direction to release from the City."

(b)	The rights reserved to the City under this Section are in addition to all other rights of the City, whether reserved in this Chapter, or authorized by other law, and no action, proceeding or exercise of a right with respect to the performance bond will affect any other right the City may have.	Any proceeds recovered under the performance bond may be used to reimburse the City for such additional expenses as may be incurred by the City as a result of the failure of Registrant to comply with the responsibilities imposes by this Section, including, but not limited to, attorney’s fees and costs of any action or proceeding.

### Sec. 711.413	Security Fund.

### (a)	At or prior to the time a Registrant receives its first Permit to place, maintain or collocate a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way after the effective date of this Chapter, the Registrant shall be required to file with the City, for City approval, an annual bond, cash deposit or irrevocable evergreen letter of credit (in a form approved by the City and issued by a financial institution with a location in the City) in the sum of $25,000 (or such other appropriate increased amount as may be determined by the Director, consulting with the City’s Risk Management Division), having as a surety a company qualified to do business in the State of Florida, and acceptable to the Director (consulting with the City’s Risk Management Division), which shall be referred to as the "Security Fund."  The Security Fund shall be maintained from such time through the earlier of:  (i) transfer, sale, assignment or removal of all Communications Facilities in City Rights-of-Way or; (ii) twelve (12) months after the termination or cancellation of any Registration.  The Security Fund shall be conditioned on the full and faithful performance by the Registrant of all requirements, duties and obligations imposed upon Registrant by the provisions of this Chapter.  The Security Fund shall be furnished annually or as frequently as necessary to provide a continuing guarantee of the Registrant's full and faithful performance at all times.  In the event a Registrant fails to perform its duties and obligations imposed upon the Registrant by the provisions of this Chapter, subject to Section 711.414 of this Part, there shall be recoverable, jointly and severally from the principal and surety of the Security Fund, any damages or loss suffered by the City as a result, including the full amount of any compensation, indemnification or cost of removal, relocation or abandonment of any property of the Registrant, plus a reasonable allowance for attorneys' fees, up to the full amount of the Security Fund. The City may in its reasonable discretion accept a Security Fund from the Registrant or its parent company, or other entity acceptable to the Director.

### (b) Prior to drawing form the security fund, the City shall notify the Registrant of the reason for such withdraw and provide the Registrant no less than thirty (30) days to make payment or o object to such withdraw.  If the Registrant objects, the Registrant may appeal the City’s notice of withdraw pursuant to Section 711.406.

### (c) Should the City draw upon the security fund, it shall promptly notify the Registrant, and the Registrant shall promptly restore the cash deposit or letter of credit to the full amount.

### Sec. 711.414	Enforcement Remedies.

(a)	A Registrant's failure to comply with provisions of this Part shall constitute a violation of this Chapter and shall subject the Registrant to the code enforcement provisions and procedures as provided in the City Code provisions on code enforcement. In addition, violation of this Part may be punishable as a class D offense by a fine not to exceed $500.00 or by imprisonment not to exceed 60 days or by both as provided in Section 125.69, Florida Statutes, for counties and Section 162.22, Florida Statutes, for municipalities.

(b)	Failure of the City to enforce any requirements of this Part shall not constitute a waiver of the City’s right to enforce that violation or subsequent violations of the same type or to seek appropriate enforcement remedies.

(c)  The Director shall be responsible for administration and enforcement of this Part and is authorized to give any notice required herein or by law.

Sec. 711.415	Abandonment of a Communications Facility or Small Wireless Utility Pole.

(a)	Upon Abandonment of a Communications Facility or Small Wireless Utility Pole owned by a Registrant in City Rights-of-Way, the Registrant shall notify the City within ninety (90) days.

(b)	The City may direct the Registrant to remove all or any portion of such Abandoned Facility at the Registrant's sole expense if the City determines that the Abandoned Facility’s presence interferes with the public health, safety or welfare, which shall include, but is not limited to:  (i) compromises safety at any time for any City Rights-of-Way user or during construction or maintenance in City Rights-of-Way; (ii) prevents another Person from locating facilities in the area of City Rights-of-Way where the Abandoned Facility is located when other alternative locations are not reasonably available; or (iii) creates a maintenance condition that is disruptive to the City Rights-of-Way’s use.  In the event of (ii) above, the City may require the third Person to coordinate with the Registrant that owns the existing Abandoned Facility for joint removal and placement, where agreed to by the Registrant.

(c)	In the event that the City does not direct the removal of the Abandoned Facility, the Registrant, by its notice of Abandonment to the City, shall be deemed to consent to the alteration or removal of all or any portion of the Abandoned Facility by the City, another utility or Person at such third party’s cost.

(d)	If the Registrant fails to remove all or any portion of an Abandoned Facility as directed by the City within a reasonable time period as may be required by the City under the circumstances, the City may perform such removal and charge the cost of the removal against the Registrant.

Sec. 711.416	Waiver of Registration and Permit Fees and Communications Services Tax.  In consideration of the City’s receipt of the “Discretionary Communications Services Tax” authorized by Florida Law, the City hereby waives all fees to obtain a Registration and Permit under this Part 4.  This waiver shall not apply to the collocation rate fees charged by the City to collocate Small Wireless Facilities on City Utility Poles as permitted under this Part and Section 337.401, Florida Statutes.

Sec. 711.417	Enforcement of Permit Obligations; Suspension and Revocation of Permit.

The Director may order the suspension of placement, maintenance, or collocation work under a Permit and ultimately may revoke any Permit, in the event of a substantial breach of the terms and conditions of any Applicable Codes, State or federal laws or regulations, or any condition of the Permit.  A substantial breach by the permittee may include, but is not limited to:

1) the violation of any material provision of the Permit or Applicable Codes;

2) an evasion or attempt to evade any material provision of the Permit or the perpetration or attempt to perpetrate any fraud or deceit upon the City;

3) Any material misrepresentation of act in the process of permittee’s request for a Permit or Registration;

4) the failure to maintain the required performance bond, security fund or insurance;

5) the failure to properly restore the City Rights-of-Way;

6) the failure to adhere to the indemnification provisions in Subpart A;

7) the failure to comply within the specified time with an order issued by the Director to correct a harmful condition or remedy a hazardous situation;

8) the failure to Register, renew Registration, or provide notice of transfer in accordance with this Subpart A;

9) the failure to relocate or remove Communications Facilities or Small Wireless Utility Poles pursuant to this Part and Chapter 337, F.S., as amended;

10) the failure to comply with a stop work order issued by the Director; or

11) Conducting work in the City Rights-of-Way without a Permit, if required.

If the Director determines that the permittee has committed a substantial breach of a term or condition of the Permit or this Part, the Director shall make a written demand upon the permittee to remedy such violation.  The demand shall state that the continued violation(s) may be cause for suspension or revocation of the Permit.  Further, the Director, at his or her discretion, may impose additional or revised Permit conditions on the Permit following a substantial breach.  Within thirty (30) days of receiving the notification of the breach, the permittee shall contact the Director with a plan, acceptable to the Director, for its correction or shall submit a statement as to why a substantial breach has not occurred.  The Director shall provide additional time as reasonably necessary for a permittee to establish a plan acceptable to the Director taking into account the nature and scope of the breach.  The permittee’s failure to contact the Director, failure to submit an acceptable plan, or failure to reasonably implement an approved plan, shall be cause for suspension or revocation of the Permit.  A final determination to suspend or revoke a Permit may be appealed in accordance with the procedures set forth in this Subpart A.  If a Permit is revoked, the permittee shall reimburse the City for the City’s reasonable costs, including restoration costs, administrative costs, attorney’s fees, and the cost of collection.  The City may charge the costs and/or fees to the security fund set forth in this Subpart A if the Provider fails to remit payment within thirty (30) days of notification.  The Director may cause an immediate stop work order where the permittee’s construction, placement, maintenance or collocation poses a serious threat to the health, safety or welfare of the public until such time as such serious threat has been abated.

Sec. 711.418	Additional Registration terms and Permit conditions.

(a)	Compliance with laws. Registrant shall at all times comply with and abide by all applicable provisions of the State and Federal law and City ordinances, codes and regulations in placing, maintaining or collocating a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way.

(b)	Placement, maintenance, or collocation; emergencies. A Registrant shall not commence to place, maintain or collocate a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way until all applicable permits, if any, have been issued by the City or other appropriate authority, except in the case of an emergency.  The term "emergency" shall mean a condition that affects the public’s health, safety or welfare, which includes an unplanned out-of-service condition of a pre-existing service. Registrant shall provide prompt notice to the City of the placement, maintenance or collocation of a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way in the event of an emergency and shall obtain an after-the-fact permit if a permit would have originally been required to perform the work undertaken in City Rights-of-Way in connection with the emergency.  For all routine maintenance, the Registrant shall provide notice of such activity, including but not limited to the location and nature of such work, to the City’s Chief of Planning and Development Services at least 48 hours prior to the commencement of such work. Registrant acknowledges that as a condition of granting such permits, the City may impose reasonable rules or regulations governing the placement, maintenance, or collocation of a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way. Permits shall apply only to the areas of City Rights-of-Way specifically identified in the permit. The City’s Director of Public Works may issue a blanket permit to cover certain activities, such as routine maintenance and repair activities, that may otherwise require individual permits.

(c)	Safety practices; skills. All safety practices required by applicable law or accepted industry practices and standards shall be used during the placement, maintenance or collocation of Communications Facilities or Small Wireless Utility Poles.  Registrant shall use and exercise due caution, care and skill in performing work in the City Rights-of-Way and shall take all reasonable steps to safeguard work site areas.

(d)	No property rights created. A Permit from the City constitutes authorization to undertake only certain activities on City Rights-of-Way in accordance with this Chapter, and does not create a property right or grant City to impinge upon the rights of others who may have an interest in the City Rights-of-Way.

(e)	Coordination of scheduling.	In the interest of the public’s health, safety and welfare, upon request of the City, a Registrant shall coordinate placement, maintenance or collocation activities under a Permit with any other work, construction, installation or repairs that may be occurring or scheduled to occur within a reasonable timeframe in the subject City Rights-of-Way and Registrant may be required to reasonably alter its placement, maintenance or collocation schedule as necessary so as to minimize disruptions and disturbance in the City Rights-of-Way.

(f)	Use of industry standards and practices. A Registrant shall place, maintain or collocate its Communications Facility or Small Wireless Utility Pole in City Rights-of-Way in a manner consistent with accepted industry standards and practices and applicable law.

(g)	No interference with use of City Rights-of-Way. All Communications Facilities or Small Wireless Utility Poles shall be placed, maintained or collocated so as not to unreasonably interfere with the use of the City Rights-of-Way by the public and with the rights and convenience of property owners who adjoin any of the City Rights-of-Way.  The use of trenchless technology (i.e., directional bore method) for the installation of Underground Communications Facilities in the City Rights-of-Way as well as joint trenching or the co-location of facilities in existing conduit is strongly encouraged, and should be employed wherever feasible.

(h) Additional rules and regulations.  The Director may promulgate reasonable rules and regulations pursuant to Part 5 of this Chapter concerning the placement, maintenance or collocation of a Communications Facility or Small Wireless Utility Poles in City Rights-of-Way consistent with this Part and other applicable law.

(i)	Restoration of City Rights-of-Way. A Registrant shall, at its own expense, restore the City Rights-of-Way to its original condition before such work after the completion of any placement, maintenance or collocation of a Communications Facility or Small Wireless Utility Pole in City Rights-of-Way or each phase thereof.  If the Registrant fails to make such restoration within thirty (30) days, or such other reasonable time as may be required by the City under the circumstances, following the completion of such placement, maintenance, or collocation the City may perform restoration and charge the costs of the restoration against the Registrant in accordance with Section 337.402, Florida Statutes, as amended. The Registrant shall guarantee its restoration work and shall correct any improper restoration work at its own expense for twelve (12) months following the original completion of the work.

(j)	Removal or relocation. Removal or relocation at the direction of the Director of a Registrant's Communications Facility or Small Wireless Utility Pole in City Rights-of-Way shall be governed by the provisions of Sections 337.401, 337.403 and 337.404, Florida Statutes, as amended, as applicable.

(k)	No warranties or representations. The City makes no warranties or representations regarding the fitness, suitability, or availability of City’s Rights-of-Way for the Registrant’s Communications Facilities or Small Wireless Utility Pole and any performance of work or costs incurred by Registrant or provision of services shall be at Registrant’s sole risk.  Nothing in this Part shall affect the City’s authority to add, vacate or abandon City Rights-of-Way and the City makes no warranties or representations regarding the availability of any added, vacated or abandoned City Rights-of-Way for Communications Facilities or Small Wireless  Utility Pole.

(l)  City right to inspect. 	The City shall have the right to make such inspections of Communications Facilities or Small Wireless Utility Poles placed, maintained or collocated in City Rights-of-Way as it finds necessary to ensure compliance with this Chapter.

(m) As-built Plans. Upon completion of work authorized by a Permit, in the event that field work results in changes from the Permit plans, the Registrant shall furnish to the City As-built Plans, at no costs to the City.  This requirement shall be in addition to, and not in lieu of, any filings the Registrant is required to make under the Underground Facility Damage Prevention and Safety Act set forth in Chapter 556, F.S., as amended. The fact that such As-built Plans are on file with the City shall in no way abrogate the duty of any Person to comply with the aforesaid Underground Facility Damage Prevention and Safety Act when performing work in the City Rights-of-Way. Upon completion of work authorized by a Permit for a Small Wireless Utility Pole or Small Wireless Facility, in the event that the field work results in changes from the Permit plans, the Registrant shall furnish to the County the exact Global Positioning System (GPS) coordinates of the Small Wireless Utility Pole or Small Wireless Facility.

(n) Americans with Disabilities Act. The placement, maintenance or collocation of all Communications Facilities and Small Wireless Utility Poles shall comply with the Americans With Disabilities Act, 42 U.S.C. Sec. 12101, et. seq., as amended, and regulations promulgated thereunder.

(o) Historic preservation zoning regulations. A Permit shall be denied for failure to comply with applicable historic preservation zoning regulations, including local, State, and federal rules and regulations.

(p) Public records. Any proprietary confidential business information obtained from a Registrant in connection with a Permit application shall be held confidential by the City to the extent required by Section 202.195, F.S., as amended, provided the Registrant so notifies the City which information is confidential in accordance with Florida Law, including Chapter 119, F.S.

(q) Airport airspace protections. A Registrant shall comply with Chapter 333, F.S., and all State and federal laws and regulations pertaining to airport airspace protections.

(r) Cost of work and Permit errors.  All work permitted under this Part shall be at the sole expense of the Registrant.  The issuance of a Permit shall not prevent the Director from thereafter requiring the correction of errors when in violation of this Part.

(s) Correction of harmful conditions. If, at any time, the City reasonably determines that a Communications Facility or Small Wireless Utility Pole is, or has caused a condition that is harmful to the health, safety or general welfare of any Person, then the Provider shall, at its own expense, correct or eliminate all such conditions after being provided reasonable notice. In an emergency, as determined by the Director, when the Provider is not immediately available or is unable to provide the necessary immediate repairs to any Communications Facility or Small Wireless Utility Pole that is a threat to public safety, then the City shall have the right to remove, make repairs to or eliminate same with the total cost being charged to and paid for by the Provider upon demand.  The City may charge the cost to the security fund set forth in this Subpart A if the Provider fails to remit payment within thirty (30) days of notification.

(t) Remedy of hazardous conditions.  If, at any time, a condition exists that the Director reasonably determines is an emergency that is potentially hazardous or life threatening to any Person or is a threat to health or safety of the general public, and to remedy such condition the City reasonably determines that a Provider must temporarily relocate or temporarily shut off service or transmissions through a specific Communications Facility, then the City, as an appropriate exercise of its police powers, may order the Provider to immediately perform such temporary relocation or shut off until the condition has been remedied, and to do so at its own expense and without liability to or recourse against the City.  In such an emergency, when the Provider is not immediately available or is unable to provide the necessary immediate relocation or shut off of the specific Communications Facility or Small Wireless Utility Pole, then the City shall have the right to perform, or cause to be performed, such temporary relocation or shut off until the condition has been remedied with the total cost being charged to and paid for by the Provider upon demand.  The City may charge the cost to the security fund set forth in this Subpart A if the Provider fails to remit payment within thirty (30) days of notification.

(u) Term of Permit. A Permit issued pursuant to this Part shall remain effective for one year unless extended by the Director for up to an additional one (1) year period. The Director’s  Permit extension shall not exceed one (1) year.

SUBPART B.  UNDERGROUND COMMUNICATIONS FACILITIES

Sec. 711.419	Applicability.  This Subpart B shall apply to Underground Communications Facilities that are placed or maintained in the City Rights-of-Way.  This Subpart B shall not apply to Small Wireless Facilities or Small Wireless Utility Poles that are placed, maintained or collocated in the City Rights-of-Way under Subparts C and D of this Part.

Sec. 711.420.	Permit application.

(a) Contents. A Registrant requesting to place a new or replace an existing Underground Communications Facility in the City Rights-of-Way must submit an Application in the format prescribed by the Director (e.g., font-size, typed/handwritten, original or electronic copies, disc copies, etc.) at no costs to the City. The Application must include at a minimum the following information and documentation:

- A plan showing the location of the proposed Underground Communications Facility, including a description of the Underground Communications Facility to be installed, where it is to be located, and the approximate size of facilities that will be located in City Rights-of-Way.  If the plans so provided require revision based upon actual installation, the Registrant shall promptly provide revised plans.  The plans shall be in a hard copy format or an electronic format specified by the City, provided such electronic format is maintained by the Registrant;

- A description of the manner in which the Underground Communications Facility will be installed (i.e. anticipated construction methods or techniques);

- A maintenance of traffic plan for any disruption of the City Rights-of-Way;

- Information on the ability of the City Rights-of-Way to accommodate the proposed Underground Communications Facility, if available (such information shall be provided without certification as to correctness, to the extent obtained from other Persons);

- If appropriate given the Underground Communications Facility proposed, an estimate of the cost of restoration to the City Rights-of-Way;

- The timetable for construction of the Underground Communications Facilities or each phase thereof, and the areas of the City which will be affected;

- A notarized statement from Registrant that the Underground Communications Facilities are in compliance with the Applicable Codes;

- Evidence of the performance bond and security fund required under Subpart A of this Part;

- In such instances where a contractor or other agent is acting on behalf of the Registrant, evidence such as an executed letter or notarized statement by Registrant granting authority to such contractor or other agent to act on the Registrant’s behalf; and

- Such additional information as the City finds reasonably necessary with respect to the placement or maintenance of the Underground Communications Facility that is the subject of the permit application, to review such permit application.

(b) Required notification of incomplete Application by City. Within thirty (30) days after receipt of information and documentation submitted by the Applicant, the Director shall determine whether the Application contains all information and required documentation and shall advise the Applicant in writing of any deficiencies. Applicant shall re-submit any deficient information and documentation within thirty (30) days of the date of the notice of deficiency, otherwise the Application shall be denied.  A notice of deficiency or denial of Permit shall not preclude an Applicant from filing subsequent Permit applications under this Subpart B.  An Application that fails to include any of the required information and documentation above shall not be processed until such Application is complete.

(c) Review and approval.  Applications for Permits submitted by a Registrant under this Subpart B shall be approved or denied in accordance with the provisions of Section 711.105(b)(2) of this Chapter.

Sec. 711.421	Limitation on new or additional Underground Communications Facilities.  To the extent not otherwise prohibited by State or Federal law, the City shall have the power to prohibit or limit the placement of new or additional Underground Communications Facilities within a particular area of City Rights-of Way.

Sec. 711.422	Excavation.  In connection with excavation in the City Rights-of-Way, a Registrant shall, where applicable, comply with the Underground Facility Damage Prevention and Safety Act set forth in Chapter 556, Florida Statutes, as amended.

Sec. 711.423	No damage to underground infrastructure.  A Registrant shall not place or maintain its Communications Facilities so as to interfere, displace, damage or destroy any infrastructure, including but not limited to, sewers, gas or water mains, storm drains, pipes, cables or conduits of the City or any other Person's facilities lawfully occupying the City Rights-of-Way.

Sec. 711.424	Reservation by City.	 The City reserves the right to place and maintain, and permit to be placed or maintained, sewer, gas, water, electric, storm drainage, communications, and other facilities, cables or conduit, and to do, and to permit to be done, any underground and overhead installation or improvement that may be deemed necessary or proper by the City in City Rights-of-Way occupied by the Registrant.  The City further reserves without limitation the right to alter, change, or cause to be changed, the grading, installation, relocation, or width of the City Rights-of-Way within the limits of the City and within said limits as same may from time to time be altered.

Sec. 711.425	Cooperation by Registrant.  A Registrant shall, on the request of any Person holding a permit issued by the City, temporarily raise or lower its Underground Communications Facilities to permit the work authorized by the Permit.  The expense of such temporary raising or lowering of Underground Communications Facilities shall be paid by the Person requesting the same, and the Registrant shall have the City to require such payment in advance.  The Registrant shall be given not less than thirty (30) days advance written notice to arrange for such temporary relocation.

Sec. 711.426	Relocation costs.  Where any Underground Communications Facility in City Rights-of-Way is interfering with a project to maintain, improve, extend or expand such City Rights-of-Way undertaken for the benefit of or as a result of a specific development, the developer shall pay relocation costs for any agreed-to relocation of the Underground Communications Facility.

SUBPART C.  SMALL WIRELESS FACILITIES

Sec. 711.427 Applicability.  This Subpart C shall apply to Small Wireless Facilities that are collocated in the City Rights-of-Way. This Subpart C shall not apply to Underground Communications Facilities permitted under Subpart B and Small Wireless Utility Poles placed under Subpart D.

Sec. 711.428  Wireless Facilities Allowed in the City Rights of Way.  Only the following Wireless Facilities may be placed, maintained or collocated within the City Rights-of-Way subject to the conditions of this Part:

1)	Small Wireless Facilities Collocated on Existing Structures, City Utility Poles or Collocated on Small Wireless Utility Poles; and

2)	Micro Wireless Facilities suspended on cable strung between Existing Structures.

Wireless Support Structures are not permitted within the City Rights-of-Way. Wireless Facilities shall not be permitted in the City Rights-of-Way except as permitted in this Section, unless otherwise permitted by applicable State or federal laws or regulation.  The approval of the installation, construction, placement, maintenance, or operation of a Small Wireless Facility pursuant to this Section does not authorize the provision of any voice, data, or video communications services or the installation, placement, maintenance, or operation of any Communications Facilities other than Small Wireless Facilities in the City Rights-of-Way.

Sec. 711.429  Permit Required; Exceptions.

(a) Permit required for Collocation. Registrant shall not collocate a Small Wireless Facility in the City Rights-of-Way until all applicable permits have been issued by the City, except for Limited Work as provided in subsection (b) below, unless otherwise authorized by Applicable Codes or State or federal laws or regulations. A Registrant may submit a Consolidated Permit Application. The Registrant acknowledges that as a condition of granting Permits, the City may impose reasonable conditions governing the collocation of a Small Wireless Facility in the City Rights-of-Way as set forth in Section 337.401, F.S., as amended. Permits shall apply only to the areas of the City Rights-of-Way specifically identified in the Permit.

(b)	Exception for Limited Work. A Registrant shall be allowed to perform Limited Work within the City Rights-of-Way without first obtaining a Permit if such proposed Limited Work does not involve excavation or the closure of a vehicle lane. Prior to performing any Limited Work, a Registrant shall provide reasonable advance written notice to the City identifying the areas where such maintenance will occur, scope of maintenance, date(s) and duration of work to be performed. If any Limited Work requires the closure of a vehicle lane, a lane closure permit shall be required.

(c) Exception for emergency maintenance. A Registrant shall be allowed to perform emergency maintenance within the City Rights-of-Way without first obtaining a permit. However, a Registrant shall provide prompt notice to the City of the emergency maintenance and, within fifteen (15) days of completing the emergency maintenance, apply for a permit in accordance with this Subpart C herein if such activity required a permit under this Subpart C. As used in this Section, the term emergency maintenance means the repair or replacement of a Small Wireless Facility as a result of a condition that affects the public health, safety or welfare, which includes an unplanned out-of-service condition of a preexisting service.

Sec. 711.430  Permit Application.

(a)	Contents. As part of any permit application to collocate a Small Wireless Facility in the City Rights-of-Way, the Registrant shall provide a permit application or consolidated permit application that sets forth, at a minimum, the following:

1) Engineering plan. An engineering plan signed and sealed by a Florida licensed professional engineer, that includes:

(i)	The type of proposed Small Wireless Facility including the dimensions, volume, height, footprint, and stealth design and concealment features of the proposed Small Wireless Facility, and location of the proposed Small Wireless Facility, including whether the proposed Small Wireless Facility is proposed within a location subject to restrictions;

(ii)	The type of structure intended to support the Small Wireless Facility, such as an Existing Structure or Small Wireless Utility Pole, including supporting documentation that the structure can support the additional load of the proposed Small Wireless Facility, if applicable;

(iii)	The distance of the proposed Small Wireless Facility, including ground-mounted equipment, and nearby pavement, sidewalks, driveways, ramps, trees, underground Utilities and other above-grade and below-grade structures and utilities located nearby within the City Rights-of-Way;

(iv)	The Global Positioning System (GPS) coordinates of the proposed Small Wireless Facility. The GPS coordinates shall be based on the reading from a handheld mobile GPS unit set to Datum NAD 83 or WGS84. GPS coordinates based on Google Earth or similar application may be used where areas of shading occur due to overhead canopy. GPS Coordinates shall be provided in decimal degrees at a six (6) decimal point precision;

(v)	Sufficient specificity demonstrating compliance with the Florida Building Code and other applicable codes, including but not limited to sight lines or clear zone standards and specifications for transportation, pedestrians, and public safety as provided in the Florida Department of Transportation  Plans Preparation Manual, Florida Department of Transportation Manual of Uniform Minimum Standards for Design, Construction and Maintenance for Streets and Highways (the Florida Greenbook), and the Florida Department of Transportation Design Standards, as amended, the Trench Safety Act (Chapter 553, Florida Statutes), the Underground Facility Damage Prevention & Safety Act (Chapter 556, Florida Statutes), the “Safety Rules for the Installation & Maintenance of Electrical Supply & Communication Lines” established by the U.S. Department of Commerce, Bureau of Standards and the National Electric Safety Code;

(vi)	Trees and landscaping to be removed or impacted upon the collocation of the proposed Small Wireless Facility. The collocation of a Small Wireless Facility that results in impacts or removal of a regulated tree shall provide additional information and documentation in accordance with applicable City ordinances;

2)	Description of installation or Construction. The Applicant shall provide a description of the manner in which the Small Wireless Facility will be collocated (i.e. anticipated Construction methods or techniques);

3)	Pole attachment agreement. For Collocations on Private Utility Poles, the applicant shall provide a copy of a valid pole attachment agreement for the Collocation of the proposed Small Wireless Facility. In lieu of providing the complete pole attachment agreement between the owner of the Private Utility Pole and applicant, the applicant may provide the first page of such agreement and the signature page or a notarized letter of authorization from the owner of the Private Utility Pole, providing adequate identifying information, acceptable to the City, and indicating the applicant is authorized to Collocate on the identified Private Utility Pole;

4)	Stealth design. The Applicant shall provide a description of stealth design to be utilized pursuant to the objective design standards contained in this Subpart C for Small Wireless Facilities;

5)	Temporary sidewalk closure plan. The applicant shall provide a temporary sidewalk closure plan, if applicable, to accommodate the collocation of the Small Wireless Facility;

6)	Temporary maintenance of traffic (MOT) plan. The applicant shall provide a temporary traffic lane closure and maintenance of traffic (MOT) plan, if applicable, to accommodate the collocation of the Small Wireless Facility;

7)	Restoration plan and estimate cost of restoration of the City Rights-of-Way. If applicable, a restoration plan and a good faith estimate of the cost of restoration of the City Rights-of-Way. Such good faith estimate shall be accepted by the City unless the Director determines such estimated costs are not representative of the actual costs of the restoration of the City Rights-of-Way. Estimates of the cost to restore the City Rights-of-Way shall include all costs necessary to restore the City Rights-of-Way to its original condition. Such good faith estimate shall include, but is not limited to, costs to restore the paving, curbs/gutters, sidewalks, multi-purpose trails, and landscaping.  All planted or naturally occurring shrubbery or vegetation, including sod, damaged or destroyed during work in the City Rights-of-Way shall be replaced, except tree removals or pruning as allowed by the permit;

8)	Timetable for Construction or installation. The timetable for collocation of the proposed Small Wireless Facility or each phase of the collocation thereof;

9)	Indemnification. A statement shall be included within the permit application that by execution of the application, the Registrant shall be bound to the City with respect to the indemnification provisions set forth in Subpart A;

10)	Airport airspace protection.  Applicant shall comply with Chapter 333, F.S., and all State and federal laws and regulations pertaining to airport airspace protections; and

11) Authorized agent. In such instances where a contractor or other agent is acting on behalf of the Registrant, evidence such as an executed letter or notarized statement by Registrant granting authority to such contractor or other agent to act on the Registrant’s behalf; and

(b)	Application review. An Application to collocate a Small Wireless Facility shall be reviewed by the Director as follows:

1)	Notice of application deficiency. Within fourteen (14) days after the date of filing an application, unless the timeframe is mutually extended, for the Collocation of a Small Wireless Facility the Director shall determine whether the application is complete. If an application is deemed incomplete, the Director shall notify the applicant by electronic mail and specifically identify the missing information. An application shall be deemed complete if the Director fails to notify the Applicant otherwise within fourteen (14) days after the date of filing the application.

2)	Request for alternative location. Within fourteen (14) days after the date of filing the application for Collocation of a Small Wireless Facility, the Director may request that the proposed location of the Small Wireless Facility be moved to another location and be placed on another Existing Structure or by placing a new Small Wireless Utility Pole. The City and applicant may negotiate the alternative location, including objective design standards and reasonable spacing requirements for ground-mounted equipment for thirty (30) days after the City submits the request. The applicant shall notify the City of its acceptance or rejection within this thirty (30) day negotiating period. If the applicant accepts the alternative location, the application shall be deemed granted for the agreed-upon alternative location and all other locations in the application. If the requested alternative location is rejected by the applicant, the Director shall approve or deny the original application within ninety (90) days after the date the application was filed.

3)	Application review; approval or denial. Within sixty (60) days after the date of filing an application for the Collocation of a Small Wireless Facility, the Director shall approve or deny the application. If the Director does not submit a request for an alternate location as provided in subsection (2) above, the Director and the applicant may mutually agree to extend the sixty (60) day application review period.

4)	Notice of denial; resubmission. Should the application be denied, the Director shall notify the applicant by electronic mail on the day the application is denied and specify in writing the basis for denial, including the specific Applicable Code provisions on which the denial is based. The applicant may cure the deficiencies identified by the Director and resubmit the application within thirty (30) days after the notice of denial is sent. The Director shall approve or deny the revised application within thirty (30) days after the date of filing the application. Any subsequent review shall be limited to the deficiencies cited in the notice of denial. A denial of a permit may be appealed pursuant to Section 711.406 of this Part.

5)	Consolidated Permit Applications. In a Consolidated Permit Application, the City may separately address each proposed Collocated Small Wireless Facility for which incomplete information has been received or which are denied.

6)	Deemed approved. Prior to commencing construction, a person with a deemed approved Permit must be registered pursuant to this Part and must file a performance bond and security fund with the City pursuant to Subpart A of this Part.

(c) Criteria for denial of Permit. The Director may deny a proposed collocation of a Small Wireless Facility in the City Rights-of-Way if the proposed Collocation:

- Materially interferes with the safe operation of traffic control equipment;

- Materially interferes with sight lines or clear zones for transportation, pedestrians, or public safety purposes;

- Materially interferes with compliance with the Americans with Disabilities Act or similar federal or state standards regarding pedestrian access or movement;

- Materially fails to comply with the 2010 edition of the Florida Department of Transportation Utility Accommodation Manual; and

- Materially fails to comply with any Applicable Codes.

Sec. 711.431	Objective design standards and height limitations.

(a)	Purpose and intent. Small Wireless Facilities shall be designed in such a manner that the Small Wireless Facilities are collocated in a safe location that do not interfere with the traveling public, and shall be designed to maximize compatibility with the Surrounding Neighborhood and to minimize any negative visual impact on the Surrounding Neighborhood. The following objective design standards regulating the location context, color, stealth design, and concealment of the proposed Small Wireless Facility shall apply, unless waived pursuant to this Subpart C.

(b)	Stealth design.  All proposed Small Wireless Facilities shall meet any one of the three following stealth design standards or combination thereof:

(i)	Preferred stealth design option 1: No exposed wires or cables; the use of shrouds; the use of a slim design wherein the top mounted Antenna does not exceed the diameter of the supporting Utility Pole at the level of the Antenna attachment and side-mounted enclosures, if any, do not extend more than thirty (30) inches beyond the exterior dimensions of the supporting Utility Pole measured from the edge of the Utility Pole to the outermost surface of the side-mounted enclosure;

(ii)	Preferred stealth design option 2: No exposed wires or cables; the use of shrouds; and the use of a street light fixture to camouflage the Small Wireless Facility. All street light fixtures shall be maintained in good working order by the Applicant or pole owner unless the City accepts maintenance responsibility in writing. If the City accepts the maintenance responsibility of a street light fixture on an City Utility Pole, the ownership of the street light fixture shall transfer to the City. All street light fixtures shall be of similar style and of similar lighting technology as nearby lighting fixtures (halogen, LED, etc.) and shall utilize dark-sky friendly lighting; and

(iii)	Preferred stealth design option 3: No exposed wires or cables; the use of shrouds; and the use of wraps on the supporting structure, side mounted enclosures, and/or ground-mounted equipment. An applicant may propose a wrap design not previously approved by the City by applying for and obtaining a waiver pursuant to this Subpart. Wraps shall be maintained by the applicant such that the wrap does not peel or significantly fade.

(c)	Concealment. The following concealment standards shall apply to proposed Small Wireless Facilities:

(i)	Applicants shall not place or maintain signage on Communications Facilities in the City Rights-of-Way, unless otherwise required by applicable State or federal laws or regulations, or as permitted by the City;

(ii)	A Small Wireless Facility shall not have any type of lighted signal, lights, or illuminations unless required by applicable State or federal laws or regulations or as permitted by the City;

(iii)	Ground-mounted equipment for Small Wireless Facilities shall be located within a ten (10) foot radius of the supporting structure for the Small Wireless Facility and, if possible, in areas with existing foliage or other aesthetic features to obscure the view of the ground-mounted equipment. The ground-mounted equipment shall be designed to appear similar to other at-grade facilities in the same City Rights-of-Way and may be further concealed with additional plantings. Any additional plantings proposed pursuant to this subsection shall be approved by the City. An applicant may also utilize a Wrap for At-grade Facilities. An applicant may propose a Wrap design not previously approved by the City by applying for and obtaining a waiver pursuant to this Section. Wraps shall be maintained by the applicant such that the Wrap does not peel or significantly fade.

(d)	Maximum height restrictions. A Small Wireless Facility, including any attached Antennas, shall not exceed ten (10) feet above the Existing Structure or Utility Pole upon which the Small Wireless Facility is to be collocated.

(e)	Location context. The following location context standards shall apply to proposed Small Wireless Facilities:

(i)	Prohibition against Placement within a location subject to Homeowners’ Association restrictions. Small Wireless Facilities shall not be collocated in a location subject to covenants, restrictions, articles of incorporation, or bylaws of a Homeowners’ Association unless specifically authorized by the Homeowners’ Association. This subsection shall not limit the installation, placement, maintenance, or replacement of Micro Wireless Facilities on any existing and duly authorized aerial Wireline Facility;

(ii)	Prohibition against Placement in location where facilities are placed underground. As may be applicable, Small Wireless Facilities shall comply with nondiscriminatory undergrounding requirements of the City that prohibit aboveground structures in the City Rights-of-Way. Any such requirements may be waived by the City pursuant to this Subpart;

(iii)	Tree Removal. The placement or maintenance of a Small Wireless Facility that results in impacts or removal of a regulated tree shall comply with the conditions contained in applicable City ordinances; and

(iv)	Prohibition against Placement in violation of OSHA or NESC rules and regulations. Small Wireless Facilities shall not be collocated in a location which violates rules and regulations set by the Occupational Safety and Health Administration or the National Electric Safety Code.

Sec. 711.432	Request for Waiver from compliance with objective design standards.

(a)	 Objective design standards provided in this Section may be waived by the Director upon a showing that the objective design standards are not reasonably compatible for the particular location of a Small Wireless Facility or that the objective design standards impose an excessive expense.

(b)	A request for a waiver shall be filed contemporaneously with the permit application. The request for waiver shall state each Section or subsection for which a waiver is being sought. A request for a waiver shall include a detailed explanation, with supporting engineering or other data, as to why a waiver from the requirements of this Section is required.

(c)	In granting any waiver, the Director may impose conditions to the extent the Director concludes such conditions are necessary to minimize any adverse effects of the proposed Small Wireless Facility on the Surrounding Neighborhood or to protect the health, safety and welfare of the public.

(d)	The Director shall grant or deny a request for a waiver within forty-five (45) days after receiving the request for waiver. Should a request for waiver, and ultimately a permit, be denied by the Director, the denial of the waiver may be appealed in conjunction with an appeal of the permit denial in accordance with this Chapter.

Sec. 711.433  Collocation on City Utility Poles.

(a) Make-Ready Work. For a City Utility Pole that supports aerial Wireline Facility used to provide Communications Services or electric service, the City, Communications Services Provider, Wireless Infrastructure Provider, and Pass-through Provider shall comply with the process for make-ready work under 47 U.S.C. § 224, as amended, and implementing regulations. The good faith estimate of the Person owning or controlling the pole for any make-ready work necessary to enable the pole to support the requested Collocation must include pole replacement if necessary. For a City Utility Pole that does not support aerial Wireline Facility used to provide Communications Services or electric service, the City shall provide a good faith estimate for any make-ready work necessary to enable the pole to support the requested Collocation, including necessary pole replacement, within sixty (60) days after receipt of a complete application. Make-ready work, including any pole replacement, must be completed within sixty (60) days after the written acceptance of the good faith estimate by the Applicant. Alternatively, the City may require the Applicant seeking to Collocate a Small Wireless Facility to provide a make-ready estimate at the Applicant’s expense for the work necessary to support the Small Wireless Facility, including pole replacement, and perform the make-ready work. If pole replacement if required, the scope of the make-ready estimate is limited to the design, fabrication, and installation of a Utility Pole that is substantially similar in color and composition. The City may not condition or restrict the manner in which the Applicant obtains, develops, or provides the estimate or conducts make-ready work subject to the usual construction restoration standards for work in the City Rights-of-Way. The replaced or altered Utility Pole shall remain the property of the City.

(b)	Collocation Rate Fees.  The rate to collocate a Small Wireless Facility on a City Utility Pole shall be $150 per pole annually. Annual payments shall be due and payable on April 1 of each year. If the payments required by this Section are not made within ninety (90) days after the due date, the City Manager or his designee may withhold the issuance of any permits to the Registrant until the amount past due is paid in full.

(c) Reservation of space.  The City may reserve space on a City Utility Pole for future public safety uses.  However, a reservation of space may not preclude collocation of a Small Wireless Facility.  If replacement of a City Utility Pole is necessary to accommodate the collocation of a Small Wireless Facility and the future public use, the pole replacement shall be subject to the make-ready provisions in this Section and the replaced pole shall accommodate the future public use.

Sec. 711.434  Privately owned structures.  Nothing in this section authorizes a person to collocate or attach Wireless Facilities, including any Antenna, Micro Wireless Facility, or Small Wireless Facility on a Private Utility Pole, a Utility Pole owned by JEA, an electric cooperative or a municipal electric utility, a privately-owned Wireless Support Structure, or other private property within the consent of the property owner.

Sec. 711.435  Limitation on Permitting of Small Wireless Facilities.  Any permit approval by the City for the collocation of a Small Wireless Facility under this Subpart C does not authorize the provision of any voice, data, or video Communications Services or the installation, placement, maintenance, or operation of any Communications Facilities other than Small Wireless Facilities in the City Rights-of-Way.

SUBPART D.  SMALL WIRELESS UTILIY POLES

Sec. 711.436 Applicability.  This Subpart D shall apply to Small Wireless Utility Poles that are placed in the City Rights-of-Way as a result of the alternative location negotiations under Subpart C of this Part and applications to place a Small Wireless Utility Pole by a Wireless Infrastructure Provider pursuant to Section 337.401(7), Florida Statutes. This Subpart D shall not apply to Underground Communications Facilities permitted under Subpart B and Small Wireless Facilities collocated under Subpart C.

Section 711.437 Permit required. A Registrant or Wireless Infrastructure Provider shall not commence to place a Small Wireless Utility Pole in City Rights-of-Way until all applicable permits have been issued by the City and other appropriate authority, except in the case of an emergency. The term "emergency" shall mean a condition that affects the public's health, safety or general welfare, which includes an unplanned out-of-service condition of a pre-existing service. The Registrant or Wireless Infrastructure Provider shall provide prompt notice to the City of the placement or maintenance of a Small Wireless Utility Pole in the City Rights of Way in the event of an emergency and shall, after the fact, be required to submit plans and record drawings and as-built surveys showing the placement or relocation of the Small Wireless Utility Pole undertaken in connection with the emergency.

Section 711.438 Permit application.

(a)	Contents.  Prior to the issuance of a Permit to allow the placement or maintenance of a Small Wireless Utility Pole (or “pole” as used in this Section) in the City Rights of Way, an Applicant shall submit an application for a Permit. A permit application shall be submitted prior to or contemporaneously with a permit application for a Small Wireless Facility.  In addition to any other information required pursuant to this Part, the Applicant shall provide all of the following in the permit application:

1)	Engineering plan. An engineering plan that includes:

(i)	The type of proposed Small Wireless Facility, location of the proposed pole, and the dimensions, height, footprint, stealth design, and concealment features of the proposed pole;

(ii)	The distances between the proposed pole and pavement, sidewalks, driveways, ramps, trees, underground utilities and other above-grade and below-grade structures and utilities located within 500 feet from the proposed pole and within the City Rights-of-Way;

(iii)	Sufficient specificity demonstrating compliance with the Florida Building Code, the Florida Department of Transportation’s Manual of Minimum Standards, the Utility Accommodation Guide, the Trench Safety Act (Chapter 553, Florida Statutes), the Underground Facility Damage Prevention & Safety Act (Chapter 556, Florida Statutes), the “Safety Rules for the Installation & Maintenance of Electrical Supply & Communication Lines” established by the U.S. Department of Commerce, Bureau of Standards and the National Electric Safety Code, as amended and as applicable;

(iv)	The Global Positioning System (GPS) coordinates of the proposed Pole. The GPS coordinates shall be based on the reading from a handheld mobile GPS unit set to Datum NAD 83 or WGS84. GPS coordinates based on Google Earth or similar application may be used where areas of shading occur due to overhead canopy. GPS coordinates shall be provided in decimal degrees at a six (6) decimal point precision;

(v)	Attestation that the proposed pole is located within the City Rights of Way, except that if the Director reasonably disagrees the applicant must submit a survey; and

(vi)	Trees or landscaping to be removed or impacted upon the placement or maintenance of the proposed pole. If the placement or maintenance of a Pole that impacts or removes a regulated tree in accordance with the City Code, the applicant shall provide additional information and documentation in accordance with the City Code;

2)	Description of installation or Construction. The applicant shall provide a description of the manner in which the pole will be installed and/or modified (i.e. anticipated Construction methods or techniques);

3)	Temporary sidewalk closure plan. The applicant shall provide a temporary sidewalk closure plan, if applicable, to accommodate placement or maintenance of the pole;

4)	Temporary maintenance of traffic (MOT) plan. The applicant shall provide a temporary traffic lane closure and maintenance of traffic (MOT) plan, if applicable, to accommodate placement or maintenance of the pole;

5) 	Restoration plan and estimated cost of restoration of the City Rights-of-Way. A restoration plan and a good faith estimate of the cost of restoration of the City Rights-of-Way to the condition prior to commencing work in the City Rights-of-Way. Such good faith estimate shall be accepted by the City unless the City determines such estimated costs are not representative of the actual costs of the restoration of the City Rights-of-Way. Estimates of the cost to restore the City Rights-of-Way shall include all costs necessary to restore the City Rights-of-Way to its original condition. Such good faith estimate may include, but shall not be limited to, costs to restore the paving, curbs/gutters, sidewalks, multi-purpose trails, and landscaping.  All planted or naturally occurring shrubbery or vegetation, including sod, damaged or destroyed during work in the City Rights-of-Way shall be replaced. Tree removal shown on the permit shall not be considered damage or impairment to be restored to the original condition provided the person complies with the approved mitigation plan, if any;

6)	Timetable for Construction or installation. The timetable for construction, placement or maintenance of the proposed pole or each phase thereof;

7)	Indemnification. A statement shall be included within the permit application that by execution of the application, the applicant shall be bound to the City with respect to the indemnification provisions set forth in Subpart A of this Part 4;

8)	Airport airspace protection.  Applicant shall comply with Chapter 333, F.S., and all State and federal laws and regulations pertaining to airport airspace protections;

9) 	In such instances where a contractor or other agent is acting on behalf of the Registrant, evidence such as an executed letter or notarized statement by Registrant granting authority to such contractor or other agent to act on the Registrant’s behalf;

10)	Information demonstrating that no existing Utility Pole is reasonably feasible to collocate the Small Wireless Facilities; and

11)	Additional information as reasonably required for review of permit application. Such additional information as the Director finds reasonably necessary to demonstrate the applicant’s compliance with applicable codes, local laws and regulations, and State and federal laws with respect to the placement or maintenance of the proposed Pole that is the subject of the permit application.

(b)	Application review. An application for a Small Wireless Utility Pole shall be reviewed by the City pursuant to the application review timeframes set forth for Small Wireless Facilities in Subpart C of this Part.

(c) Review for collocation on Existing Structures prior to placing a Small Wireless Utility Pole.  The Director shall review the proposed location of a Small Wireless Utility Pole to determine whether another Utility Pole already existing in the vicinity of the proposed Small Wireless Utility Pole may be used to support the proposed Small Wireless Facility.  If a Utility Pole already exists, the Director shall propose such existing Utility Pole as an alternative location.  Only when the applicant can demonstrate that no existing Utility Pole is reasonably feasible to collocate the Small Wireless Facilities shall the Director be authorized to approve a Small Wireless Utility Pole.

(d)	Application approval or denial. An application for a Small Wireless Utility Pole shall be approved or denied in the same timeframes set forth for Small Wireless Facilities in Subpart C of this Part.

(e) Criteria for denial.  The Director may deny a proposed placement of a Small Wireless Utility Pole in the City Rights-of-Way if the placement:

- Materially interferes with the safe operation of traffic control equipment;

- Materially interferes with sight lines or clear zones for transportation, pedestrians, or public safety purposes;

- Materially interferes with compliance with the Americans with Disabilities Act or similar federal or state standards regarding pedestrian access or movement;

- Materially fails to comply with the 2010 edition of the Florida Department of Transportation Utility Accommodation Manual;

- Materially fails to comply with any Applicable Codes; and

- Fails to demonstrate that no existing Utility Pole is reasonably feasible to collocate the Small Wireless Facilities in lieu of a Small Wireless Utility Pole.

Sec. 711.439 Objective design standards and height limitations.

(a)	Intent and purpose. Small Wireless Facility Utility Poles shall be placed in a safe location that do not interfere with the traveling public, and shall be designed to maximize compatibility with the surrounding neighborhood and to minimize any negative visual impact on the surrounding neighborhood. The following design standards shall apply, unless waived pursuant to this Section.

(b)	Stealth design. Small Wireless Utility Poles shall be made of substantially the same material, color, and design as other Utility Poles within the same City Rights-of-Way; however, a Small Wireless Utility Pole made of a steel, concrete, or fiberglass, and black or gray in color, shall not require a waiver regardless of the material and color of other Utility Poles within the same City Rights-of-Way. A Repurposed Structure shall be of substantially similar design, material, and color of the Existing Structure being replaced by the Repurposed Structure. The Repurposed Structure shall be located in approximately the same location as the Existing Structure. The Repurposed Structure shall continue to serve its primary function. If the City has a planned project to replace Utility Poles in the same City Rights-of-Way, the Repurposed Structure shall conform to the City’s updated design, material, and color.

(c)	Concealment. The following concealment standards shall apply to Small Wireless Utility Poles:

(i)	Signage shall not be placed or maintained on any Small Wireless Utility Pole within the City Rights-of-Way, unless otherwise required by State or federal laws or regulations, or as permitted by the City; provided however, that existing structures that lawfully supported signage before being repurposed may continue to support signage as otherwise permitted by law;

(ii)	A Small Wireless Utility Pole shall not have any type of lighted signal, lights, or illuminations unless required by an applicable State or federal laws or regulations, or as permitted by the City;

(iii)	At-grade Facilities shall be located in areas with existing foliage or other aesthetic features to obscure the view of the At-grade Facility or shall be designed to appear similar to other At-grade Facilities in the same City Rights-of-Way. Any additional plantings proposed pursuant to this subsection shall be approved by the City. An applicant may also utilize a Wrap for At-grade Facilities. An applicant may propose a Wrap design not previously approved by the City by applying for and obtaining a waiver pursuant to this Subpart. Wraps shall be maintained by the applicant such that the wrap does not peel or significantly fade.

(d)	Maximum height restrictions. The height of a Small Wireless Utility Pole is limited to the tallest existing Utility Pole as of July 1, 2017, located in the same City Rights-of-Way, other than a Utility Pole for which a waiver has previously been granted, measured from grade in place within five hundred (500) feet of the proposed location of the Utility Pole. If there is no Utility Pole within five hundred (500) feet, the Small Wireless Utility Pole shall be limited to fifty (50) feet.

(e)	Location context. The following location context standards shall apply to proposed Small Wireless Utility Poles:

(i)	Installation at outermost boundary of City Rights-of-Way. Small Wireless Utility Poles shall be placed at the farthest distance practicable from the edge of pavement unless there is a designated corridor within the City Rights-of-Way;

(ii)	Equidistant requirement. Small Wireless Utility Poles are strongly encouraged to be placed equidistant between existing Utility Poles, if any, within the City Rights-of-Way;

(iii)	Common property line. For Placement within residentially-zoned districts, Small Wireless Utility Poles are strongly encouraged to be placed at the common property line of the parcels that abut the City Rights-of-Way or otherwise demonstrate the least impact to access such parcels;

(iv)	Prohibition against placement that significantly impairs view from principal structures within residential blocks. Small Wireless Utility Poles shall be placed such that views from principal structures within residential districts are not significantly impaired;

(v)	Non-Residentially Zoned Districts. Small Wireless Utility Poles are strongly encouraged to be placed at the common property lines of the parcels that abut the City Rights-of-Way, or otherwise demonstrate the least impact to such parcels;

(vi)	Prohibition against placement in location where facilities are placed underground. Small Wireless Utility Poles in the City Rights-of-Way shall comply with undergrounding requirements of the City that prohibit aboveground structures in the City Rights-of-Way, as applicable;

(vii)	Tree Removal. The Placement or Maintenance of a Small Wireless Facility that results in the impact or removal of a regulated tree shall comply with applicable provisions of the City Code. Tree removal is not permitted within the City Rights-of-Way to increase signal strength or provide a line-of-sight;

(viii)Prohibition against Placement in violation of OSHA or NESC rules and regulations. Small Wireless Utility Poles shall not be placed in a location which violates rules and regulations set by the Occupational Safety and Health Administration or the National Electric Safety Code; and

(ix)	Small Wireless Facilities may not be located on Utility Poles twelve (12) feet or less in height above grade, unless incorporated within the Utility Pole under a top mounted street light. On wood Utility Poles, said facilities must be flush-mounted.

Sec. 711.440 Request for Waiver from objective design standards.

(a)	The waiver provisions listed in this subsection apply in those circumstances where a Provider’s use of the City Rights-of-Way is impaired by strict application of the requirements of this Article. Objective design standards provided in this Section may be waived by the Director.

(b)	A request for a waiver shall be filed contemporaneously with the permit application. The request for waiver shall state each Section or subsection for which a waiver is being sought. A request for a waiver shall include the following information:

(i)	A detailed explanation, with supporting engineering or other data, as to why a waiver from the requirements of this Article is required, including a detailed explanation addressing the relevant criteria to be considered by the Director as provided in subsection (iii);

(ii)	Design of the proposed At-grade Facility or Utility Pole, with particular reference to achieving compatibility with the Surrounding Neighborhood and eliminating adverse visual impacts on the Surrounding Neighborhood; and

(iii)	Any other information the Director may reasonably require to process the request for waiver.

(c)	The Director shall consider the following criteria when determining whether to grant or deny a permit:

(i)	Any special conditions and circumstances affecting the proposed site which prevent compliance with the Section or subsection for which a waiver is being sought;

(ii)	The compatibility of the proposed waiver Small Wireless Utility Pole with Adjacent Properties and the Surrounding Neighborhood;

(iii)	Whether there is an excessive expense associated with compliance with the Section or subsection for which a waiver is being sought; or

(iv)	Whether the proposed waiver preserves to the City flexibility in its management of the City Rights-of-Way.

(d)	In granting any waiver, the Director may impose conditions to the extent the Director concludes such conditions are necessary to minimize any adverse effects of the proposed Small Wireless Utility Pole on the Surrounding Neighborhood, or to protect the health, safety and welfare of the public.

(e)	The Director shall grant or deny a request for a waiver within forty-five (45) days after receiving the request for waiver. Should a request for waiver, and ultimately a permit, be denied by the Director, the denial of the waiver may be appealed in conjunction with an appeal of the permit denial in accordance with this part 4.

Section 5.		Amending Sections 711.505 (Adoption of rules) and 711.506 (Interlocal agreements), Ordinance Code. Sections 711.505 (Adoption of rules) and 711.506 (Interlocal agreements), Ordinance Code, are hereby amended to read as follows:

CHAPTER 711 CITY RIGHTS-OF-WAY

*  *  *

PART 5.  MISCELLANEOUS PROVISIONS

*  *  *

Sec. 711.505. - Adoption of rules.

The director of public works Director of the Department Public Works or Planning, as designated by the Mayor, is hereby authorized to undertake the adoption of rules necessary to undertake all necessary action pursuant to this Chapter to protect the City rights-of-way. The director shall conduct all such adoption of rules with the support of the office of the general counsel, giving notice, conducting necessary public hearing and filing a copy of all such rules in the Director's office, with the council secretary and with the Council President.

Sec. 711.506 Interlocal agreements.  The Director of the Department of Public Works or Planning, as designated by the Mayor, is hereby authorized to execute an interlocal agreement (defined herein to be an "interlocal agreement" with a "public agency" as said terms are defined in F.S. § 163.01) as may be necessary regarding the application of this Chapter. The form of said interlocal agreement shall be reviewed and approved by the Director of Finance and Administration and the Office of the General Counsel.

Section 6.		Repealing Chapter 711 (City Rights-of-Way), Part 4 (Communications/Registration) and Part 4A (Site Leases for Small Cell Antennas on City Improvements), Ordinance Code.  Chapter 711 (City Rights-of-Way), Part 4 (Communications/Registration) and Part 4A (Site Leases for Small Cell Antennas on City Improvements), Ordinance Code, are hereby repealed in their entirety.  A copy of the repealed Chapter 711, Part 4 and Part 4A are attached hereto as Exhibit 1.

Section 7.	 	Establishment of Account for Fees to Collocate Small Wireless Facilities on City Utility Poles.  The Finance Department is hereby directed to establish an account in the Public Works Department to establish fees collected from Communications Services Providers to collocate Small Wireless Facilities on City Utility Poles pursuant to Chapter 711, Part 4.

Section 8.		Existing Communications Facilities registrations to continue in effect.  Communications Facilities registrations existing as of the effective date of this Ordinance shall continue in effect after the adoption of this Ordinance.

Section 9.		Codification Instructions.  The Codifier and the Office of General Counsel is authorized to make all chapter and division “tables of contents” consistent with the changes set forth herein, including but not limited to, correcting all cross-references, terms, and sections  in Chapter 711, Ordinance Code, including Parts 1-3 and 5.  Such editorial changes and any others necessary to make the Ordinance Code consistent with the intent of this legislation are approved and directed herein, and changes to the Ordinance Code shall be made forthwith and when inconsistencies are discovered.

Section 10. 	Effective Date.  This ordinance shall become effective upon signature by the Mayor or upon becoming effective without the Mayor’s signature.

Form Approved:

/s/ Jason R. Teal_____

Office of General Counsel

Legislation Prepared By:	Jason R. Teal

GC-#1187774-v2A-2017-863_TEU_Sub.doc