Introduced by the Council President at the request of the Mayor:

# ORDINANCE 2011-653

AN ORDINANCE REGARDING FLOODPLAIN MANAGEMENT AND FLOOD DAMAGE PREVENTION; REPEALING CHAPTER 652 (FLOOD DAMAGE PREVENTION), ORDINANCE CODE AND RE-ENACTING A NEW CHAPTER 652 (FLOOD DAMAGE PREVENTION), ORDINANCE CODE IN ORDER TO DEVELOP A NEW ORDINANCE THAT MEETS THE NATIONAL FLOOD INSURANCE PROGRAM, STATE OF FLORIDA’S CRITERIA AND COORDINATES WITH UPDATES OF PRELIMINARY FLOOD MAPS IN TANDEM WITH THE FLOOD MAP MODERNIZATION PROJECT; PROVIDING AN EFFECTIVE DATE.

WHEREAS, the National Flood Insurance Program (“NFIP”) and the State of Florida require that local governments develop an ordinance that complies with the NFIP’s and State’s criteria for floodplain management; and

WHEREAS, in accordance with such direction from the NFIP and State, Chapter 652 (Flood Damage Prevention), Ordinance Code should be repealed and re-enacted; and

WHEREAS, in accordance with its enumerated powers as set forth in Section 654.142, Ordinance Code, the Subdivision Standards and Policy Advisory Committee (“SSPAC”) voted approval of the proposed ordinance; and

WHEREAS, the State of Florida Division of Emergency Management reviewed and approved the proposed ordinance language and found it in compliance with the State of Florida Flood Damage Prevention Ordinance; and

WHEREAS, the City of Jacksonville and the FEMA are in the process of updating all preliminary flood maps as part of a nationwide effort to update the nation’s aging flood hazard maps also known as the Flood Map Modernization Project; and

WHEREAS, this proposed ordinance is submitted in tandem with the Flood Map Modernization Project with an anticipated completion date on or around November 2011; now therefore

BE IT ORDAINED by the Council of the City of Jacksonville:

- Chapter 652 repealed.	Chapter 652 (Flood Damage Prevention), Ordinance Code, is repealed in its entirety.  A copy of Chapter 652 prior to repeal is on file with the Legislative Services Division.

- Chapter 652 re-enacted.  A new Chapter 652 (Flood Damage Prevention), Ordinance Code is created, to read as follows:

CHAPTER 652 FLOOD DAMAGE PREVENTION

PART 1.	STATUTORY AUTHORIZATION, FINDINGS OF FACT, PURPOSE AND OBJECTIVES.

Sec. 652.101.  Statutory Authorization.

The Legislature of the State of Florida has authorized and delegated in Chapters 125 and 166, Florida Statutes, the responsibility of local government units to adopt regulations designed to promote the public health, safety, and general welfare of its citizenry.  Therefore, the City Council of the City of Jacksonville does hereby adopt the following floodplain management regulations.

Sec. 652.102.	Findings of Fact.

(a)	Special Flood Hazard Areas, as defined herein, of Jacksonville are subject to periodic inundation which could result in loss of life and property, health and safety hazards, disruption of commerce and governmental services, extraordinary public expenditures for flood protection and relief and impairment of the tax base, all of which adversely affect the public health, safety and general welfare.

(b)	These flood losses are caused by the cumulative effect of obstructions in floodplains causing increases in flood heights and velocities and by the occupancy in flood hazard areas of uses vulnerable to floods or hazardous to other lands which are inadequately elevated, flood-proofed, or otherwise unprotected from flood damages.

Sec. 652.103.  Statement of Purpose.

It is the purpose of this Chapter to save lives, promote the public health, safety and general welfare and to minimize public and private losses due to flood conditions in specific areas by provisions designed to:

(a)	Restrict or prohibit uses which are dangerous to life, health, safety and property due to water or erosion hazards, or which result in damaging increases in erosion or in flood heights or velocities;

(b)	Require that uses vulnerable to floods, including facilities which serve such uses, be protected against flood damage at the time of initial construction, substantial improvement and throughout its intended life span;

(c)	Control the alteration of natural floodplains, stream channels and natural protective barriers which are involved in the accommodation of flood waters;

(d)	Control filling, grading, dredging and other development which may increase erosion or flood damage; and

(e)	Prevent or regulate the construction of flood barriers which will unnaturally divert flood waters or which may increase flood hazards to other lands.

Sec. 652.104.  Objectives.

The objectives of this Chapter are:

(a)	To protect human life, health and eliminate or minimize property damage;

(b)	To minimize expenditure of public money for costly flood control projects;

(c)	To minimize the need for rescue and relief efforts associated with flooding and generally undertaken at the expense of the general public;

(d)	To minimize prolonged business interruptions;

(e)	To minimize damage to public facilities and utilities such as water and gas mains, electric, telephone and sewer lines, streets, roadways, bridges and culverts located in floodplains;

(f)	To help maintain a stable tax base by providing for the sound use and development of flood prone areas in such a manner as to minimize flood blight areas;

(g)	To ensure that potential home buyers are notified that property is in a flood area; and

(h)	To comply with the requirements of the National Flood Insurance Program to ensure the availability of flood insurance for residents and property owners.

# PART 2.	DEFINITIONS.

Sec. 652.201.  Definitions.

Unless specifically defined below, words or phrases used in this chapter shall be interpreted so as to give them the meaning they have in common usage and to give this Chapter its most reasonable application.

(a) A Zone means areas denoted with an “A” prefix on the FIRMs.

(b) Accessory structure (Appurtenant structure) means a structure that is located on the same parcel of property as the principal structure and the use of which is incidental to the use of the principal structure.  Accessory structures should constitute a minimal investment, may not be used for human habitation, and be designed to have minimal flood damage potential.  Examples of accessory structures are detached garages, carports, storage sheds, pole barns, and hay sheds.

(c) Addition (to an existing building) means any walled and roofed expansion to the perimeter of a building in which the addition is connected by a common load-bearing wall other than a fire wall. Any walled and roofed addition which is connected by a fire wall or is separated by independent perimeter load-bearing walls is new construction.

(d) Adjusted SFHA means land for which the proposed building area is located within the Scale Distance of the nearest SFHA shown on the applicable FIRM.

(e)  AE Zone means areas denoted with an “AE” prefix on the FIRMs.

(f) AO Zone means areas denoted with an “AO” prefix on the FIRMs.

(g) Appeal means a request for a review of the interpretation by the "Floodplain Administrator" of any provision of this chapter or a dispute with the decision by the members of the Subdivision Standards Policy Advisory Committee denying a request for a variance.

(h) Areas of shallow flooding means a designated AO or AH Zone on a community's FIRM with base flood depths from one to three feet where a clearly defined channel does not exist, where the path of flooding is unpredictable and indeterminate and where velocity flow may be evident.

(i) Area of Special Flood Hazard is the land in the floodplain within a community subject to a one percent or greater chance of flooding in any given year as determined in accordance with Section 652.202 of this Chapter.  This term is synonymous with the term “special flood hazard area.”

(j) ASFHA Lands mean lands located within Adjusted SFHA.

(k) Base flood means the flood having a one percent chance of being equaled or exceeded in any given year (also called the “100-year flood” and the “regulatory flood”).  Base flood is the term used throughout this Chapter.

(l) Base flood elevation or BFE means the water-surface elevation associated with the base flood.

(m) Basement means any portion of a building having its floor subgrade (below ground level) on all sides.

(n) BFE means Base Flood Elevation.

(o) Breakaway wall means a wall that is not part of the structural support of the building, and is intended through its design and construction to collapse under specific lateral loading forces without causing damage to the elevated portion of the building or the foundation system.

(p) BRL means Building Restriction Line.

(q) Building means any structure built for support, shelter, or enclosure for any occupancy or storage.

(r) CLOMR means a Conditional Letter of Map Revision.

(s) Coastal high hazard area means an area of special flood hazard extending from offshore to the inland limit of a primary frontal dune along an open coast and any other area subject to high velocity wave action from storms or seismic sources. The area is designated on a FIRM as Zone V1 - V30, VE or V.

(t) Datum means a reference surface used to ensure that all elevation records are properly related. Many communities have their own datum that was developed before there was a national standard. The current national datum is the National Geodetic Vertical Datum (NGVD) of 1929, which is expressed in relation to mean sea level, or the North American Vertical Datum (NAVD) of 1988.

(u) Development means any man-made change to improved or unimproved real estate, including, but not limited to, buildings or other structures, mining, dredging, filling, grading, paving, excavating, drilling operations, or storage of materials or equipment.

(v) Elevated building means a non-basement building constructed to include the lowest floor elevated above the ground level by means of fill, solid foundation perimeter walls, pilings, columns (posts and piers), shear walls, or breakaway walls.

(w) Encroachment means the advance or infringement of uses, plant growth, fill, excavation, buildings, permanent structures or development into a floodplain, which may impede or alter the flow capacity of a floodplain.

(x) Existing construction means, for the purposes of floodplain management, structures for which “the start of construction” commenced before the date of the initial Flood Insurance Rate Map (FIRM).  Existing construction, means for the purposes of determining rates structures for which the “start of construction” commenced before June 16, 1975, the effective date of the initial Floodplain Management Regulations.  This term may also be referred to as “existing structures”.

(y) Existing manufactured home park or subdivision means a manufactured home park or subdivision for which the construction of facilities for servicing the lots on which the manufactured homes are to be affixed (including at a minimum the installation of utilities, the construction of streets, and either final site grading or the pouring of concrete pads) is completed before June 16, 1975, the effective date of the initial Floodplain Management Regulations.

(z) Expansion to an existing manufactured home park or subdivision means the preparation of additional sites by the construction of facilities for servicing the lots on which the manufactured homes are to be affixed (including the installation of utilities, the construction of streets and either final site grading or the pouring of concrete pads).

(aa) 5/50 Rule means any proposed development other than the construction on a Single Home Lot which is greater in size than the smaller of five (5) acres or fifty (50) lots.

(bb) FEMA means Federal Emergency Management Agency.

(cc) FFE means Finished Floor Elevation.

(dd) Fill in of SFHA means the placement of fill in the SFHA.

(ee) Final development permit means an official document issued by the City which authorizes the commencement of construction which would be expected to have an impact on levels of service or would occur at a stage in the development process when the proposed project has been precisely defined and where the density, intensity, and type or use of the ultimate development is known.

(ff) FIRM means FEMA Flood Insurance Rate Map.

(gg) Flood or flooding means

(1) A general and temporary condition of partial or complete inundation of normally dry land areas from:

(i)The overflow of inland or tidal waters.

(ii). The unusual and rapid accumulation or runoff of surface waters from any source.

(iii) Mudslides (i.e., mudflows) which are proximately caused by flooding as defined in paragraph (1) (ii) of this definition and are akin to a river of liquid and flowing mud on the surface of normally dry land areas, as when earth is carried by a current of water and deposited along the path of the current.

(2) The collapse or subsidence of land along a shore of a lake or other body of water as the result of erosion or undermining caused by waves or currents of water exceeding anticipated cyclical levels or suddenly caused by an unusually high water level in a natural body of water, accompanied by a severe storm or by an unanticipated force of nature, such as a flash flood or an abnormal tidal surge or by some similarly unusual and unforeseeable event which results in flooding as defined in paragraph (1) (i) of this definition.

(hh) Flood Boundary and Floodway Map (FBFM) means the official map of the community on which FEMA has delineated the areas of special flood hazard and regulatory floodways.

(ii) Flood Hazard Boundary Map (FHBM) means an official map of the community, issued by FEMA, where the boundaries of the areas of special flood hazard have been identified as only Approximate Zone A.

(jj) Flood Insurance Rate Map (FIRM) means the official map of a community on which the Federal Emergency Management Agency has delineated both the areas of special flood hazard and the risk premium zones applicable to the community.

(kk) Flood insurance study is the official hydrology and hydraulics report provided by the Federal Emergency Management Agency. The study contains an examination, evaluation, and determination of flood hazards, and, if appropriate, corresponding water surface elevations, or an examination, evaluation, and determination of mudslide (i.e., mudflow) and other flood-related erosion hazards.  The study may also contain flood profiles, as well as the FIRM, FHBM (where applicable), and other related data and information.

(ll) Floodplain means any land area susceptible to being inundated by water from any source (see definition of “flooding”).

(mm) Floodplain Administrator is the individual appointed to administer and enforce the floodplain regulations of the community.

(nn) Floodplain management means the operation of an overall program of corrective and preventive measures for reducing flood damage and preserving and enhancing, where possible, natural resources in the floodplain, including but not limited to emergency preparedness plans, flood control works, floodplain management regulations, and open space plans.

(oo) Floodplain management regulations means this Chapter and other zoning ordinances, subdivision regulations, building codes, health regulations, special purpose ordinances (such as floodplain ordinance, grading ordinance, and erosion control ordinance), and other applications of police power which control development in flood-prone areas.  This term describes Federal, State of Florida, or local regulations in any combination thereof, which provide standards for preventing and reducing flood loss and damage.

(pp) Flood-proofing means any combination of structural and non-structural additions, changes, or adjustments to structures, which reduce or eliminate flood damage to real estate or improved real property, water and sanitary facilities, structures and their contents.

(qq) Floodway means the channel of a river or other watercourse, and the adjacent land areas that must be reserved in order to discharge the base flood without cumulative increase of the water surface elevation greater than a designated height.

(rr) Floodway fringe means that area of the floodplain on either side of the regulatory floodway.

(ss) Freeboard means the additional height, usually expressed as a factor of safety in feet, above a flood level for purposes of floodplain management. Freeboard tends to compensate for many unknown factors, such as wave action, blockage of bridge or culvert openings and hydrological effect of urbanization of the watershed that could contribute to flood heights greater than the height calculated for a selected frequency flood and floodway conditions.

(tt) Free of Obstruction means any type of lower area enclosure or other construction element that shall not obstruct the flow of velocity water and wave action beneath the lowest horizontal structural member of the lowest floor of an elevated building during a base flood event. This requirement applies to the structures in velocity zones (V-Zones).

(uu) Functionally Dependent Use means a use which cannot be used for its intended purpose unless it is located or carried out in close proximity to water, such as a docking or port facility necessary for the loading and unloading of cargo or passengers, shipbuilding, ship repair, or seafood processing facilities. The term does not include long-term storage, manufacture, sales, or service facilities.

(vv) Hardship as related to requests for variances from compliance with this Chapter means the exceptional hardship or difficulty associated with the land that would result from a failure to grant the requested variance.  The community requires that the variance be exceptional, unusual, and peculiar to the property involved.  Mere economic or financial hardship alone is not exceptional.  Inconvenience, aesthetic considerations, physical handicaps, personal preferences, or the disapproval of one’s neighbors likewise shall not, as a rule, qualify as an exceptional hardship.  Such issues may be resolved through other means without granting a variance, even if the alternative is more expensive, or requires the property owner to build elsewhere or change the parcel to a different use than its original intended use.

(ww) Highest adjacent grade means the highest natural elevation of the ground surface, prior to the start of construction, next to the proposed walls of a structure.

(xx)Historic structure means any structure that is:

(1)	listed individually in the National Register of Historic Places (a listing maintained by the Department of Interior) or preliminarily determined by the Secretary of the Interior as meeting the requirements for individual listing on the National Register:

(2)	Certified or preliminarily determined by the Secretary of the Interior as contributing to the historical significance of a registered historic district or a district preliminarily determined by the Secretary to qualify as a registered historic district:

(3)	Individually listed on the State of Florida inventory of historic places which has been approved by the Secretary of the Interior; or

(4)	Individually listed on a local inventory of historic places in communities with historic preservation programs that have been certified either:

(i)	By an approved State of Florida program as determined by the Secretary of the Interior, or

(ii)	Directly by the Secretary of the Interior.

(yy) LOMA means Letter of Map Amendment.

(zz)  LOMAR means a Letter of Map Amendment or Revision.

(aaa)LOMR means a Letter of Map Revision.

(bbb) Lowest adjacent grade means the lowest elevation, after the completion of construction, of the ground, sidewalk, patio, deck support or basement entryway immediately next to the structure.

(ccc) Lowest floor means the lowest floor of the lowest enclosed area (including basement). An unfinished or flood resistant enclosure, used for parking of vehicles, building access or storage, in an area other than a basement area is not considered a building's lowest floor; provided, that such enclosure is not built to render the structure in violation of the applicable non-elevation design requirements of Part 6.

(ddd) Mangrove Stand means an assemblage of mangrove trees which are mostly low trees noted for a copious development of interlacing adventitious roots above ground and which contain one or more of the following species: Black mangrove (Avicenna Nitida); red mangrove (Rhizophora mangle); white mangrove (Languncularia Racemosa); and buttonwood (Conocarpus Erecta).

(eee) Manufactured home means a building, transportable in one or more sections, constructed on a permanent chassis and designed to be used with or without a permanent foundation when connected to the required utilities. The term also includes park trailers, travel trailers and similar transportable structures placed on a site for one hundred eighty (180) consecutive days or longer and intended to be improved property.

(fff) Manufactured home park or subdivision means a parcel (or contiguous parcels) of land divided into two or more manufactured home lots for rent or sale.

(ggg) Market value means the building value, which is the property value excluding the land value and that of the detached accessory structures and other improvements on site (as agreed to between a willing buyer and seller) as established by what the local real estate market will bear.  Market value may be established by an independent certified appraisal (other than a limited or curbside appraisal, or one based on income approach), Actual Cash Value (replacement cost depreciated for age and quality of construction of building), or adjusted tax-assessed values.

(hhh) Mean Sea Level means the average height of the sea for all stages of the tide.  It is used as a reference for establishing various elevations within the floodplain.  For purposes of this Chapter, the term is synonymous with National Geodetic Vertical Datum (NGVD) of 1929, or North American Vertical Datum (NAVD) of 1988.

(iii) Minimum Elevation Residential Zone A means the greater of BFE, such higher elevation as may be set by SSPAC, or as determined in Parts 5 and 6 of this Chapter in A Zone areas for residential building.

(jjj) Minimum Elevation Non-Residential Zone A means the greater of BFE, such higher elevation as may be set by SSPAC, or as determined in Parts 5 and 6 of this Chapter in A Zone areas for non-residential building.

(kkk) MSMP means Master Storm Management Plan adopted by the Comprehensive Plan.

(lll) National Geodetic Vertical Datum (NGVD) of 1929 means a vertical control used as a reference for establishing varying elevations within the floodplain.

(mmm) New construction for floodplain management purposes, any structure for which the “start of construction” commenced on or after June 16, 1975, the effective date of the initial Floodplain Management Regulations. The term also includes any subsequent improvements to such structures.

(nnn) New manufactured home park or subdivision means a manufactured home park or subdivision for which the construction of facilities for servicing the lots on which the manufactured homes are to be affixed (including at a minimum, the installation of utilities, the construction of streets and either final site grading or the pouring of concrete pads) is completed on, or after June 16, 1975, the effective date of  the initial Floodplain Management Regulations.

(ooo) North American Vertical Datum (NAVD) of 1988 means a vertical control used as a reference for establishing varying elevations within the floodplain.

(ppp) Primary frontal dune means a continuous or nearly continuous mound or ridge of sand with relatively steep seaward and landward slopes immediately landward and adjacent to the beach and subject to erosion and overtopping from high tides and waves during major coastal storms. The inland limit of the primary frontal dune occurs at the point where there is a distinct change from a relatively steep slope to a relatively mild slope.

(qqq) Principally above ground means that at least 51 percent of the actual cash value of the structure is above ground

(rrr) Program deficiency means a defect in the community’s floodplain management regulations or administrative procedures that impairs effective implementation of those floodplain management regulations or of the standards required by the National Flood Insurance Program.

(sss) Public safety and nuisance means anything which is injurious to safety or health of the entire community or a neighborhood, or any considerable number of persons, or unlawfully obstructs the free passage or use, in the customary manner, of any navigable lake, or river, bay, stream, canal, or basin.

(ttt) Reasonably safe from flooding means base flood waters will not inundate the land or damage structures to be removed from the SFHA and that any subsurface waters related to the base flood will not damage existing or proposed buildings.

(uuu) Recreational vehicle means a vehicle that is:

(1)	Built on a single chassis;

(2)	Four hundred square feet (400) or less when measured at the largest horizontal projection;

(3)	Designed to be self-propelled or permanently towable by a light duty truck; and

(4)	Designed primarily not for use as a permanent dwelling but as temporary living quarters for recreational, camping, travel, or seasonal use.

(vvv) Reference feature means the receding edge of a bluff or eroding frontal dune, or if such a feature is not present, the normal high-water line or the seaward line of permanent vegetation if a high-water line cannot be identified.

(www) Regulatory floodway means the channel of a river or other watercourse and the adjacent land areas that must be reserved in order to discharge the base flood without cumulatively increasing the water surface elevation more than a designated maximum height.

(xxx) Remedy a deficiency or violation means to bring the regulation, procedure, structure or other development into compliance with State of Florida, Federal or local floodplain management regulations; or if this is not possible, to reduce the impacts of its noncompliance. Such impacts may be reduced by protecting the structure or other affected development from flood damages, implementing the enforcement provisions of this ordinance or otherwise deterring future similar violations, or reducing Federal financial exposure with regard to the structure or other development.

(yyy) Repetitive loss means flood-related damages sustained by a structure on two separate occasions during a ten-year period for which the cost of repairs at the time of each such flood event, on the average, equals or exceeds twenty-five percent of the market value of the structure before the damaged occurred.

(zzz) Required vertical datum means a vertical control used as a reference for establishing varying elevations within the floodplain as defined on the FIRM maps.

(aaaa) Riverine means relating to, formed by, or resembling a river (including tributaries), stream, brook, etc.

(bbbb) Sand dune means naturally occurring accumulations of sand in ridges or mounds landward of the beach.

(cccc) Scale Distance means twenty percent (20%) of the respective scale to one inch on the applicable FIRM.

(dddd) SFHA means Special Flood Hazard Area.

(eeee) SFHA Land means land which is wholly or partially located within a SFHA or an Adjusted SFHA.

(ffff) SFHA Single Home Lots means single home lots and commercial land of less than five (5) acres which are located wholly or partly within a Special Flood Hazard Area.

(gggg) Single Home Lot means a vacant unplatted lot not included within a Subdivision Development which will only be permitted for one residential single family residence and commercial land of less than five (5) acres.

(hhhh) Sixty-year setback means a distance equal to sixty times the average annual long-term recession rate at a site, measured from the reference feature.

(iiii) Special flood hazard area (SFHA) means the area having a one percent or greater chance of being flooded in any given year.

(jjjj) SSPAC means Subdivision Standards and Policy Advisory Committee.

(kkkk) Start of Construction (for other than new construction or substantial improvements under the Coastal Barrier Resources Act (PL 97-348)), includes substantial improvement and means the date the building permit was issued, provided the actual start of construction, repair, reconstruction, or improvement was within one hundred eighty (180) days of the permit date. The actual start means the first placement of permanent construction of a building (including a manufactured home) on a site, such as the pouring of slabs or footings, installation of piles, construction of columns, or any work beyond the stage of excavation or the placement of a manufactured home on a foundation. Permanent construction does not include land preparation, such as clearing, grading and filling; nor does it include the installation of streets and/or walkways; nor does it include excavation for a basement, footings, piers or foundations or the erection of temporary forms; nor does it include the installation on the property of accessory buildings, such as garages or sheds not occupied as dwelling units or not part of the main building. For a substantial improvement, the actual start of construction means the first alteration of any wall, ceiling, floor, or other structural part of a building, whether or not that alteration affects the external dimensions of the building.

(llll) Storm cellar means a place below grade used to accommodate occupants of the structure and emergency supplies as a means of temporary shelter against severe tornadoes or similar windstorm activity.

(mmmm) Structure means, for floodplain management purposes, a walled and roofed building that is principally above ground, a manufactured home, a gas or liquid storage tank, or other manmade facilities or infrastructures.

(nnnn) Substantial damage means damage of any origin sustained by a structure whereby the cost to restore the structure to its original, before-damaged condition would equal or exceed 50 percent (50%) of the market value of the structure before the damage occurred. "Substantial damage" also means flood-related damages sustained by a structure on two separate occasions during a ten-year period for which the cost of repairs at the time of each such flood event, on the average, equals or exceeds twenty-five percent of the market value of the structure before the damage occurred.

(oooo) Substantial improvement means any reconstruction, rehabilitation, repairs, addition, modification or other improvement of a structure over a ten (10) year period, the cumulative cost of which equals or exceeds fifty (50%) percent of the market value of the structure before the "start of construction" of the improvement. This term includes structures that have incurred "repetitive loss" or "substantial damage", regardless of the actual repair work performed. This term includes structures which have incurred "substantial damage," regardless of the actual repair work performed. 
For the purposes of this definition, "substantial improvement" is considered to occur when the first alteration of any wall, ceiling, floor, or other structural part of the building commences, whether or not that alteration affects the external dimensions of the building.  The term does not, however, include:

(1)	Any project for improvement of a building required to repair or correct existing violations of State of Florida or local health, sanitary, or safety code specifications which have been identified by the local Code Enforcement Official, prior to the application for permit for improvement, and which have been cause for issuance of a citation or condemnation and which are solely the minimum necessary to assure safe living conditions; or

(2)	Any alteration of a "historic structure," provided that is the alteration will not preclude the structure's continued designation as a "historic structure" and for which a variance has been granted pursuant to this chapter.

(pppp) Substantially improved existing manufactured home parks or subdivisions means where the repair, reconstruction, rehabilitation or improvement of the streets, utilities and pads equals or exceeds fifty percent of the value of the streets, utilities and pads before the repair, reconstruction or improvement commenced.

(qqqq) Thirty-year setback means a distance equal to thirty times the average twenty-four annual long-term recession rate at a site, measured from the reference feature.

(rrrr) Variance means a grant of relief from the requirements of this Chapter which permits construction in a manner otherwise prohibited by this Chapter where specific enforcement or compliance would result in unnecessary hardship.

(ssss) VE Zone means areas denoted with a ”VE” prefix on the FIRMs.

(tttt) VE Zone Requirements means the special requirements of FEMA for design construction in a VE Zone.

(uuuu) Violation means the failure of a structure or other developments to be fully compliant with the provisions of this Chapter. A structure or other development without the elevation certificate, other certifications, or other evidence of compliance required in Parts 4 or 6 is presumed to be in violation until such time as that documentation is provided.

(vvvv) Watercourse means a lake, river, creek, stream, wash, channel or other topographic feature on or over which waters flow at least periodically.  Watercourse includes specifically designated areas in which substantial flood damage may occur.

(wwww) Water surface elevation means the height, in relation to the National Geodetic Vertical Datum (NGVD) of 1929 or the North American Vertical Datum (NAVD) of 1988, of floods of various magnitudes and frequencies in the floodplains of coastal or riverine areas.

(xxxx) Wetlands means wetlands as established by St. Johns River Water Management District or Florida Department of Environmental Protection, for which no filling is proposed.

(yyyy) Zone of imminent collapse means an area subject to erosion adjacent to the shoreline of an ocean, bay, or lake and within a distance equal to ten feet plus five times the average annual long-term erosion rate for the site, measured from the reference feature.

PART 3.	GENERAL PROVISIONS.

Sec. 652.301.  Lands to Which this Chapter Applies.

This chapter shall apply to all areas of special flood hazard within the jurisdiction of the City of Jacksonville, with the exception of Urban Services Districts 2, 3, 4 and 5 ( City of Atlantic Beach, City of Jacksonville Beach, City of Neptune Beach and Town of Baldwin).

Sec. 652.302.  Basis for Establishing the Special Flood Hazard Areas.

The "Special Flood Hazard Areas" identified by the Federal Emergency Management Agency (FEMA) in the Flood Insurance Study and Flood Insurance Rate Maps (FIRMs) for the City of Jacksonville, Duval County, Florida, dated August 15, 1989 with the accompanying maps and other supporting data, and any subsequent revisions thereto, and the Master Stormwater Management Plan (“MSMP”), as subsequently amended or modified by ordinance, are adopted by reference and declared to be a part of this Chapter.  The Flood Insurance Study and Flood Insurance Rate Map are on file at  1) www.mappingtherisk.com, 2) Edward Ball Building, 214 N. Hogan St., 2nd Floor, Jacksonville, FL  32202, 904-255-8310 and 3) the Downtown Jacksonville Library.

Sec. 652.303.	Designation of Floodplain Administrator

The Chief of Development Services (successor) shall be the Certified Floodplain Manager to administer and implement the provisions of this Chapter and is herein referred to as the Floodplain Administrator.

Sec. 652.304.  Establishment of Development Permit.

A development permit shall be required in conformance with the provisions of this Chapter prior to the commencement of any development activities for all proposed construction or other development in the community, including the placement of manufactured homes, so that it can be determined whether such construction or development is proposed within flood-prone areas.  Any Development permit issued by the city shall conform with the provisions of this chapter.

Sec. 652.305.  Compliance.

No structure or land shall hereafter be located, extended, converted or structurally altered without full compliance with the terms of this Chapter and any other applicable regulations.

Sec. 652.306.  Abrogation and Greater Restrictions.

This chapter is not intended to repeal, abrogate, or impair any existing easements, covenants, or deed restrictions. However, where this Chapter and another conflict or overlap, whichever imposes the more stringent restrictions shall prevail.

Sec. 652.307.  Interpretation.

In the interpretation and application of this Chapter all provisions shall be:

(a) Considered as minimum requirements;

(b) Liberally construed in favor of the governing body; and

(c) Deemed neither to limit nor repeal any other powers granted under State of Florida statutes.

Sec. 652.308.  Warning and Disclaimer of Liability.

The degree of flood protection required by this Chapter is considered reasonable for regulatory purposes and is based on scientific and engineering consideration. Larger floods may and will occur on rare occasions. Flood heights may be increased by man-made or natural causes. This Chapter does not imply that land outside the Special Flood Hazard Areas or uses permitted within such areas will be free from flooding or flood damages. This chapter shall not create liability on the part of the City of Jacksonville or by any officer or employee thereof for any flood damages that result from reliance on this Chapter or any administrative decision lawfully made thereunder.

Sec. 652.309.  Penalties for Violation.

Willful and continued violation of the provisions of this Chapter or failure to comply with any of its requirements, including violation of conditions and safeguards established in connection with grants of variance or special exceptions shall be penalized for a non-criminal violation. Any person who violates this Chapter or fails to comply with any of its requirements shall, upon adjudication thereof, be fined not more than five hundred dollars ($500) and, in addition, shall pay all costs and expenses involved in the case. Each day such violation continues shall be considered a separate offense. Nothing herein contained shall prevent the Floodplain Administrator from taking such other lawful actions on behalf of the City of Jacksonville as are necessary to prevent or remedy any violation.

PART 4.  ADMINISTRATION.

Sec. 652.401.  Designation of Floodplain Administrator.

The Chief of Development Services (successor) shall implement and manage the provisions of this Chapter, and is herein referred to as the Floodplain Administrator.

Sec. 652.402.  Duties and Responsibilities of the Floodplain Administrator.

Duties of the Floodplain Administrator of this Chapter, shall include, but not be limited to:

(a)	Review permits to assure that sites are reasonably safe from flooding;

(b)	Review all development permits to assure that the permit	requirements of this chapter have been satisfied;

(c)	Require copies of additional Federal, State of Florida, or local permits, especially as they relate to Chapters 161.053; 320.8249; 320.8359; 373.036; 380.05; 381.0065; and 553, Part IV, Florida Statutes, be submitted along with the development permit application and maintain such permits on file with the development permit;

(d)	Notify affected adjacent local governments, the Division of Emergency Management-State Floodplain Management Office, the St. Johns River Water Management District, the Federal Emergency Management Agency and other Federal and/or State of Florida agencies with statutory or regulatory authority prior to any alteration or relocation of a watercourse;

(e)	Assure that the flood-carrying capacity within the altered or relocated portion of any watercourse is maintained;

(f)	Verify and record the actual elevation (in relation to mean sea level) of the lowest floor (A-Zones) or bottom of the lowest horizontal structural member of the lowest floor (V-Zones) of all new and substantially improved buildings, in accordance with Part 6, Section 652.602 (a) and (b) and Section 652.605 (b), respectively;

(g)	Verify and record the actual elevation (in relation to required vertical datum of the lowest floor, including basement) of all new or substantially improved buildings, in accordance with Section 652.502(b)(1)(iii).

(h)	Verify and record the actual elevation (in relation to required vertical datum to which the substantially improved buildings have been floodproofed, in accordance with Section 652.602(b).

(i)	In coastal high hazard areas, the Floodplain Administrator shall obtain certification from a registered professional engineer or architect that the building is designed and securely attached to adequately anchored pilings or columns in order to withstand water velocity and hurricane wave force, in compliance with Section 652.502(b)(1)(v).

(j)	In coastal high hazard areas, the Floodplain Administrator shall review plans for adequacy of breakaway walls in accordance with Section 652.502(b)(1)(ii).

(k)	When flood-proofing is utilized for a particular building, the Floodplain Administrator shall obtain certification from a registered professional engineer or architect, in accordance with Section 652.502 (b)(2)(v).

(l)	Determine whether a building or development site is located within an area of special flood hazard or Adjusted SFHA in accordance with Section 652.403(a).

(m)	Within AE zones along rivers, streams, lakes, swamps and marshes, determine the appropriate base flood elevation (BFE) for each individual building site in accordance with Section 652.403(b).

(n)	Within VE zones and coastal AE zones, for which stream profiles are not provided, determine the BFE in accordance with Section 652.403(c).

(o)	Interpret the precise location of boundaries of the areas of special flood hazard (for example, where there appears to be a conflict between a mapped boundary and the natural grade of actual field conditions) the Floodplain Administrator shall make the necessary interpretation in accordance with Section 652.403(d).  The person who contests the location of the boundary shall be given a reasonable opportunity to appeal the interpretation as provided in this Chapter.

(p)	Where the Floodplain Administrator has determined all or a portion of a property to be located outside of the flood hazard area, however, it is shown being within the flood hazard area on the FIRM maps, the applicant shall be advised of the need to obtain a Letter of Map Amendment or Revision from FEMA and shall be given an application packet utilizing forms provided by FEMA, in accordance with Section 652.404(a).

(q)	When BFE for construction occurring in A zones, data or floodway data have not been provided in accordance with Section 652.302, the Floodplain Administrator shall obtain, review and reasonably utilize any BFE and floodway data available from a federal, state or other source, in order to administer the provisions of Parts 5, 6 and 7 and perform in accordance with Section 652.403(e).

(r)	When a development project will cause a reconfiguration of the flood hazard area due to grading, filling, channel alteration or relocation, development of a stormwater management system, or the excavation of lakes, the Floodplain Administrator shall require the applicant to submit and obtain approval from FEMA of a Conditional Letter of Map Revision in accordance with Section 652.404(b).

(s)	The Office of the Floodplain Administrator shall serve as the official map repository for FEMA FIRMs, Flood Boundary and Floodway Maps and Flood Hazard Boundary Maps for the community, together with Letters of Map Amendment (LOMAs) and Letters of Map Revision (LOMRs). At least one copy of all current and superseded maps, LOMAs and LOMRs shall be maintained for public use and inspection.

(t)	All records in regards to the provisions of this Chapter shall be maintained in the Office of the Floodplain Administrator and shall be open for public inspection.

(u)	Obtain a "no-rise" certification, provided by applicant pursuant to Section 652.603 (1) and (3), or a Conditional Letter of Map Revision from FEMA prior to final approval of construction located within a regulatory floodway.

(v)	The Floodplain Administrator shall review the floor elevation survey data or floodproofing certification submitted.

(w)	In V1-30, VE and V Zones, obtain the elevation (in relation to mean sea level) of the bottom of the lowest horizontal structural member of the lowest floor (excluding pilings and columns) of all new and substantially improved structures.  The Floodplain Administrator shall maintain a record of all such information.

(x)	Requirement to submit new technical data. Within six (6) months, notify FEMA of changes in base flood elevation by submitting technical or scientific data so insurance and floodplain management is based upon current data.

Sec. 652.403.  Various Determinations.

The Floodplain Administrator shall utilize the following provisions in making determinations pursuant to this Chapter.

(a)	Determine whether a building or development site is located within an area of special flood hazard or Adjusted SFHA by referencing the FEMA Flood Insurance Study and accompanying maps. If detailed topographic mapping is available, the boundary of the area of special flood hazard shall be plotted on such mapping utilizing the base flood elevations provided in the Flood Insurance Study. This more detailed definition of the boundary of the base flood shall be utilized as "best available data" for purposes of regulating the area of special flood hazard. If, after development there are significant discrepancies between the boundary as shown on the FIRM maps and the topographic mapping available, the Director of Public Works shall so advise FEMA.

(b)	Within AE zones along rivers, streams, lakes, swamps and marshes, determine the appropriate base flood elevation (BFE) for each individual building site utilizing the Flood Data Tables (for lakes) and the Stream Profiles contained in the FEMA Flood Insurance Study. The BFE printed on the FIRM maps are illustrative only. The Floodplain Administrator shall interpolate the BFE at a site between two given BFE markers by referring to the stream profiles and measuring the distance of the site upstream or downstream from a cross-section shown on the FEMA map. Within AE zones for which a stream profile is not provided, the determination of the BFE shall be made using the procedure described for VE zones.

(c)	Within VE zones and coastal AE zones, for which stream profiles are not provided, determine the BFE by interpolating along a line perpendicular to and running between the midpoints of two adjoining zones, utilizing the printed BFE shown on the FIRMs as the BFE at the midpoint of each zone. The printed BFEs are the average within each zone. The zone boundaries of the V-Zones and coastal numbered A and AE Zones actually denote an elevation midway between the printed BFE in one zone and that of the adjoining zone.

(d)	Where interpretation is needed as to the exact location of boundaries of the areas of special flood hazard (for example, where there appears to be a conflict between a mapped boundary and the natural grade of actual field conditions) the Floodplain Administrator shall make the necessary interpretation and shall utilize the most accurate topographic mapping available. The elevations published in the FEMA Flood Insurance Study, as portrayed in the profile sheets, shall be the ruling reference for delineating the boundary of the floodplain. The person contesting the location of the boundary shall be given a reasonable opportunity to appeal the interpretation as provided in this chapter. Property may not be excluded from the area of special flood hazard as a result of filling, as shown on the FIRMs, unless a Letter of Map Revision has been approved by FEMA.

(e)	When BFE for construction occurring in A zones, data or floodway data have not been provided in accordance with Part 3, Section 652.302, then the Floodplain Administrator shall obtain, review and reasonably utilize any BFE and floodway data available from a federal, state or other source, in order to administer the provisions of Parts 4, 5 and 6. The BFE may be estimated using topographic maps, historical flood information, field data (e.g. high water marks), or scientific engineering methodology. Base flood elevation and floodway data shall be developed and provided for subdivision proposals and other proposed developments (including industrial parks, shopping centers, public facilities and manufactured home parks and subdivisions) which are greater in size than the lesser of fifty lots or five acres. Such data shall be submitted to FEMA within thirty days of receipt and acceptance by the community for review as a possible map revision.  When data is not available from any source, the lowest floor of a structure shall be elevated no lower than three (3) feet plus one foot freeboard above the highest adjacent grade.

Sec. 652.404. Additional Requirements for Letters of Map Amendment or Revision.

(a)	Where the Floodplain Administrator has determined all or a portion of a property proposed to be developed is located outside of the flood hazard area (including flood hazard areas identified as A, A1-30, AE, AH, AO and VE on the FIRMs), yet it is shown as being within the flood hazard area on the FIRM maps, the applicant shall be advised of the need to obtain a Letter of Map Amendment or Revision from FEMA and shall be given an application packet utilizing forms provided by FEMA. While the property may be exempt from the requirements of this chapter, flood insurance purchase will remain mandatory until FEMA authorizes a Letter of Map Amendment or Revision.

The complete application for the LOMR shall be submitted to the Floodplain Administrator prior to final approval of the construction plans for the proposed development. The applicant shall diligently pursue the approval of the LOMR by FEMA and final acceptance of subdivision improvements shall not occur or a Certificate of Occupancy shall not be issued until the LOMR has been obtained except as otherwise set forth herein.

(b)	When a development will cause a reconfiguration of the flood hazard area due to grading, filling, channel alteration or relocation, development of a stormwater management system, or the excavation of lakes, the Floodplain Administrator shall require the applicant to submit a complete CLOMR for subdivision development or LOMR for any other development other than subdivision development to the Floodplain Administrator prior to approval of the final construction plans for the proposed development.

(1)	For all subdivision development other than development occurring in a floodway, the applicant shall diligently pursue the approval of the CLOMR by FEMA and final acceptance of subdivision improvements shall not occur until a CLOMR has been obtained except as otherwise set forth herein.

(2)	For all other development other than subdivision development and development occurring in a floodway, the applicant shall diligently pursue the approval of a LOMR by FEMA and a Certificate of Occupancy shall not be issued for the proposed development until a LOMR has been obtained except as otherwise set forth herein.

(3)		Where a floodway is being impacted by a proposed development, a CLOMR must be obtained from FEMA prior to approval of the final construction plans and construction in the floodway. Following completion of all or each phase of such a development, the Floodplain Administrator shall require the applicant to submit to FEMA the as-built topographic and hydraulic information and obtain a LOMR from FEMA prior to final acceptance of subdivision improvements or issuance of a Certificate of Occupancy for the proposed development.

- For all development other than development where a floodway is being impacted, the Floodplain Administrator may grant an extension or extensions for the time frame for obtaining a LOMR or CLOMR where the applicant has demonstrated that approval of such LOMR and CLOMR has been diligently pursued but has not been obtained due to circumstances beyond the control of the applicant. In the event that the applicant fails to obtain the CLOMR or LOMR within the extended time frame(s) approved by the Floodplain Administrator, then the Floodplain Administrator may disapprove any future applications for building permits for subdivision development or revoke a Certificate of Occupancy for any other development until the applicant has obtained such CLOMR or LOMR.

Sec. 652.405.	Permit Procedures

Application for a final development permit shall be made to the Floodplain Administrator on forms furnished by him or her prior to any development activities, and may include, but not be limited to, the following plans, in duplicate, drawn to scale showing the nature, location, dimensions, and elevations of the area in question; existing and proposed structures, earthen fill, storage of materials or equipment, drainage facilities, and the location of the foregoing.  Specifically, the following information is required:

(a)	Application Stage:

(1)	Elevation in relation to mean sea level of the proposed lowest floor (including basement) of all buildings;

(2)	Elevation in relation to mean sea level to which any non-residential building will be flood-proofed;

(3)	Certificate from a registered professional engineer or architect that the non-residential flood-proofed building will meet the flood-proofing criteria in 652.405(b), 652.602 and/or 652.703;

(4)	Description of the extent to which any watercourse will be altered or relocated as a result of proposed development; and

(5) 	Elevation in relation to mean sea level of the bottom of the lowest horizontal structural member of the lowest floor and provide a certification from a registered land surveyor indicating that she/he has developed and/or reviewed the structural designs, specifications and plans of the construction and certified that are in accordance with accepted standards of practice in Coastal High Hazard Areas.

(b)	Construction Stage:

Upon placement of the lowest floor, or flood-proofing by whatever construction means, or bottom of the lowest horizontal structural member it shall be the duty of the permit holder to submit to the Floodplain Administrator an elevation certificate of the NGVD or NAVD elevation of the lowest floor or flood-proofed elevation, or bottom of the lowest horizontal structural member as built, in relation to mean sea level.  Said certification shall be prepared by or under the direct supervision of a registered land surveyor or professional engineer and certified by same.  When flood proofing is utilized for a particular building said certification shall be prepared by or under the direct supervision of a professional engineer or architect and certified by same.  Any work undertaken prior to submission of the certification shall be at the permit holder’s risk. The Floodplain Administrator shall review the lowest floor and flood-proofing elevation survey data submitted.  The permit holder, immediately and prior to the permission for additional progressive work to proceed, shall correct violations detected by such review.  Failure to submit the survey or failure to make said corrections required hereby, shall be cause to issue a stop-work order for the project.

# PART 5.	PROCEDURES FOR PROCESSING PERMITS FOR SINGLE HOME LOTS.

Sec. 652.501.  Lands to Which this Part Applies.

Part 5 applies only to Single Home Lots located within a SFHA as determined pursuant to Section 652.403.

Sec. 652.502.  Permit Requirements for Building Construction.

Application for a final development permit for constructing or substantially improving a structure shall be in accordance with the procedures as set forth for filing such permit and shall include the following information:

(a)	A statement as to whether or not the construction or improvement will occur in an area of special flood hazard or Adjusted SFHA or in a VE Zone, as hereinafter defined. For construction occurring outside areas of special flood hazard and Adjusted SFHA or a VE Zone, no further information is required for purposes of this chapter. For proposed construction within the Scale Distance of a VE Zone or within the VE Zone, the permit applicant shall provide the survey of the SFHA Single Home Lot, including the proposed construction and the transect line, and run the FEMA approved model using such survey to determine whether the proposed building will actually be located in the VE Zone.

(b)	If the construction or improvement will occur in an area of special flood hazard or Adjusted SFHA or a VE Zone, the following information is required:

(1)	Application stage.

(i)	Elevation in relation to the required vertical datum of the proposed lowest floor (including basement), or the lowest surface of any heating or air conditioning ductwork installed below the lowest floor, or the lowest horizontal supporting member in a coastal high hazard area (V-zone), of all proposed buildings or substantial improvements;

(ii)	Signed, sealed certificate, separate from the submitted plans, from a registered professional engineer or architect certifying that a new or substantially improved building located in the coastal high hazard area (V-zone) will meet the construction standards contained in Section 652.605;

(iii)	Description of the extent to which any watercourse, swamp, marsh, lake, or pond will be altered, relocated, or created as result of the proposed construction;

(iv)	Description of the type and extent, of proposed fill and the elevation in relation to required vertical datum of the top surface of the fill, or, to the extent available, elevations as required by city approved lot grading plans;

(v)	Description of the type, extent and depth of proposed excavation in relation to required vertical datum;

(vi)	Plot plan, to scale, illustrating the locations of all proposed construction, fill, excavating and other aspects of the development;

(vii)	Copy of the proposed stormwater management report and floodplain study, if any, complete with technical supporting data; and

(viii)	No-rise" certification for projects located in a regulatory floodway prepared pursuant to Section 652.603.

(2)	Construction stage. Floor elevation or floodproofing certifications.

(i)	Upon placement of the lowest floor, or, in the coastal high hazard areas (V-zones) upon placement of the horizontal structural members of the lowest floor, whichever is applicable, it shall be the duty of the permit holder to submit to the Floodplain Administrator a certification of the elevation of the top of lowest floor, or the lowest surface of any heating or air conditioning ductwork installed below the lowest floor, or the elevation of the lowest portion of the horizontal structural members of the lowest floor, whichever is applicable, as built, in relation to required vertical datum. Such certification shall be made on a FEMA Elevation Certificate form prepared by or under the direct supervision of a registered land surveyor and certified by same.

(ii)	Any additional work undertaken prior to submission and approval of the certification shall be at the permit holder's risk.

(iii)	The Floodplain Administrator shall review the floor elevation survey data submitted.  Deficiencies detected by such review shall be corrected by the permit holder immediately and prior to further work being permitted to proceed.

(iv)	Failure to submit the elevation or failure to make such corrections required hereby shall be cause to issue a stop-work order for the project.

(v)	Prior to issuance of a Certificate of Occupancy for new construction or substantial improvement in the coastal high hazard area (V-zones), the permit holder shall submit a signed, sealed certificate, separate from the submitted plans, from a registered professional engineer or architect certifying that the building has been constructed in compliance with the standards contained in Section 652.505. A Certificate of Occupancy will not be issued until this certification has been received and accepted by the Floodplain Administrator.

PART 6.	PROVISIONS FOR FLOOD HAZARD REDUCTION.

Sec. 652.601.  General Standards.

In all areas of special flood hazard, all development sites including new construction and substantial improvements shall be reasonably safe from flooding, and shall meet the following provisions:

(a)	New construction and substantial improvements (inclusive of repetitive losses, as defined herein) shall be designed or anchored to prevent flotation, collapse or lateral movement of the structure;

(b)	Manufactured homes shall be installed using methods and practices which minimize flood damage and must be elevated and anchored to prevent flotation, collapse, and lateral movement. Methods of anchoring may include, but are not limited to, use of over-the-top or frame ties to ground anchors. This standard shall be in addition to and consistent with applicable State of Florida requirements for resisting wind forces.

(c)	New construction and substantial improvements shall be constructed with materials and utility equipment resistant to flood damage;

(d)	New construction and substantial improvements shall be constructed by methods and practices that minimize flood damage;

(e)	Electrical, heating, ventilation, plumbing, air conditioning equipment, including ductwork and other service facilities shall be designed and/or located to prevent water intrusion or accumulation within the components during flooding conditions.

(f)	New and replacement water supply systems shall be designed to minimize or eliminate infiltration of flood waters into the system;

(g)	New and replacement sanitary sewage systems shall be designed to minimize or eliminate infiltration of flood waters into the systems and discharges from the systems into flood waters;

(h)	On-site waste disposal systems shall be located and constructed to avoid impairment to them or contamination from them during flooding;

(i)	Any alteration, repair, reconstruction or improvements to a building that is in compliance with the provisions of this ordinance shall meet the requirements of  “new construction” or provided such nonconformity is not extended or amended as contained in this Chapter;

(j) All applicable additional Federal, State of Florida, and local permits shall be obtained and submitted to the Floodplain Administrator along with the application for development permit.  Copies of such permits shall be maintained on file with the development permit.  State of Florida permits may include, but not be limited to, the following:

(1) St. Johns River Water Management District: in accordance with Chapter 373.036 Florida Statutes, Section (2) (a) – Flood Protection and Floodplain Management;

- (2) Department of Community Affairs: in accordance with Chapter 380.05 F.S. Areas of Critical State Concern, and Chapter 553, Part IV F.S., Florida Building Code;

(3) Department of Health: in accordance with Chapter 381.0065 F.S. Onsite Sewage Treatment and Disposal Systems; and

(4)  Department of Environmental Protection, Coastal Construction Control Line: in accordance with Chapter 161.053 F.S. Coastal Construction and Excavation.

(k)	Any alteration, repair, reconstruction or improvements to a building which is not in compliance with the provisions of this Chapter, shall meet the requirements of “new construction” as contained in this Chapter.

(l) 	The flood-carrying capacity of a watercourse that is altered or relocated shall be maintained and in any event shall not be significantly diminished by any relocation or alteration or bridge construction without prior approval;

(m)	Adequate drainage paths shall be provided around structures to guide stormwater runoff away from them;

(n)	The cumulative effect of proposed development, when combined with all other existing and anticipated development, shall not increase the flood elevation outside the boundary of the proposed development.

(o)	Standards for Subdivision Proposals and other Proposed Development (including manufactured homes):

(1)	All subdivision proposals shall be consistent with the need to minimize flood damage;

(2)	All subdivision proposals shall have public utilities and facilities such as sewer, gas, electrical, and water systems located and constructed to minimize or eliminate flood damage;

(3)	All subdivision proposals shall have adequate drainage provided to reduce exposure to flood hazards;

(4)	Base flood elevation data shall be developed and provided for subdivision proposals and other proposed developments (including industrial parks, shopping centers, public facilities and manufactured home parks and subdivisions) which are greater in size than the lesser of fifty lots or five acres.

(p)	When proposed new construction and substantial improvements are partially located in an area of special flood hazard, the entire structure shall meet the standards for new construction.

(q)	When proposed new construction and substantial improvements are located in multiple flood hazard risk zones or in a flood hazard risk zone with multiple base flood elevations, the entire structure shall meet the standards for the most hazardous flood hazard risk zone and the highest base flood elevation.

Sec. 652.602.  Specific Standards for A-Zone Flood Hazard Areas.

In all areas of special flood hazard denoted with an “A1-30”, "A", “AE” “AO” or “AH” prefix on the FIRMs the following provisions are required, in addition to the general standards of Section 652.401: (Note: the A-zone designation is assigned to flood hazard areas along streams, swamps, lakes and marshes, as well as to coastal areas inland of the high hazard velocity area, known as the V-zone and the AO and AH-zone designations are areas which have special flood hazards associated with base flood depths of one to three feet where a clearly defined channel does not exist and where the path of flooding is unpredictable and indeterminate.)

(a)	Residential construction. New construction or substantial improvement of any residential building (or manufactured home) shall have the lowest floor, together with all mechanical and electrical equipment, including ductwork and including any basement, elevated no lower than the BFE plus one foot (1’), such higher elevation as may be set by the city's Subdivision Standards and Policy Advisory Committee (herein "SSPAC") established in Section 654.142, Ordinance Code, of this Chapter (“Minimum Elevation Residential Zone A”), whichever is the highest. For an unnumbered “A” zone, the BFE shall be set at the higher of (a) three feet (3’) above the highest adjacent natural grade plus one foot freeboard, (b) eighteen inches (18”) above the highest crown of an adjacent road or (c) three feet (3’) above the highest known flood level. For an AO or AH zone, the BFE shall be set at the depth number plus one foot freeboard specified on the FIRM, in feet, above the highest adjacent natural grade or, if no depth number is specified by the FIRM, three feet (3’) above the highest adjacent natural grade. Should solid foundation perimeter walls be used to elevate a structure, openings sufficient to facilitate the movements of flood waters shall be provided in accordance with standards of this Section. The floor of an attached garage may be placed below the Minimum Elevation Residential Zone A, provided the openings required in this Section are installed and all mechanical and electrical equipment, including laundry facilities and food freezers, are elevated above the Minimum Elevation Residential Zone A. One circuit connected to a ground-fault interrupt breaker may be installed below the Minimum Elevation Residential Zone A and all construction below that elevation shall be of flood-resistant materials.

(b)	Non-Residential Construction.  All new construction and substantial improvement of any commercial, industrial, or non-residential building (including manufactured home) shall have the lowest floor, including basement, elevated to no lower than {one foot above} the base flood elevation.  All buildings located in A-Zones may be flood-proofed, in lieu of being elevated, provided that all areas of the building components, together with attendant utilities and sanitary facilities, below the base flood elevation {plus one foot} are water tight with walls substantially impermeable to the passage of water, and use structural components having the capability of resisting hydrostatic and hydrodynamic loads and the effects of buoyancy.  A registered professional engineer or architect shall certify that the standards of this subsection are satisfied using the FEMA Floodproofing Certificate.  Such certification along with the corresponding engineering data, and the operational and maintenance plans shall be provided to the Floodplain Administrator.

(c)	Elevated buildings or Enclosures below the lowest Floor. New construction or substantial improvements of elevated buildings that include fully enclosed non-fill areas formed by foundation and other exterior walls below the base flood elevation shall be designed to preclude finished living space and shall be designed to allow for the entry and exit of floodwaters to automatically equalize hydrostatic flood forces on exterior walls.

(1)	Designs for complying with this requirement must either be certified by a professional engineer or architect or meet the following minimum criteria:

(A)	Provide a minimum of two openings (in walls or doors) having a total net area of not less than one square inch for every square foot of enclosed area subject to flooding;

(B)	The bottom of all openings shall be no higher than one foot above adjacent interior grade; and

(C)	Openings may be equipped with screens, louvers, valves or other coverings or devices if they provide the required net area, and permit the automatic flow of floodwaters in both directions.

(2)	Fully enclosed areas below the lowest floor shall be solely used for parking of vehicles, storage and building access to the enclosed area shall be the minimum necessary to allow for parking of vehicles (garage door) or limited storage of maintenance equipment used in connection with the premises (standard exterior door) or entry to the living area (stairway or elevator); and

(3)	The interior portion of such enclosed area shall not be partitioned or finished into separate rooms.

(4)	Use of such enclosed areas shall be limited to parking, storage and building access.

(5)	Prior to the issuance of a building permit for the construction or substantial improvement of an elevated building, the owner of the building shall execute and record a nonconversion agreement in a form approved by the Floodplain Administrator agreeing not to improve, finish or otherwise convert the area below the base flood elevation into finished living space and providing the City the right to inspect the space during normal business hours with twenty four (24) hours’ notice.

(d)	Accessory structures. Low-cost structures that represent a minimal investment (less than twenty five percent (25%) of the value of the primary structure on the lot) and that are subordinate to and accessory to the primary structure or use on the property (e.g. storage sheds, detached garages, gazebos and barns) may be exempted from the elevation requirement of this Section, provided the following criteria are met:

(1)	The structure is not used for human habitation, including occupancy as a workplace for extended periods of time;

(2)	The structure is designed and constructed so as to have a low potential for damage during a flood (e.g. using flood-resistant materials as provided in FEMA Technical Bulletin #2 and any subsequent revisions thereto);

(3)	The structure shall be located on the building site so as to offer the minimum resistance to the flow of floodwaters (e.g. parallel to a stream, perpendicular to the ocean);

(4)	The structure is firmly anchored to prevent flotation, collapse and lateral movement;

(5)	All electrical service, heating/cooling equipment and other mechanical or electrical equipment is either elevated above the elevation required by this Section, or is floodproofed. One circuit connected to a ground-fault interrupt breaker may be installed below the base flood elevation and all construction below that elevation shall be of flood-resistant materials.

(e)	Temporary structures. Certain types of structures (e.g., fruit stands, construction site offices) may be sited temporarily on property within an area of special flood hazard without having to comply with the general standards of Section 652.401, or the elevation standard of this Section provided the following criteria are met:

(1)	The structure is mobile, or can be made so and is capable of being removed from the site with a minimum of four hours' warning.

(2)	The structure does not remain on the property for 180 days or more.

A "temporary development permit" shall be issued when a temporary structure is approved and the expiration date shall be clearly marked on the face of the permit. The original copy of the removal plan shall be attached to the permit and the documentation shall be kept on file in the Floodplain Administrator's office for a period of at least five years. A copy of the permit, together with the removal plan, shall be provided to the local emergency management coordinator.

(f)	Substantially improved and repetitive loss buildings. Substantially improved (see definition of "substantial improvement") buildings must be elevated and otherwise brought into conformance with the requirements for new construction contained in this Section. In determining "substantial improvement," the Floodplain Administrator shall utilize data for the market value of the structure and the value of the improvements that are justifiably comparable. Substantial improvement calculations shall include the cost of labor and mechanical, electrical and plumbing systems, cabinetry, finishes and any other improvements that will be permanently affixed to the structure, except for exterior decks and porches. If the improvement project is conducted in phases, the total of all costs within the cumulative time period, beginning with issuance of the first permit, shall be utilized to determine whether "substantial improvement" will occur.

(1)	Rehabilitations, reconstructions, alterations, vertical additions and renovations: When the substantial improvement is a rehabilitation, reconstruction, alteration, vertical addition or renovation, the existing structure, together with any additions, must be elevated and otherwise brought into conformance with Parts 4 and 5.

(2)	Lateral additions: When the substantial improvement is a lateral addition to an existing structure, only the addition is required to be elevated and conform with the standards of Parts 4 and 5, unless the common wall between the existing building and the addition is substantially removed, or improvements are being made to the existing structure which are more than minimal (e.g. equal or exceed ten percent of the value of the structure). In such cases, the lateral addition is deemed to constitute only one part of a reconstruction or renovation and both the existing structure and the addition must conform to Parts 4 and 5.

(g)	Improvements to "post-FIRM" structures. Any improvements made to buildings for which permits were issued on or after the effective date of the FIRM ("post-FIRM buildings"), shall conform to the standards of Parts 4 and 5.

(h)	Historic structures. Any improvements to historic structures (see definition) may be exempted from one or all of the standards contained in Parts 4 and 5, provided the request for an exemption is approved as a variance as provided in Part 8 and the proposed improvements are certified by the city or the state Historic Preservation Officer as maintaining the historical integrity and classification of the building.

(i)	Standards along streams with no regulatory floodways. Where no "regulatory floodway" has been designated along a stream in an A-zone for which BFE has been provided on the FIRM, no encroachments, including fill material or structures, shall be located within areas of special flood hazard, unless certification by a registered professional engineer is provided demonstrating that the cumulative effect of the proposed construction, when combined with all other existing and anticipated construction, will not increase the water surface elevation of the base flood more than one foot at any point within the city. The engineering certification must be supported by technical data that conforms to standard hydraulic engineering principles. This standard shall not be required when the A-zone has been so designated based upon storm surge considerations. Nor shall this standard be required once a regulatory floodway has been established for the stream. It is presumed that, if no encroachments, including fill material or structures, are located within a distance of the stream bank equal to twenty feet on each side from the top of the bank, that this standard has been met.

(j)	Standards for Manufactured Homes and Recreational Vehicles placed or substantially improved within A1-30, AH, and AE zones.

(1)	All manufactured homes and recreational vehicles to be placed or substantially improved on sites: (i) outside of an existing manufactured home park or subdivision, (ii) in a new manufactured home park or subdivision,  (iii) in an expansion to an existing manufactured home park or subdivision, or, (iv) in an existing manufactured home park or subdivision in which a manufactured home has incurred “substantial damage” as the result of a flood, the lowest floor, defined as the manufactured home chassis bottom, shall be elevated on a permanent foundation to a minimum of one foot above the base flood elevation and be securely anchored to an adequately anchored foundation system to resist flotation, collapse, and lateral movement.

(2) 	All manufactured homes to be placed or substantially improved in an existing manufactured home park or subdivision within Zones A-1, AH, and AE, that are not subject to the provisions of subparagraph (a) above, must be elevated so that either:

(i)	The lowest floor of the manufactured home, defined as the manufactured home chassis bottom, shall be elevated to no lower than one foot above the base flood elevation, or

(ii)	The manufactured home chassis is supported by reinforced piers or other foundation elements of at least an equivalent strength that are no less than 48 inches in height  above the grade and securely anchored to an adequately anchored foundation system to resist flotation, collapse, and lateral movement.

(3) 	All recreational vehicles placed on sites within Zones A1-30. AH, and AE must either:

(i)	Be on the site less than 180 consecutive days,

(ii)	Be fully licensed and ready for highway use (a recreational vehicle is ready for highway use if it is on its wheels or jacking system, is attached to the site only by quick disconnect type utilities and security devices and has no permanently attached additions), or

(iii)	Meet all the requirements for new construction, including anchoring and elevation requirements in accordance with subsection (ii)(A) and (B) above.

(k) Adequate drainage paths around structures shall be provided on slopes to guide water away from structures within Zone AH.

(l) Standards for waterways with established Base Flood elevations, but without Regulatory Floodways

Located within the areas of special flood hazard established in Part 3, Section 652.302, where streams exist for which base flood elevation data has been provided by the Federal Emergency Management Agency without the delineation of the regulatory floodway (Zones AE and A1–30), the following provisions, in addition to those set forth in Part 5, Section 652.602 (a) through (e), shall apply:

(1)	Until a regulatory floodway is designated, no new construction, substantial improvements, or other development including fill shall be permitted within the areas of special flood hazard, unless it is demonstrated that the cumulative effect of the proposed development, when combined with all other existing and anticipated development will not increase the water surface elevation of the base flood more than one foot at any point within the community.

(2)	Development activities which increase the water surface elevation of the base flood by more than one foot may be allowed, provided that the developer or applicant first applies – with the community’s endorsement – for a conditional FIRM revision, and receives the approval of the Federal Emergency Management Agency (FEMA).

Sec. 652.603.  Specific Standards for Regulatory Floodways.

Located within the A-zone areas of special flood hazard established in Section 652.302, are areas designated as "regulatory floodways." The regulatory floodway is an extremely hazardous area due to the high velocity of flood waters which carry debris, potential projectiles and create the potential for erosion. Protection of a regulatory floodway is critical for maintaining the ability of the stream to carry the one hundred-year flood. The following provisions shall apply:

(a)	Prohibit encroachments, including fill, new construction (including enclosed accessory structures), substantial improvements and other developments whether regulatory floodway unless certification (with supporting technical data) by a registered professional engineer is provided through hydrologic and hydraulic analyses performed in accordance with standard engineering practice demonstrating that encroachments shall not result in any increase in flood levels during occurrence of the base flood discharge. This “No Rise” certification shall be based on an evaluation utilizing methodologies specified by FEMA and shall be provided prior to the issuance of a final development permit. If a No Rise certificate is provided, all new construction and substantial improvements shall comply with all other applicable provisions of Parts 5 and 6.

(b)	Prohibit the placement of manufactured homes (mobile homes), except in an existing manufactured or mobile home park or subdivision. A replacement manufactured home may be placed on a lot in an existing manufactured home park or subdivision provided the anchoring standards of Section 652.601, the elevation standards of Section 652.605 and the encroachment standards of this Section are met.

(c)	Prohibit new construction, substantial improvements, or other development including fill within the regulatory floodway, unless it is demonstrated that the cumulative effect of the proposed development, when combined with all other existing and anticipated development will not increase the water surface elevation of the base flood more than one foot at any point within the community.

(d)	When the data is not available from any source, in accordance with standard set forth in Part 6, Section 652.603 (b) of this Section, the lowest floor of the structure shall be elevated to no lower than three feet above the highest adjacent grade.  Standards set forth in Part 6, Section 652.602 shall apply.

Sec. 652.604. Standard for AO-Zones.

Located within the areas of special flood hazard established in Part 3, Section 652.302, are areas designated as shallow flooding areas.  These areas have flood hazards associated with base flood depths of one to three feet, where a clearly defined channel does not exist and the path of flooding is unpredictable and indeterminate; therefore, the following provisions, in addition to Part 6, Section 652.601, apply:

(a) All new construction and substantial improvements of residential structures in all AO Zones shall have the lowest floor, including basement, elevated above the highest adjacent grade at least as high as the depth number specified in feet on the Flood Insurance Rate Map plus one foot.  If no flood depth number is specified, the lowest floor, including basement, shall be elevated to no less than three feet above the highest adjacent grade.

(b) All new construction and substantial improvements of non-residential structures shall:

(1) Have the lowest floor, including basement, elevated above the highest adjacent grade at least as high as the depth number specified in feet on the Flood Insurance Rate Map.  If no flood depth number is specified, the lowest floor, including basement, shall be elevated to at least three feet above the highest adjacent grade, or

(2)Together with attendant utility and sanitary facilities be completely floodproofed to no less than one foot above that level to meet the floodproofing standard specified in Part 6, Section 652.604 (a) (1).

(c) Adequate drainage paths around structures shall be provided on slopes to guide water away from structures.

((d))	Fully enclosed areas below the lowest floor that are subject to flooding shall meet the non-elevation design requirements of Part 6, Section 652.602.

Sec. 652.605. Standards for Coastal High Hazard Areas (V-zones)

Located within areas of special flood hazard established in Part 3, Section 652.302 are Coastal High Hazard Areas, designated as Zones V1–30, VE, or V (with BFE).  The following provisions shall apply:

(a)	Meet the standards of Part 4, Section 652.405, and Part 6, Sections 652.601, 652.602 (except B (7)), 652.603, and 652.604.

(b)	All new construction and substantial improvements in Zones V1–V30, VE, and V (with BFE) shall be elevated on pilings or columns so that:

1) The bottom of the lowest horizontal structural member of the lowest floor (excluding the pilings or columns) is elevated to no lower than {one foot above} the base flood elevation whether or not the structure contains a basement; and

2) The pile or column foundation and structure attached thereto is anchored to resist flotation, collapse, and lateral movement due to the effects of wind and water loads acting simultaneously on all building components.  Water loading will be those values associated with the base flood. Wind loading values will be those required by applicable State of Florida or local, if more stringent than those of the State of Florida, building standards.

3)	For all structures located seaward of the Coastal Construction Control Line (CCCL), the bottom of the lowest horizontal structural member of the lowest floor of all new construction and substantial improvements shall be elevated to the 100-year flood elevation established by the Florida Department of Environmental Protection or the base flood elevation, whichever is the higher.

(c)	A registered professional engineer or architect shall develop or review the structural design, specifications and plans for the construction, and shall certify that the design and methods of construction to be used are in accordance with accepted standards of practice for meeting the provisions of this Section.(4)	Obtain the elevation (in relation to mean sea level) of the bottom of the lowest horizontal structural member of the lowest floor (excluding pilings and columns) of all new and substantially improved structures.  The Floodplain Administrator shall maintain a record of all such information.

(d)	All new construction and substantial improvements shall be located landward of the reach of mean high tide.

(e)	Provide that all new construction and substantial improvements have the space below the lowest floor either free of obstruction or constructed with nonsupporting breakaway walls, open wood lattice-work, or insect screening intended to collapse under wind and water loads without causing collapse, displacement, or other structural damage to the elevated portion of the building or supporting foundation system.  For the purpose of this section, a breakaway wall shall have a design safe loading resistance of not less than 10 and no more than 20 pounds per square foot.  Use of breakaway walls which exceed a design safe loading resistance of 20 pounds per square foot (either by design or when so required by State of Florida or local codes) may be permitted only if a registered professional engineer or architect certifies that the designs proposed meet the following conditions:

1) Breakaway wall collapse shall result from water load less than that which would occur during the base flood; and

2)	The elevated portion of the building and supporting foundation system shall not be subject to collapse, displacement, or other structural damage due to the effects of wind and water loads acting simultaneously on all building components (structural and nonstructural).  The water loading shall be those values associated with the base flood. The wind loading values shall be those required by applicable Florida or local, if more stringent than those of the State of Florida, building standards.

3)Such enclosed space shall be useable solely for parking of vehicles, building access, or storage. {Such space shall not be finished, partitioned into multiple rooms, or temperature-controlled.}

(f) Prohibit the use of fill for structural support. No development permit shall be issued for development involving fill in coastal high hazard areas unless it has been demonstrated through appropriate engineering analyses that the subject fill does not cause any adverse impacts to the structure on site or other properties.

(g) Prohibit man-made alteration of sand dunes and mangrove stands that would increase potential flood damage.

(h)Standards for Manufactured Homes

(i) All manufactured homes to be placed or substantially improved on sites: (1) Outside a manufactured home park or subdivision, (2) In a new manufactured home park or subdivision,  (3) In an expansion to an existing manufactured home park or subdivision, or, (D) In an existing manufactured home park or subdivision in which a manufactured home has incurred “substantial damage” as the result of a flood, must meet the standards of Part 6, Section 652.605 (b) through (g), or

(1_)All manufactured homes placed or substantially improved on other sites in an existing manufactured home park or subdivision shall meet the requirements of Part 6, Section 652.605 (b) through (h).

(h)	Recreational vehicles placed on sites within Zones VE, V1–V30, V (with base flood elevation) on the FIRM either

(1)Be on the site for fewer than 180 consecutive days,

(2)Be fully licensed and ready for highway use (on its wheels or jacking system, is attached to the site only by quick disconnect type utilities and security devices, and has no permanently attached additions); or

(3)Meet the requirements of Part 6, Section 652.605 (b) through (h).

(4)Prohibit the placement of recreational vehicles, except in an existing recreational vehicle park.  Recreational vehicles placed on other sites in an existing recreational park must be on site for fewer than 180 consecutive days and be fully licensed and ready for highway use (on its wheels or jacking system, is attached to the site by quick disconnect type utilities and security devices, and has no permanently attached additions).  They shall also have a plan for removal in case of a threat at least four hours prior to the arrival of the threat.

(i)	For all structures located seaward of the Coastal Construction Control Line (CCCL), the bottom of the lowest horizontal structural member of the lowest floor of all new construction and substantial improvements shall be elevated to the flood elevation established by the Florida Department of Environmental Protection or the base flood elevation {plus one foot}, whichever is higher. All non-elevation design requirements Part 6, Section 652.605 (b) through (j) shall apply.

(j)	When fill is proposed, in accordance with the permit issued by the St. John River Water Management District, in coastal high hazard area, the development permit shall be issued only upon demonstration by appropriate engineering analyses that the proposed fill will not increase the water surface elevation of the base flood nor cause any adverse impacts to the structure on site or other properties by wave ramping or deflection.

PART 7.	PROCEDURES FOR PROCESSING PERMITS FOR ALL LANDS OTHER THAN SINGLE HOME LOTS.

Sec. 652.701.  Lands as to Which This Part Applies.

Part 6 applies only to all lands other than Single Home Lots.

Sec. 652.702.  Permit Requirements for Other Developments.

Application for a final development permit for developments other than the construction of Single Home Lots, such as bridges, subdivisions, shopping centers and other large construction projects that include substantial site development or alteration, shall be in accordance with the procedures as set forth for filing such permit and shall include the following information:

(a)	A statement as to whether or not any portion of the proposed development will occur in an area of special flood hazard or Adjusted SFHA or in a VE Zone, as hereinafter defined.  For development occurring outside areas of special flood hazard and Adjusted SFHA and a VE Zone, as hereinafter defined, no further information is required for purposes of this chapter. For proposed construction within the Scale Distance of a VE Zone or within the VE Zone, the permit applicant shall provide a survey of the proposed property to be developed, including the proposed construction and the transect line, and run the FEMA approved model using such survey to determine whether the proposed construction will actually be located in the VE Zone. For purposes of this Section, “development” is limited to areas where actual construction activities will take place and the Scale Distance shall be measured from the extent of such activities. For SFHA Lands without a Base Flood Elevation established by FEMA, the Floodplain Administrator shall determine the estimated Base Flood Elevation pursuant to Part 6, Section 652.603.

(b)	If the development will occur in an area of special flood hazard or Adjusted SFHA or a VE Zone, the following information is required:

(1)	Application stage:

(i)	Plot plan, to scale, illustrating the locations of all proposed construction, fill, excavating and other aspects of the development;

(ii)	Grading and drainage plans;

(iii)	Stormwater management plans;

(iv)	For developments which are greater in size than the lesser of five (5) acres or fifty (50) lots and which will occur in an unnumbered “A” Zone or an “A1-30”, “AE”, “AO”, “AH” or “VE” Zone or will occur in an Adjusted SFHA adjacent to any such Zone, floodplain studies, including computer modeling of hydrology and hydraulics prepared in accordance with approved FEMA methodologies establishing the base flood elevation for such  “A”, “A1-30”, “AE”,  “AO”, “VE” or “AH zone;

(v)	Description of the extent to which any watercourse, swamp, marsh, lake, or pond will be altered, relocated, or created as result of proposed construction;

(vi)	Description of the type, extent and depth of proposed fill and the elevation in relation to required vertical datum of the top surface of the fill;

(vii)	Description of the type, extent and depth of proposed excavation in relation to required vertical datum;

(viii)	Topographic information as required; and

(ix)	“No-rise” certification for projects located within a regulatory floodway, prepared pursuant to Section 652.603.

Sec. 652.703.  Specific Standards for A-Zone Flood Hazard Areas.

In all areas of special flood hazard denoted with an "A", “AO” “A1-30”, “AE”, or “AH” prefix on the FIRMs where BFE data have been provided, as set forth in Part 3, Section 652.302, the following provisions are required, in addition to the general standards of Part 6, Section 652.601: (Note: the A-zone designation is assigned to flood hazard areas along streams, swamps, lakes and marshes, as well as to coastal areas inland of the high hazard velocity area, known as the V-zone and the AO and AH-zone designations are areas  which have special flood hazards associated with base flood depths of one to three feet where a clearly defined channel does not exist and where the path of flooding is unpredictable and indeterminate.)

(a)	Nonresidential construction. New construction or substantial improvement of any commercial, industrial, or nonresidential building (or manufactured home) shall have the lowest floor, together with all mechanical and electrical equipment, including ductwork and including any basement, elevated no lower than the BFE, plus one foot such higher elevation as may be set by the city's SSPAC, or as determined in Part 6 of this Chapter (“Minimum Elevation Non-Residential Zone A”), whichever is the highest. For an unnumbered “A” zone, the BFE shall be set at the higher of three feet (3’) plus one foot above the highest adjacent natural grade, eighteen inches (18”) above the highest crown of an adjacent road or three feet (3’) above the highest known flood level. For an AO or AH zone, the BFE shall be set at the depth number specified on the FIRM, plus one foot in feet, above the highest adjacent natural grade or, if no depth number is specified by the FIRM, three feet (3’) plus one foot above the highest adjacent natural grade.  The substantial improvement of nonresidential buildings located in all A-zones may be flood-proofed to an elevation one foot above the required lowest floor elevation noted above, plus one foot in lieu of being elevated, provided that all areas of the building below the required elevation are water tight with walls substantially impermeable to the passage of water and use structural components having the capability of resisting hydrostatic and hydrodynamic loads and the effect of buoyancy. A registered professional engineer or architect shall certify that the standards of this subsection are satisfied. Such certification shall be provided to the Floodplain Administrator as set forth in Section 652.402. The floor of an attached garage or loading dock may be placed below the BFE, provided the openings required in this Section are installed and all mechanical and electrical equipment is elevated above the Minimum Elevation Non-Residential Zone A. One circuit connected to a ground-fault interrupt breaker may be installed below the base flood elevation plus one foot and all construction below that elevation shall be of flood-resistant materials.

(b)	Elevated buildings.  New construction or substantial improvements of elevated buildings that include fully enclosed non-fill areas formed by foundation and other exterior walls below the base flood elevation shall be designed to preclude finished living space and shall be designed to allow for the entry and exit of floodwaters to automatically equalize hydrostatic flood forces on exterior walls.

(1)	Designs for complying with this requirement must either be certified by a professional engineer or architect or meet the following minimum criteria:

(i)	Provide a minimum of two openings (in walls or doors) having a total net area of not less than one square inch for every square foot of enclosed area subject to flooding;

(ii)	The bottom of all openings shall be no higher than one foot above grade; and

(iii)	Openings may be equipped with screens, louvers, valves or other coverings or devices provided they permit the automatic flow of floodwaters in both directions.

(2	Access to the enclosed area shall be the minimum necessary to allow for parking of vehicles (garage door) or limited storage of maintenance equipment used in connection with the premises (standard exterior door) or entry to the living area (stairway or elevator); and

(3)	The interior portion of such enclosed area shall not be partitioned or finished into separate rooms.

(4)	Use of such enclosed areas shall be limited to parking, storage and building access.

(c)	Subdivision developments. In subdivision developments smaller than the lesser of five (5) lots or fifty (50) acres, new construction of buildings or manufactured homes shall be elevated or flood proofed as provided for Single Home Lots in Section 652.502(a).  The plats for all subdivision developments shall clearly indicate the location of each flood zone as depicted on the FIRM or as modified through the filing and approval by FEMA of a CLOMR or LOMR as of the date the plat is submitted for recording.

(d)	Manufactured homes and recreational vehicles.

(1)	All manufactured homes placed or substantially improved, together with all mechanical and electrical equipment, placed on individual lots or parcels, in expansions to existing manufactured home parks or subdivisions, or in substantially improved manufactured home parks or subdivisions, must meet all the requirements for new residential construction contained in this Section or Part 5, including installation on permanent foundation systems, elevation and anchoring. At minimum, a "permanent foundation system" shall constitute reinforced piers placed on poured footings, or other foundation elements of equivalent strength. Any additions to manufactured homes subject to provisions of this subsection shall also be considered "new construction" since they must be supported by an independent foundation system. "Additions" must therefore comply with the provisions contained in Part 7, Section 652.607, including elevation. This may necessitate elevating an existing manufactured home to match the required elevation of the "addition."

(2)	All manufactured homes placed or substantially improved in an existing manufactured home park or subdivision must be elevated so that:

(i)	The lowest floor of the manufactured home is elevated on a permanent foundation no lower than the base flood elevation plus one foot, such higher elevation as may be set by the city's SSPAC or by Part 6 of this Chapter, whichever is the highest.

(ii)	The manufactured home chassis is supported by reinforced piers or other foundation elements of at least an equivalent strength, of no less than thirty-six inches in height above grade.

(iii)	The manufactured home must be securely anchored to the adequately anchored foundation system to resist flotation, collapse and lateral movement.

(iv)	In an existing manufactured home park or subdivision on which a manufactured home has incurred "substantial damage" as the result of a flood, any manufactured home placed or substantially improved must meet the standards of this Section.

(v)	Any additions to manufactured homes subject to provisions of this subsection shall be considered "new construction" subject to the provisions contained in Section 652.602, including installation on permanent foundation systems, elevation and anchoring.

(3)	All recreational vehicles placed on sites must either:

(i)	Be fully licensed, insured and ready for highway use, or

(ii)	The recreational vehicle must meet all the requirements for new construction, including anchoring and elevation requirements of this Section.  A recreational vehicle is ready for highway use if it is on its wheels or jacking system, is attached to the site only by quick disconnect type utilities and security devices and has no permanently attached structures; and

(iii)	The recreational vehicle shall have a plan for removal in case of a threat.

(e)	Accessory structures. Structures that represent a minimal investment and that are subordinate to and accessory to the primary structure or use on the property (e.g. storage sheds, detached garages, gazebos and barns) may be exempted from the elevation requirement of this Section, provided the criteria specified by Section 652.602 (d) are met.

(f)	Temporary structures. Certain types of structures (e.g., fruit stands, construction site offices) may be sited temporarily on property within an area of special flood hazard without having to comply with the general standards of Section 652.401, or the elevation standards of this Section provided the criteria provided for by Section 652.502(d) are met.

(g) 	Substantially improved and repetitive loss buildings. Substantially improved (see definition of "substantial improvement") buildings must be elevated and otherwise brought into conformance with the requirements for new construction contained in Section 652.502(e)

(h)	Improvements to "post-FIRM" structures. Any improvements made to buildings for which permits were issued on or after the effective date of the FIRM ("post-FIRM buildings"), shall conform to the standards of Parts 5 and 7.

(i)	Historic structures. Any improvements to historic structures (see definition) may be exempted from one or all of the standards contained in Parts 5 and 7, provided the request for an exemption is approved as a variance, as provided in Part 8 and the proposed improvements are certified by the city or the state Historic Preservation Officer as maintaining the historical integrity and classification of the building.

(j)	Functionally dependent structures. Functionally dependent structures (see definition) may be exempted from one or all of the standards contained in Parts 5 and 7, provided the request for an exemption is approved as a variance, as provided in Part 9.

(k)	Standards along streams with no regulatory floodways. Where no "regulatory floodway" has been designated along a stream in an A-zone for which BFE has been provided on the FIRM, no encroachments, including fill material or structures shall be located within areas of special flood hazard, unless the standards required by Section 652.502 have been met.

Sec. 652.704.  Specific Standards for Regulatory Floodways.

Located within the A-zone areas of special flood hazard established in Section 652.302, are areas designated as "regulatory floodways." The regulatory floodway is an extremely hazardous area due to the velocity of flood waters which carry debris, potential projectiles and create the potential for erosion. Protection of a regulatory floodway is critical for maintaining the ability of the stream to carry the one hundred-year flood. The provisions included in Section 652.603 shall apply to all development proposed within a regulatory floodway.

Sec. 652.705.  Standards for Coastal High Hazard Areas (V-Zones).

This section hereby adopts and incorporates Section 652.502.

PART 8.	VARIANCES.

Sec. 652.801.  Procedures and Conditions.

(a)	The Floodplain Administrator, as defined herein, shall have the authority to grant requests for variances from the requirements of this chapter.

(b)	Regarding historic structures, variances may be issued for the repair or rehabilitation of historic structures (see definition) upon a determination that the proposed repair or rehabilitation will not preclude the structure's continued designation as a historic structure and the variance is the minimum necessary to preserve the historic character and design of the structure.

(c)	In passing upon such applications, the Floodplain Administrator shall consider all technical evaluations, all relevant factors, all standards specified in other Sections of this chapter and:

(1)	The danger that materials may be swept onto other lands to the injury of others;

(2)	The danger to life and property due to flooding or erosion damage;

(3)	The susceptibility of the proposed facility and its contents to flood damage and the effect of such damage on the individual owner;

(4)	The importance of the services provided by the proposed facility to the community;

(5)	The necessity of the facility to a waterfront location, in the case of a functionally dependent facility;

(6)	The availability of alternative locations, not subject to flooding or erosion damage, for the proposed use;

(7)	The compatibility of the proposed use with existing and anticipated development;

(8)	The relationship of the proposed use to the comprehensive plan and floodplain management program for that area;

(9)	The safety of access to the property in times of flood for ordinary and emergency vehicles;

(10)	The expected heights, velocity, duration, rate of rise and sediment transport of the flood waters and the effects of wave action, if applicable, expected at the site and;

(11)	The costs of providing governmental services during and after flood conditions including maintenance and repair of public utilities and is facilities such as sewer, gas, electrical and water systems and streets and bridges.

(d)	Upon consideration of the factors listed above and the purposes of this chapter, the Floodplain Administrator may attach such conditions to the granting of variances as deemed necessary to further the purposes of this chapter.

(e)	Variances shall not be issued within any designated regulatory floodway if any increase in flood levels during the base flood discharge would result.

(f)	Conditions for variances:

(1)	Variances shall only be issued upon a determination that the variance is the minimum necessary, considering the flood hazard, to afford relief; and in the instance of a historic structure, a determination that the variance is the minimum necessary so as not to destroy the historic character and design of the building;

(2)	Variances shall only be issued upon:

(i)	A showing of good and sufficient cause;

(ii)	A determination that failure to grant the variance would result in exceptional hardship; and

(iii)	A determination that the granting of a variance will not result in increased flood heights, additional threats to public safety, extraordinary public expense, create a nuisance, cause fraud on or victimization of the public, or conflict with existing local laws or ordinances.

(3)	Any applicant to whom a variance is granted shall be given written notice specifying the difference between the BFE and the elevation to which the building is to be built and stating that the cost of flood insurance will be commensurate with the increased risk resulting from the reduced lowest floor elevation.

(4)	The Floodplain Administrator shall maintain the records of all appeal actions and report any variances to FEMA upon request;

(5)	Exceptional hardship includes, but is not limited to, the imposition of the 5/50 Rule.

PART 9.  Appeals.

Sec. 652.901.  Procedures and Conditions.

(a)	The City Engineer shall hear and decide appeals when it is alleged that there is an error in any requirement, decision, or determination made by the Floodplain Administrator in the enforcement or administration of this chapter.

(b)	Any person aggrieved by the decision of the City Engineer or any taxpayer may appeal such administrative decision to the Circuit Court in and for the Fourth Judicial Circuit.

Sec. 652.902.	Historic Structures.

Variances may be issued for the repair or rehabilitation of “historic” structures – meeting the definition in this ordinance – upon a determination that the proposed repair or rehabilitation will not preclude the structure’s continued designation as a “historic” structure.

Sec. 652.903.	Structures in regulatory Floodway.

# Variances shall not be issued within any designated floodway if any impact in flood conditions or increase in flood levels during the base flood discharge would result.

# PART 10.	SEVERABILITY.

Sec. 652.1001.	Severability.

If any section, clause, sentence, or phrase of this chapter is held to be invalid or unconstitutional by any court of competent jurisdiction, then said holding shall in no way effect the validity of the remaining portions of this chapter.

- Effective Date. This ordinance shall become effective upon signature by the Mayor or upon becoming effective without the Mayor’s signature.

Form Approved:

/s/   Cherry A. Shaw_____________

Office of General Counsel

Legislation Prepared By:	Cherry A. Shaw

/tmp/in/input.doc