LAND USE AND ZONING COMMITTEE AMENDMENT

The Land Use and Zoning Committee offers the following first amendment to File No. 2013-644:

- On page 1, line 19, after “2013C-022;” insert “PUD REZONING SUBJECT TO CONDITION(S);”; and

- On page 3, line 11, strike “written description dated August 16” and insert “written description dated October 14”; and

- On page 3, line 12, strike “plan dated July 9” and insert “plan dated July 16”; and

- On page 3, Line 13, before “Exhibit 3” insert “Revised”; and

- On page 3, line 15½ insert a new Section 4 to read as follows:

“Section 4.	Rezoning Approved Subject to Conditions. This rezoning is approved subject to the following conditions:

- The subject property shall be developed in accordance with the Development Services Division Memorandum dated September 19, 2013 or as otherwise approved by the Planning and Development Department.

- All sag lenses, drop lenses and convex lenses shall be prohibited. Illumination levels at all property lines shall not exceed one-half (.5) foot candles (“f.c.”) when the building or parking areas are located adjacent to residential areas, and shall not exceed one (1.0) f.c. when abutting other non-residential properties. All lighting lamp sources within parking and pedestrian areas shall be metal halide, compact fluorescent or LED. The maximum light pole height in all parking areas should not exceed thirty feet (30’- 0”). An exterior lighting design plan, including a photometrics plan, pole and fixtures schedules shall be submitted at the time of Verification of Substantial Compliance for review and approval by the Planning and Development Department.

- The developer shall mount light fixtures on canopies so that the lens cover is recessed or flush with the bottom surface (ceiling) of the canopy.”; and

- Renumber the remaining Sections; and

- Strike Exhibit 3 and replace it with Revised Exhibit 3; and

(8)	On page 1, line 1, amend the introductory sentence to add that the bill was amended as reflected herein.

Form Approved:

/s/ Jason R. Gabriel

Office of General Counsel

Legislation Prepared By:	Jason R. Gabriel

/tmp/in/input.doc