December 12, 2013

The Honorable Bill Gulliford, President

The Honorable Lori N. Boyer, LUZ Chair

And Members of the City Council

City Hall

117 West Duval Street

Jacksonville, Florida 32202

RE:	Planning Commission Advisory Report

Ordinance No.: 2013-648	 Application for: Newcomb Road PUD

Dear Honorable Council President Gulliford, Honorable Council Member and LUZ Chairwoman Boyer and Honorable Members of the City Council:

Pursuant to the provisions of Section 30.204 and Section 656.129, Ordinance Code, the Planning Commission (“PC”) respectfully offers this report for consideration by the Land Use and Zoning Committee (“LUZ”).

● Recommendation by JPDD:		 Approve	 Approve with Conditions	 Deny

● Recommendation by PC to LUZ:	 Approve	 Approve with Conditions	 Deny

● Recommended PC Conditions* to the Ordinance:

*Additions made by PC to the proposed Jacksonville Planning and Development Department (“JPDD”) conditions are underlined and deletions are indicated with a strikethrough. If there are more than three conditions, the Ordinance should be amended.

- The subject property is legally described in the revised legal description dated October 14, 2013.

- The subject property shall be developed in accordance with the revised written description dated December 3, 2013.

- The subject property shall be developed in accordance with the original site plan dated October 15, 2013.

- The subject property shall be developed in accordance with the Development Services Division Memorandum dated December 4, 2013 or as otherwise approved by the Planning and Development Department.

- Prior to final engineering approval, all remaining portions of the remaining property under PUD Ordinance 2005-543-E, currently owned by the applicant and identified as parcel 2 and parcel 3 on the conceptual site plan, shall be recorded as a conservation easement and the City shall initiate a Future Land Use Map Amendment to Conservation (CSV).  No improvements, other than required utilities, storm water ponds, and the entrance road, shall be permitted.

- Truck loading bays for the southeast building, building number 7 shall not be oriented eastward towards the Flamingo Lake property.  Building number 7 shall be constructed at least 185 feet from the current property line of the Flamingo Lake RV Park. The owner shall construct an 8-foot-high, solid face, uninterrupted wall, parallel to the Flamingo Lake RV Park property line at the location not less than 75 feet from the Flamingo Lake property line.  Before construction starts on building number 7, and provided that Flamingo Lake has completed construction of an 8-foot visual barrier along its property line, the owners shall notify Flamingo Lake when the construction permits for building number 7 are issued. The area between the Flamingo Lake property line and the wall to be constructed shall remain in its current state. To allow for maintenance of the buffer area, the wall may not end more than 300 feet from the south property line of the project. The wall shall continue from a point not further from 300 feet of the south property line of the project and continue north to a point on the westerly extension of the northerly right-of-way line of Newcomb Road; however, the south end shall be fence and gated. There shall be no truck parking or traffic within the 185-foot setback between Flamingo Lake and building number 7; however, automobile parking and traffic shall be allowed. Bay door construction shall be prohibited on the easterly most wall of building number 7.

- All light fixtures, including security lighting, shall be cutoff fixtures and should be incorporated as an integral design element that complements the design of the building and project through its design style, materials, and color. All cutoff fixtures shall not have more than one percent of lamp lumens above the horizontal. All sag lenses, drop lenses and convex lenses shall be prohibited.  Illumination levels at the property line shall not exceed one-half footcandle where adjacent to residential areas or rights-of-way, and one footcandle where adjacent to nonresidential uses. A lighting plan showing the photometrics, pole height and fixtures shall be submitted, subject to the review and approval of the Planning and Development Department, at the time of verification of substantial compliance to the PUD.

- Prior to the verification of substantial compliance of the PUD, a traffic study shall be provided for the review and approval of the Planning and Development Department.

- All off-site roadway improvements, other than those considered a part of the fair share development agreement, must be completed prior to the issuance of a certificate of occupancy.

● PC Commentary:	The agent indicated he would incorporate many of the conditions into a revised written description before the LUZ meeting.

● PC Vote:		7-0

Aye		Nay		Abstain		Absent

Tony Robbins, Chair

Chris Hagan, Vice Chair

S. Lisa King, Secretary

Nate Day

Lara Diettrich

Jerry Friley

Marvin Hill

Dow Peters

If you have any questions or concerns, please do not hesitate to contact me at your convenience.

Sincerely,

Bruce E. Lewis, City Planner Supervisor

Planning and Development Department